Sto Guide Specification A100ff

StoCreativ® Brick Finish For StoTherm® Exterior Insulation and Finish Systems

Section 07 24 00

This specification is intended for use by the design/construction professional and any  user of Sto products to assist in developing project specifications and to provide guidance on the application of the StoCreativ® Brick Finish to concrete, masonry and exterior wall sheathing.  The StoCreativ® Brick Finish is an exterior insulation and finish system that functions as a decorative and protective insulating wall cladding.  It consists of five components--adhesive, insulation board, reinforcing mesh, base coat and finish coat. These components, when properly integrated with other components of construction, form a barrier wall which is intended to resist water penetration at its outer surface.  A barrier wall is not designed to drain or eliminate moisture behind it.  The accumulation of moisture behind the StoCreativ® Brick Finish could result in building damage.  As with any wall cladding, proper detailing and integration with other components of construction by a qualified design or construction professional, including the proper use of flashing, to prevent the accumulation of moisture within the wall assembly are essential.  Generally a vapor retarder is placed on the warm side of the wall.  Specifically, it is placed on the interior side in cold climates.  A vapor retarder may not be necessary depending on the wall components and the range of temperature/humidity conditions inside and outside.  A vapor retarder should not be used on the inside of walls in warm humid climates.

Note to Specifier:  This guide specification incorporates CSI MasterFormat™ 2004 Edition Numbers & Titles.

Notes in italics, such as this one, are explanatory and intended to guide the design/construction professional and user in the proper selection and use of materials. This specification should be modified where necessary to accommodate individual project conditions.

PART 1 GENERAL

- SUMMARY

- Provide EIFS for vertical above grade concrete, masonry and exterior wall sheathing.

- RELATED SECTIONS-Other specification sections which relate directly to the work of this section include the following):

  - Section 03 30 00: Cast-In-Place Concrete

  - Section 04 20 00: Unit Masonry

  - Section 06 11 50: Sheathing

  - Section 07 19 00: Vapor Retarders

  - Section 07 19 50: Air Barriers

  - Section 07 50 00: Membrane Roofing

  - Section 07 62 00: Sheet Metal Flashing and Trim

  - Section 07 92 00: Sealants and Caulking

  - Section 08 40 00: Exterior Entrance Doors

  - Section 08 50 00: Exterior Windows

  - Section 09 26 00: Gypsum Board Systems

- SUBMITTALS

- Manufacturer's specifications, details, installation instructions and product data.

- Manufacturer’s code compliance report.

- Manufacturer's standard warranty.

- Manufacturer's certificate of compliance with EIMA standards.

- Applicator's certificate of instruction.

- Samples for approval as directed by architect or owner.  A sample must be constructed by the Installer and approved prior to installation of the StoCreativ® Brick Finish.

- EPS board manufacturer's certificate of compliance with the current edition of ASTM E 2430 Standard Specification for the use of Expanded Polystyrene (EPS) Insulation Board in External Insulation and Finish Systems(EIFS).

- Sealant manufacturer's certificate of compliance with ASTM C 1382.

- Prepare and submit project-specific details (when required by contract documents).

- REFERENCES

- ASTM Standards:

  - B 117 	Test Method for Salt Spray (Fog) Testing

  - C 1396	Standard Specification for Gypsum Board

  - C 150	Specification for Portland Cement

  - C 297	Test Method for Tensile Strength of Flat Sandwich Constructions in Flatwise Plane

  - C 578	Specification for Preformed, Cellular Polystyrene Thermal Insulation

  - C 1177	Specification for Glass Mat Gypsum for Use as Sheathing

  - C 1382	Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish Systems (EIFS) Joints

  - D 968	Test Method for Abrasion Resistance of Organic Coatings by Falling Abrasive

  - D 2247	Practice for Testing Water Resistance of Coatings in 100% Relative Humidity

  - D 3273	Test for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

  - D 4258	Standard Practice for Surface Cleaning Concrete for Coating

  - D 4261	Standard Practice for Surface Cleaning Concrete Unit Masonry for Coating

  - E 84 	Test Method for Surface Burning Characteristics of Building Materials

  - E 96	Test Methods for Water Vapor Transmission of Materials

  - E 108	Method for Fire Tests of Roof Coverings

  - E 119	Method for Fire Tests of Building Construction and Materials

  - E 283	Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors under Specified Pressure Differences Across the Specimen.

  - E 330	Test Method for Structural Performance of Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.

  - E 331	Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.

  - E 2430 Standard Specification for the use of Expanded Polystyrene (EPS) Insulation Board in External Insulation and Finish Systems (EIFS).

  - G 153	Recommended Practice for Operating Light-and Water-Exposure Apparatus (Carbon-Arc Type) for Exposure of Nonmetallic Materials.

  - G 154	Recommended Practice for Operating Light-and Water-Exposure Apparatus (Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials.

- Building Code Standards

- UBC Standard 26-4 (formerly 17-6), “Method of Test for the Evaluation of Flammability Characteristics of Exterior, Nonload-Bearing Wall Panel Assemblies Using Foam Plastic Insulation,” International Conference of Building Officials (ICBO), Inc.

- Section 1407.0, 1999 National Building Code, Building Officials and Code Administrators International (BOCA), Inc.

- Section 2603.4.7, 1997 Standard Building Code, Southern Building Code Congress International (SBCCI), Inc.

- AC24   Interim Criteria for Exterior Insulation and Finish Systems (EIFS) (July 1, 2003)

- AC219 Acceptance Criteria for Exterior Insulation and Finish systems (March 1, 2004)

- National Fire Protection Association (NFPA) Standards

  - NFPA 268, “Standard Test Method for Determining Ignitability of Exterior Wall  Assemblies Using a Radiant Heat Energy Source”

  - NFPA 285, “Standard Method of Test for the Evaluation of Flammability Characteristics of Exterior Non-Load-Bearing Wall Assemblies containing Combustible Components Using the Intermediate-Scale, Multistory Test Apparatus”

  - EIMA (EIFS Industry Members Association) Standards and Publications

- 101.01 Standard Test Method for Freeze-Thaw Resistance of Exterior Insulation and Finish Systems (EIFS), Class PB (Modified ASTM C 67)

- 101.02 Standard Test Method for Resistance to Water Penetration of Exterior Insulation and Finish Systems (EIFS), Class PB (Modified ASTM E 331)

- ASTM E 2134.01  Standard Test Method for Evaluating the Tensile-Adhesion Performance of an Exterior Insulation and Finish System (EIFS)  (101.03 Standard Test Method for Determining tensile Adhesion Strength of Exterior Insulation and Finish System (EIFS)., and Components, Class PB (Modified ASTM C 297)

- 101.86 Standard Test Method for Resistance of Exterior Insulation and Finish Systems (EIFS), Class PB, to the Effects of Rapid Deformation (Impact)

- ASTM E 2098  Standard Test Method for Determining Tensile Breaking Strength of Glass Fiber Reinforcing Mesh for Use in Class PB Exterior Insulation and Finish System after Exposure to a Sodium Hydroxide Solution (105.01 Standard Test Method for Alkali Resistance of Glass Fiber Reinforcing Mesh for use in Exterior Insulation and Finishing Systems (EIFS), Class PB)

  - Gypsum Association

- GA-253	Recommended Specifications for the Application of Gypsum Sheathing

- GA-254	Fire Resistant Gypsum Sheathing

- GA-600 Fire Resistance Design Manual

  - APA Engineered Wood Association

- E 30	Residential and Commercial Construction Guide

  - Proprietary Specifications

- 101514 Georgia-Pacific Corporation, “Dens Glass Gold Sheathing”

- DESIGN REQUIREMENTS

- Wind Load

- Design for maximum allowable system deflection, normal to the plane of the wall, of L/240.

- Design for wind load in conformance with code requirements.

- Moisture Control

- Prevent the accumulation of water behind the EIF system, either by condensation or leakage through the wall construction, in the design and detailing of the wall assembly.

- Provide flashing to direct water to the exterior where it is likely to penetrate components in the wall assembly, including, above window and door heads, beneath window and door sills, at roof/wall intersections, decks, abutments of lower walls with higher walls, above projecting features, and at the base of the wall.

- Air Leakage Prevention—see Sto Specification A100G if an air barrier is desired or required in the wall construction.

- Vapor Diffusion and Condensation-- perform a dew point analysis of the wall assembly to determine the potential for accumulation of moisture in the wall assembly as a result of water vapor diffusion and condensation.  Adjust insulation thickness and/or other wall assembly components accordingly to minimize the risk of condensation.  Avoid the use of vapor retarders on the interior side of the wall in warm, humid climates.

- Impact Resistance

- Provide ultra-high impact resistance to a minimum height of 6'-0" (1.8 m) above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact.  Indicate the areas with impact resistance other than “Standard” on contract drawings.

- Color Selection:

- Select finish coat with a light reflectance value of 20 or greater. (The use of dark colors is not recommended with EIF Systems that incorporate expanded polystyrene [EPS].  EPS has a service temperature limitation of approximately 160 F [71C]).

- Joints

- Design minimum ¾ inch (19 mm) wide expansion joints in the EIFS where they exist in the substrate or supporting construction, where the EIFS adjoins dissimilar construction or materials, at changes in building height, and at floor lines in multi-level wood frame construction.

- Design minimum ½ inch (13 mm) wide sealant joints at all penetrations through the EIFS (windows, doors, etc.).

- Specify compatible backer rod and sealant that has been evaluated in accordance with ASTM C 1382 and that meets minimum 50% elongation after conditioning.

- Design joints with secondary moisture protection and drain joints to the exterior.

- Grade Condition

- Do not specify EIFS below grade (unless designed for use below grade and permitted by code) or for use on surfaces subject to continuous or intermittent water immersion or hydrostatic pressure.

  - Trim, Projecting Architectural Features and Reveals

- All trim and projecting architectural features must have a minimum 1:2 [27] slope along their top surface. All horizontal reveals must have a minimum 1:2 [27] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (51 mm) from the face of the EIFS wall plane, protect the top surface with waterproof base coat.   Avoid the use of trim and features that exceed the maximum allowable thickness of EPS permitted by code (typically 4 inches [100 mm]) unless approved by the code official. Periodic inspections and increased maintenance may be required to maintain surface integrity of EIFS on weather exposed sloped surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance. Refer to Sto details 1.04a and 1.04b.

- Do not use EIFS on weather exposed projecting ledges, sills, or other projecting features unless supported by framing or other structural support and protected with metal coping or flashing.  Refer to Sto detail 1.61.

- Fire Protection

- Do not use foam plastic in excess of 4 inches (100 mm) thick unless approved by the code official.

- Where a fire-resistance rating is required by code use EIFS over rated assembly (EIFS is considered not to add or detract from the fire-resistance of the rated assembly).

- Refer to manufacturer’s applicable code compliance report for other limitations that may apply.

- PERFORMANCE REQUIREMENTS

- EIF System Performance (StoCreativ® Brick Finish)

- Durability

| TEST | METHOD | CRITERIA | RESULTS |
| --- | --- | --- | --- |
| 1. Accelerated Weathering | ASTM G 153 (Formerly ASTM G 23) | No deleterious effects at 2000 hours when viewed under 5x magnification | Passed |
| 1. Accelerated Weathering | ASTM G 154 (Formerly ASTM G 53) | No deleterious effects at 2000 hours when viewed under 5x magnification | Passed at 5000 hours |
| 2. Freeze/Thaw Resistance | EIMA 101.01 (Modified ASTM C-67) | No deleterious effects at 60 cycles | Passed at 90 cycles |
| 3. Water Penetration | EIMA 101.02 (Modified ASTM E 331) | No water penetration beyond the plane of the base coat/EPS board interface after 15 minutes at 6.24 psf (299 Pa) or 20% of design wind pressure, whichever is greater | Passed at 12.0 psf (575 Pa) after 30 minutes |
| 4. Tensile Adhesion | EIMA 101.03 (modified ASTM C-297) | No failure in the adhesive, base coat, or finish coat. Minimum 5 psi (34 kPa) tensile strength before/after accelerated weathering and freeze/thaw exposure | Passed |
| 5. Water Resistance | ASTM D 2247 | No deleterious effects* at 14 day exposure | Passed at 28 days |
| 6. Salt Spray | ASTM B 117 | No deleterious effects* at 300 hours | Passed at 500 hours |
| 7. Abrasion Resistance | ASTM D 968 | No cracking or loss of film integrity at 528 quarts (500 L) of sand | Passed at 1057 quarts (1000 L) of sand |
| 8. Mildew Resistance | ASTM D 3273 | No growth supported during 28 day exposure period | Passed at 42 days |

*No deleterious effects: no cracking, checking, crazing, erosion, rusting, blistering, peeling or delamination

2.    Fire

| TEST | METHOD | CRITERIA | RESULTS |
| --- | --- | --- | --- |
| 1. Full Scale Diversified Fire Test | ASTM E 108 (Modified) | No significant contribution to vertical or horizontal flame spread | Passed |
| 2. Full Scale Multi-Story Fire Test | UBC Standard 26-4 (Formerly 17-6) (NFPA 285) | 1. Resistance to vertical spread of flame within the core of the panel from one story to the next 2. Resistance to flame propagation over the exterior surface 3. Resistance to vertical spread of flame over the interior surface from one story to the next 4. Resistance to significant lateral spread of flame from the compartment of the fire origin to adjacent spaces | Passed |
| 3. Fire Endurance | ASTM E 119 | No effect on fire resistance rating of wall assembly | Passed |
| 4. Radiant Heat Ignition | 1996 National Building Code, Section 1406.0 (NFPA 268) | No ignition @ 20 minutes | Passed |
|  | 1997 Standard Building Code, Section 2603.4.7 (NFPA 268) | No ignition @ 20 minutes | Passed |

3.     Structural

| TEST | METHOD | CRITERIA | RESULTS |
| --- | --- | --- | --- |
| 1. Impact Resistance | EIMA 101.86 | a. Standard: 25-49 in-lbs (2.83-5.54J) b. Medium: 50-89 in-lbs (5.65-10.1J) c. High: 90-150 in-lbs (10.2-17.0J) d. Ultra High: >150 in-lbs (>17.1J) | Passed with one layer Sto Mesh Passed with two layers Sto Mesh Passed with one layer Sto Intermediate Mesh Passed with one layer Sto Armor Mat and one layer Sto Mesh |
| 2. Wind Load | ASTM E 330 | Withstand negative and positive wind loads required by prevailing building code | +323*, -239* psf (+15.5, -11.4 kPa) |

*Ultimate load capacity.  Apply appropriate safety factor.  Ultimate load capacity depends on sheathing type and fastening pattern and capacity of structural wall system (stud size/gage/spacing/depth and connections).  Also see applicable EIFS code report.

- EIFS Component Performance

1.	Durability

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Alkali Resistance of Reinforcing Mesh | EIMA 105.01 | Greater than 120 pli (21 dN/cm) retained tensile strength | Passed |
| 2. Physical properties and Requirements for EPS Board | ASTM C 578 | Refer to ASTM E 2430 Standard Specification for the use of Expanded Polystyrene (EPS) Insulation Board in External Insulation and Finish Systems (EIFS). | Passed |

2.    Fire

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Surface Burning | ASTM E 84 | Adhesive, insulation board, finish coat each have a flame spread of 25 or less and smoke developed of 450 or less | Passed |

- QUALITY ASSURANCE

- Manufacturer requirements

- Member in good standing of the EIFS Industry Members Association (EIMA).

- System manufacturer for a minimum of twenty-five (25) years.

- Manufacturing facilities ISO 9001:2000 Certified Quality System.

- Manufacturer’s wall assembly listed in Gypsum Association Fire Resistance Design Manual.

- Contractor requirements

    - Engaged in application of EIFS for a minimum of three (3) years.

    - Knowledgeable in the proper use and handling of Sto materials and listed by Sto as having attended Sto EIFS continuing education.

    - Employ skilled mechanics who are experienced and knowledgeable in EIFS application, and familiar with the requirements of the specified work.

    - Successful completion of minimum of three (3) projects of similar	size and complexity to the specified project.

    - Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with Sto's published specifications and details and the project plans and specifications.

      - Insulation board manufacturer requirements

- Recognized by Sto as capable of producing insulation board to meet system requirements, and hold a valid licensing agreement with Sto.

- Listed by an approved agency.

- Label insulation board with information required by Sto, the approved listing agency and the applicable building code.

  - Mock-up Testing

- Construct full-scale mock-up of typical EIFS/window wall assembly with specified tools and materials and test air and water infiltration and structural performance in accordance with ASTM E 283, E 331 and E 330, respectively, through independent laboratory.  Mock-up shall comply with requirements of project specifications.  Where mock-up is tested at job site maintain approved mock-up at site as reference standard.  If tested off-site accurately record construction detailing and sequencing of approved mock-up for replication during construction.

- Inspections

- Provide independent third party inspection where required by code or contract documents.

- Conduct inspections in accordance with code requirements and contract documents.

- DELIVERY, STORAGE AND HANDLING

- Deliver all materials in their original sealed containers bearing manufacturer's name and identification of product.

- Protect coatings (pail products) from freezing and temperatures in excess of 90F (32 C). Store away from direct sunlight.

- Protect Portland cement based materials (bag products) from moisture and humidity. Store under cover off the ground in a dry location.

- PROJECT/SITE CONDITIONS

(Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing)

- Maintain ambient and surface temperatures above 40F (4C) during application and drying period, minimum 24 hours after application of EIFS.

- Provide supplementary heat for installation in temperatures less than 40F (4C).

- Provide protection of surrounding areas and adjacent surfaces from application of materials.

- COORDINATION/SCHEDULING

(The work in this section requires close coordination with related sections and trades. Sequence work to provide protection of construction materials from weather deterioration)

- Provide site grading such that EIFS terminates above finished grade a minimum of 8 inches (203 mm) or as required by code.

- Provide protection of rough openings before installing windows, doors, and other penetrations through the wall and provide sill flashing.

- Install window and door head flashing immediately after windows and doors are installed.

- Install diverter flashings wherever water can enter the wall assembly to direct water to the exterior.

- Install copings and sealant immediately after installation of the EIF system and when EIFS coatings are dry.

- Attach penetrations through EIFS to structural support and provide water tight seal at penetrations.

- WARRANTY

- Provide manufacturer's standard limited labor and materials warranty for system type.

PART 2  PRODUCTS

- MANUFACTURERS

- Provide EIFS and accessories from single source manufacturer or approved supplier.

- The following are acceptable manufacturers:

  - Sto Corp.— EIF System with StoCreativ® Brick Stencils

- SURFACE PREPARATION (optional components, depending on substrate condition)

- Conditioner

  - Sto Plex W - an acrylic based surface conditioner (used for chalking surfaces or excessively absorptive concrete, plaster or masonry).

- Leveler (select one)

  - Sto BTS-Plus - one-component, polymer-modified cement-based leveler with fiber reinforcement (used for concrete, or plaster surfaces; for leveling up to ⅛ inch [3 mm]).

  - Sto Leveler - one-component, polymer modified, cement based leveler with fiber reinforcement (used for concrete, masonry or plaster surfaces; for leveling up to ¼ inch [6 mm]).

- ADHESIVE (select one)

  - Cementitious Adhesives

- Sto BTS Plus—one-component, polymer-modified, cement based high build adhesive (for use over Exterior gypsum sheathing, Dens Glass Gold sheathing, Exterior Cementitious sheathing, concrete, masonry or plaster surfaces)

- Sto BTS Silo—one-component , polymer-modified, cement based high build adhesive designed for use with StoSilo spray equipment (for use over Exterior gypsum sheathing, Dens Glass Gold sheathing, Exterior cementitious sheathing, concrete, masonry or plaster surfaces).

- Sto Primer/Adhesive--acrylic based leveler mixed with portland cement  (for concrete, masonry or plaster surfaces; for leveling up to 1/16 inch [1.6 mm].  Not recommended over wood surfaces).

  - Sto Primer/Adhesive-B--one-component, polymer modified, cement-based leveler (for concrete, masonry or plaster surfaces; for leveling up to 1/16 inch [1.6mm]. Not recommended over wood surfaces).

  - Non-cementitious Adhesives (select one)

- Sto Dispersion Adhesive—non-cementitious, acrylic based adhesive (for use over   Exterior gypsum sheathing, Dens Glass Gold sheathing, Exterior Grade or Exposure I wood-based sheathing, Exterior cementitious sheathing, concrete, masonry or plaster surfaces.  Not recommended over damp or irregular surfaces or during prolonged periods of cold weather. Not recommended over pressure-treated or fire-retardant treated wood surfaces).

- INSULATION BOARD

- Nominal 1.0 lb/ft3 (16 kg/m3) Expanded Polystyrene (EPS) Insulation Board in compliance with ASTM C 578 Type I requirements, and ASTM E 2430 Standard Specification for the use of Expanded Polystyrene (EPS) Insulation Board in External Insulation and Finish Systems (EIFS). (Note: minimum required thickness is 1inch [25 mm]and maximum allowable thickness is typically 4 inches [100 mm] unless thicker dimensions are approved by the code official ).

- BASE COAT (select one)

  - Cementitious Base Coats

    - Sto BTS® Plus—one-component polymer modified cement based high build base coat with less than 33 percent Portland cement content by weight and capable of achieving minimum 1/16 inch (1.6 mm) thickness in one pass.

    - Sto BTS® Silo—one component polymer modified cement based high build base coat designed for use with StoSilo spray equipment and capable of achieving minimum 1/16 inch (1.6 mm) thickness in one pass.

      - Sto Primer/Adhesive--acrylic based base coat mixed with portland cement.  (for concrete, masonry or plaster surfaces.  Not recommended over wood surfaces).

      - Sto Primer/Adhesive-B--one-component, polymer modified, cement-based base coat (for concrete, masonry or plaster surfaces.  Not recommended over wood surfaces).

- Non-cementitious Base Coat

  - Sto RFP—one component ready mixed non-cementitious, fiber reinforced  acrylic base coat.

    - Waterproof Base Coat

- Sto Flexyl—two component fiber reinforced acrylic based waterproof base coat mixed with Portland cement (for use as a waterproof base coat to waterproof foundations, parapets, splash areas, trim  and other projecting architectural features).

- REINFORCING MESHES

- Standard Mesh

  - Sto Mesh--nominal 4.5 oz./yd2 (153 g/m²), symmetrical, interlaced open-weave glass fiber fabric made with alkaline resistant coating for compatibility with Sto materials (achieves Standard Impact Classification).

- High Impact Mesh

- Sto Intermediate Mesh--nominal 11.2 oz./yd² (380 g/m²), high impact, interwoven, open weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (achieves High Impact Classification).

  - Ultra-High Impact Mesh

- Sto Armor Mat--nominal 15 oz./yd² (509 g/m²), ultra-high impact, double strand, interwoven, open-weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (recommended to a minimum height of 6’-0” [1.8m] above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact.  Achieves Ultra-High Impact Classification when applied beneath Sto Mesh).

  - Specialty Meshes

- Sto Detail Mesh--nominal 4.2 oz/yd2 (143 g/m2), flexible, symmetrical, interlaced glass fiber fabric, with alkaline resistant coating for compatibility with Sto materials (used for standard EIFS backwrapping and  aesthetic detailing).

- Sto Corner Mat--nominal 7.7 oz./yd² (261 g/m2), pre-creased, heavy-duty, open-weave woven glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (used for maximum impact protection at inside and outside corners).

- PRIMER

- Sto Primer Creativ 806--acrylic based tinted primer.

- FINISH COAT

- Stolit® 1.5, 2.0, 3.0, R1.5, R2 or R3 acrylic based StoCreativ® Brick Finish textured coating.

- Stolit® Freeform acrylic based StoCreativ® Brick sand textured coating.

(Note: specify finish color with a lightness value of 20% or greater)

- COATINGS

- Sto Maxicryl---acrylic based smooth coating.

- StoTique---acrylic based coating which can be applied to Sto Finish to achieve an Antiquated or Mottled appearance.

- JOB MIXED INGREDIENTS

- Water--Clean and potable.

- Portland cement--Type I in conformance with ASTM C 150.

  - MIXING

- Sto Plex W:  add water as directed on labeling.

- Sto Leveler:  mix ratio with water: 3.5-5 quarts (3.3-4.7 L) of water per 60 pound (27.kg) bag. Mix automatically using StoSilo, Sto’s S-25 continuous mixer, or mix ½ bag at a time by adding Sto Leveler to 3.5-5 pints (1.7-2.4 L) of clean, potable water in a clean mixing pail.  Mix with a clean, rust-free electric drill and paddle.  Allow to set approximately five minutes, adjust mix if necessary by adding up the ½ pint (.24 L) of water, remix to a uniform consistency.  Avoid retempering after mixing of product.

- Sto BTS® Plus--mix ratio with water: 5-6.5 quarts (4.7-6.2 L) of water per 47 pound (21.3 kg) bag of Sto BTS® Plus. Pour clean potable water into a clean mixing pail. Add Sto BTS® Plus, mix to a uniform consistency and allow to set for approximately 5 minutes. Adjust mix if necessary with additional Sto BTS Plus or water and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent.  Do not exceed maximum water amount in mix ratio.

- Sto BTS® Silo--mix by machine with StoSilo spray equipment at a water flow rate setting

of 450-600 L/hr.

- Primer/Adhesive: mix ratio with portland cement is 1:1 by volume.  Pour Sto Primer/Adhesive into a clean mixing pail.  Add portland cement, mix to a uniform consistency and allow to set for approximately five minutes.  Adjust mix if necessary by adding up to 8 fl. oz. (.24L) of water per pail and remix to a uniform trowel consistency.  Avoid retempering.  Keep mix ratio consistent.

- Primer/Adhesive B: mix ratio with water: 5-6.5 quarts (4.7-6.2 L) of water per 50 pound (23 kg) bag of Sto Primer/Adhesive-B. Pour water into a clean mixing pail. Add Sto Primer/Adhesive-B, mix to a uniform consistency and allow to set for approximately 5 minutes. Adjust mix if necessary by adding up to 12 fl. oz. (.35L) of water per bag and re-mix to a uniform trowel consistency. Avoid re-tempering. Keep mix ratio consistent.  Do not exceed maximum amount of water in mix ratio.

- Sto Dispersion Adhesive--mix with a clean, rust-free high speed mixer to a uniform consistency.

- Sto Flexyl--mix ratio with Portland cement: 1:1 ratio by weight.  Pour Sto Flexyl into a clean mixing pail. Add Portland cement, mix to a uniform consistency and allow to set for approximately five minutes. Adjust mix if necessary with additional Sto Flexyl and remix to a uniform trowel consistency. Avoid retempering.  Keep mix ratio consistent.

- Sto Primer Creativ 806—mix with a clean, rust-free high speed mixer to a uniform consistency.

- Stolit 1.5, 2.0, 3.0, R1.5, R2, R3 and Freeform—mix with a clean, rust-free high speed mixer to a uniform consistency. A small amount of water may be added to adjust workability. Limit addition of water to amount needed to achieve the finish texture.

- Sto Maxicryl---mix with rust free electric drill.

- StoTique---Add clean potable water to the level equal to the second rib from the top of the pail and mix thoroughly.

- Mix only as much material as can readily be used.

- Do not use anti-freeze compounds or other additives.

PART 3  EXECUTION

  - ACCEPTABLE INSTALLERS

A. 	Prequalify under Quality Assurance requirements of this specification (section 1.06.B).

  - EXAMINATION

- Inspect surfaces for:

  - Contamination -- algae, chalkiness, dirt, dust, efflorescence, form oil, fungus, grease, laitance, mildew or other foreign substances.

  - Surface absorption and chalkiness.

  - Cracks -- measure crack width and record location of cracks.

  - Damage and deterioration.

  - Moisture content and moisture damage -- use a moisture meter to determine if the surface is dry enough to receive the EIFS and record any areas of moisture damage.

  - Compliance with specification tolerances -- record areas that are out of tolerance (greater than ¼ inch in 8-0 feet [6mm in 2438 mm] deviation in plane).

- Inspect sheathing application for compliance with applicable requirement:

  - Exterior gypsum sheathing--GA-253

  - Exterior Grade and Exposure I wood based sheathing--APA Engineered Wood Association E 30

  - Glass mat faced gypsum sheathing--Georgia Pacific Publication 101514

  - Cementitious sheathing--Consult manufacturer's published recommendations

- Report deviations from the requirements of project specifications or other conditions that might adversely affect the EIFS installation to the General Contractor. Do not start work until deviations are corrected.

  - SURFACE PREPARATION

- Remove surface contaminants on concrete and concrete masonry surfaces (refer to ASTM D 4258 and D 4261).

- Apply conditioner by sprayer or roller to chalking or excessively absorptive surfaces.

- Replace weather-damaged sheathing and repair damaged or cracked surfaces.

- Level surfaces to comply with required tolerances.

- INSTALLATION

(Note: the coordination of work with other trades is important for the performance of the wall assembly, in particular the installation of flashing above window and door heads, beneath window and door sills, at roof/wall intersections, decks, intersections of lower walls with higher walls, projecting features, and at the base of the wall to ensure that where water is likely to penetrate the wall assembly, it will be drained to the exterior at the source of the leak).

- Backwrapping

  - Apply a strip of detail mesh to the substrate at the base of the wall and at all system terminations (windows, doors, expansion joints, etc.).  The mesh must be wide enough to adhere approximately 4 inches (100 mm) of mesh onto the wall, be able to wrap around the insulation board edge and cover a minimum of 2 ½ inches (64 mm) on the outside surface of the insulation board.  Adhere mesh strips to the supporting substrate and allow them to dangle until the backwrap procedure is completed (paragraph F.1).

- Adhesive Application and Installation of Insulation Board (for all adhesives except Sto BTS® Silo)

  - Apply adhesive to the back of the insulation board with the proper size stainless steel notched trowel.  Apply uniform ribbons of adhesive horizontally or vertically.

  - Start at base of wall from a level line.  Immediately place insulation boards in a running bond pattern on the wall with the long dimension horizontal.  Apply firm pressure over the entire surface of the boards to ensure uniform contact of adhesive. Bridge sheathing joints by a minimum of 6 inches (152 mm). Interlock inside and outside corners.

  - Butt all board joints tightly together to eliminate any thermal breaks in the EIFS. Care must be taken to prevent any adhesive from getting between the joints of the boards.

  - Cut insulation board in an L-shaped pattern to fit around openings. Do not align board joints with corners of openings.

  - Remove individual boards periodically while the adhesive is still wet to check for satisfactory contact with the substrate and the back of the insulation board. An equal amount of adhesive must be on the substrate and the board when they are removed, as an indication of adequate adhesion.  Do not use nails, screws, or any other type of non-thermal mechanical fastener.

- Adhesive Application and Installation of EPS Board with StoSilo Spray Equipment

(Note: spray application will progress faster than application by hand.  Pre-cut EPS board as needed and adjust crew size and job staging to install EPS board so it follows immediately after the spray application of adhesive)

- Apply material to the prepared sheathing to a rough thickness of 1/4” (6 mm).  Form uniform vertical or horizontal ribbons of adhesive by directing the proper size stainless steel notched trowel from the bottom of the wall upward. Immediately install insulation boards in accordance with steps C.2-C.5 above.  If adhesive develops a “skin” before the insulation board is installed remove the adhesive and replace with fresh material.

  - Slivering and Rasping of Insulation Board Surface

(Note: EPS insulation board exposed to sunlight will develop a powdery residue on the

surface. This residue  must be entirely removed by rasping the surface)

- After insulation boards are firmly adhered to the substrate, fill any open joints in the insulation board layer with slivers of insulation or approved spray foam.

- Rasp the insulation board surface to achieve a smooth, even surface and to remove any ultraviolet ray damage.

  - Trim, Reveals and Projecting Aesthetic Features

(Note: Reveals/aesthetic grooves may be designed into the system to accommodate workability on multi-level buildings or lengthy wall sections)

- Attach features and trim where designated on drawings with adhesive to the insulation board or sheathing surface.  Slope the top surface of all trim/features minimum 1:2 (27) and the bottom of all horizontal reveals minimum 1:2 (27).

- Cut reveals/aesthetic grooves with a hot-knife, router or groove-tool in locations indicated on drawings.

- Offset reveals/aesthetic grooves minimum 3 inches (75 mm) from insulation board joints.

- Do not locate reveals/aesthetic grooves at high stress areas such as corners of    windows, doors, etc.

- A minimum ¾ inch (19 mm) thickness of insulation board must remain at the bottom of the reveals/aesthetic grooves.

  - Completion of Backwrapping

- Complete the backwrapping procedure by applying base coat to exposed edges of insulation board and approximately 4 inches (100 mm) onto the face of the insulation board. Pull mesh tight around the board and embed it in the base coat with a stainless steel trowel. Use a corner trowel for clean, straight lines. Smooth any wrinkles or gaps in the mesh.

  - Base Coat and Reinforcing Mesh Application

- Apply minimum 9x12 inch (225x300 mm) diagonal strips of detail mesh at corners of windows, doors, and all penetrations through the system. Embed the strips in wet base coat and trowel from the center to the edges of the mesh to avoid wrinkles.

- Apply detail mesh at trim, reveals and projecting architectural features. Embed the mesh in the wet base coat.  Trowel from the base of reveals to the edges of the mesh.

- Ultra-High impact mesh application (recommended to a minimum height of 6’-0" [1.8 m] above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact, and where indicated on contract drawings ): apply base coat over the insulation board with StoSilo spray equipment or a stainless steel trowel to a uniform thickness of approximately ⅛ inch (3 mm). Work horizontally or vertically in strips of 40 inches (1016 mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Butt the mesh at seams. Allow the base coat to dry.

- Standard mesh application: Apply base coat over the insulation board, including areas with Ultra-High impact mesh, with StoSilo spray equipment or a stainless steel trowel to a uniform thickness of approximately ⅛ inch (3 mm). Work horizontally or vertically in strips of 40 inches (1016mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Overlap mesh not less than 2-½  inches (64 mm) at mesh seams and at overlaps of detail mesh. Feather seams and edges.  Double wrap all inside and outside corners with minimum 2-½ inch (64 mm) overlap in each direction.  (Alternate corner treatment: embed corner mat in base coat, allow to dry, then overlap up to corner with standard reinforcing mesh embedded in base coat).  Avoid wrinkles in the mesh. The mesh must be fully embedded so that no mesh color or pattern shows through the base coat when it is dry. Re-skim with additional base coat if mesh color or pattern is visible.

- Sloped Surfaces: for trim, reveals, aesthetic bands, cornice profiles, sills or other architectural features that project beyond the vertical wall plane more than 2 inches (51 mm) apply waterproof base coat with a stainless steel trowel to the weather exposed sloped surface and minimum four inches (100 mm) above and below it.  Embed standard mesh or detail mesh in the waterproof base coat and overlap mesh seams a minimum of 2-½ inches (65 mm).

- Allow base coat to thoroughly dry before applying primer or finish.

Note: All trim and  projecting architectural features must have a minimum 1:2 [27] slope along their top surface. All horizontal reveals must have a minimum 1:2 [27] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (51 mm) from the face of the EIFS wall plane, protect the weather exposed sloped surface with waterproof base coat.   Avoid the use of trim and features that exceed the maximum allowable thickness of EPS permitted by code (typically 4 inches [100 mm]) unless approved by the code official. Periodic inspections and increased maintenance may be required to maintain surface integrity of EIFS on sloped weather exposed surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance burden. Refer to Sto details 1.04a and 1.04b.

Do not use EIFS on weather exposed projecting ledges, sills, or other projecting features unless supported by framing or other structural support and protected with metal coping or flashing.  Refer to Sto detail 1.61.

- Primer Application

- Apply Sto Primer Creativ 806 (the grout color) evenly with brush, roller or proper spray equipment over the clean, dry base coat and allow to dry thoroughly before applying finish.  Additionally, StoTique may be applied to the dry primer to create a weathered appearance.

- Stencil Application

  - Apply StoCreativ Brick self-adhesive stencils to wall surface only after the Primer has completely dried.

  - Mark a level horizontal line parallel to the bottom of the wall at the approximate mid-point of wall height.  The line should represent several increments of stencil height.  Depending on building height several parallel lines may need to be marked to serve as guides to keep stencil placement parallel.

  - Mark a vertical line perpendicular to the horizontal line(s) at the mid-point of wall length to serve as a plumb line.  The line should represent several increments of stencil length.  Depending on building length several parallel lines may need to be marked to serve as guides to keep stencil placement parallel.

  - After verifying lines for squareness, adhere templates to the wall to achieve the desired pattern.  Remove the stencil backing, and start the template at the intersection of the level line and plumb line.  Place additional templates using reference lines and adjacent templates as guides to ensure squareness.

  - At abutting stencil joints place filament tape over the joints.

  - Install only as many stencils as can be covered with finish the same day.

- Finish Coat Application

- Apply finish directly over the stencil and previously coated base coat when dry. Apply finish by spraying or troweling with a stainless steel trowel.  Follow these general rules for application of finish:

- Avoid application in direct sunlight.

- Apply finish in a continuous application, and work to an architectural break in the wall.

- Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying.  Adjustments in the scheduling of work may be required to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing. Adjust work schedule and provide protection.

- Do not install separate batches of finish side-by-side.

- Do not apply finish into or over sealant joints. Apply finish to outside face of wall only.

- Do not apply finish over irregular or unprepared surfaces, or surfaces not in compliance with the requirements of the project specifications.

    - Mottled Finish Appearance

- After finish coat is dry and the stencil removed, apply Sto Maxicryl with a 1/16” or ⅛ (1.6-3mm) nap roller to specific areas of the brick (not the brick joints) in the colors as depicted in the required sample.  Foam pads or rags may also be used.

  - Weathered Appearance

    - After finish coat is dry and the stencil removed, apply Sto Tique with brush roller or rag to specific areas of the brick (not the brick joints) in the colors as depicted in the requested sample.

  - Removal of Stencils

      - Remove stencils after the finish has dried.  Lift stencils carefully to avoid tears into the edges of the finish.

      - At any areas where finish has seeped beneath the stencil, clean with a narrow edging tool and touch up the area with a small paint brush and primer.

- PROTECTION

  - Provide protection of installed materials from water infiltration into or behind them.

  - Provide protection of installed materials from dust, dirt, precipitation, freezing and continuous high humidity until they are fully dry.

ATTENTION

Sto products are intended for use by qualified professional contractors, not consumers, as a component of a larger construction assembly as specified by a qualified design professional, general contractor or builder.  They should be installed in accordance with those specifications and Sto’s instructions.  Sto Corp. disclaims all, and assumes no, liability for on-site inspections, for its products applied improperly, or by unqualified persons or entities, or as part of an improperly designed or constructed building, for the nonperformance of adjacent building components or assemblies, or for other construction activities beyond Sto’s control.  Improper use of Sto products or use as part of an improperly designed or constructed larger assembly or building may result in serious damage to Sto products, and to the structure of the building or its components.  STO CORP. DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED EXCEPT FOR EXPLICIT LIMITED WRITTEN WARRANTIES ISSUED TO AND ACCEPTED BY BUILDING OWNERS IN ACCORDANCE WITH STO’S WARRANTY PROGRAMS WHICH ARE SUBJECT TO CHANGE FROM TIME TO TIME.  For the fullest, most current information on proper application, clean-up, mixing and other specifications and warranties, cautions and disclaimers, please refer to the Sto Corp. website, www.stocorp.com.