# Sto Guide Specification A5000E

# StoEnergy Guard® for Concrete, Concrete Masonry (CMU)

# and Frame Wall Assemblies

## Section 07 27 26: Fluid-Applied Membrane Air Barriers

This specification is intended for use by the design/construction professional and user of Sto products to assist in developing project specifications for the application of StoEnergy Guard – StoGuard Waterproof Air Barrier (Vapor Permeable), Sto Insul-X XPS continuous insulation, and Sto DrainScreen cavity wall component – to vertical above grade concrete, concrete masonry, and sheathed frame wall construction.   StoEnergy Guard is designed for use beneath claddings such as brick veneer with a cavity, vinyl, wood, and fiber cement siding.  It can also be used behind portland cement stucco with code compliant metal lath and  WRB (Water-Resistive Barrier), typically code approved building paper or felt.  For this application see StoPowerwall EnergyGuard specification S 507.  For EIFS claddings see StoTherm® NExT Specifications A100G, E100G, and L100G.  For other claddings refer to the applicable building code, cladding manufacturer’s attachment requirements, and/or available industry information.

StoGuard functions as an air barrier component and secondary water-resistive barrier (WRB) in wall assemblies.  The secondary moisture protection provided by StoGuard protects walls against moisture damage from rain during the construction process and in the event of a breach in the wall cladding while in service.  It is not intended to correct faulty design or workmanship such as the absence or improper integration of flashing in the wall assembly, nor is it intended to correct defective components of construction such as windows that leak into the wall assembly.  Flashing must always be integrated with the WRB in the wall assembly to direct water to the exterior of the cladding, not into the wall assembly, particularly at potential leak sources such as windows.

An air barrier system minimizes the risk of condensation within the building envelope by eliminating mass transfer of warm moisture laden air into the wall assembly to a cold surface where it can condense. A complete air barrier system consists of individual air barrier components and the connections between them. The air barrier components must be continuous to become an effective air barrier assembly.  The design/construction professional must take material compatibility and construction sequencing into account when designing an "air tight" assembly to ensure continuity and long term durability.  The effects of air tightness on mechanical ventilation should also be included in the overall project evaluation.

The function of an air barrier should not be confused with that of a vapor retarder.  A vapor retarder is placed in the wall to resist differential vapor pressures, whereas the air barrier is designed to resist the structural live loads induced by air pressure difference.  Generally a vapor retarder is placed on the warm side of the wall.  Specifically, it is placed on the interior side of the insulation in cold climates and on the exterior side of the insulation in warm humid climates to minimize condensation within the wall assembly.   A vapor retarder may not be necessary depending on the wall components, the range of temperature/humidity conditions inside and outside, and the mechanical ventilation of the building.  A vapor retarder should not be used on the interior side of walls in warm humid climates.  If a vapor impermeable air barrier is desired refer to information on Sto VaporSeal.

Notes in italics, such as this one, are explanatory and intended to guide the design/construction professional and user in the proper selection and use of materials.  This specification should be modified where necessary to accommodate individual project conditions.  Verify that section titles in this specification are correct for the Project Specifications.  Verify that table headers and spacing are aligned after final edit, including table header repeated at top of table, at any new pages.

PART 1  GENERAL

  - RELATED DOCUMENTS

Retain or delete this article in all sections of the Project Manual

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

  - SUMMARY

- Section includes materials and installation of fluid applied waterproof air barrier membrane, continuous insulation, and drainage component over vertical above grade concrete walls, concrete masonry walls, and wall sheathing.

- Related Requirements (add/delete, depending on specific project requirements):

  - Section 03 30 00: Cast-In-Place Concrete

  - Section 04 22 00: Concrete Unit Masonry

  - Section 06 16 00: Sheathing

  - Section 07 25 00: Weather Barriers

  - Section 07 26 00: Vapor Retarders

  - Section 07 50 00: Membrane Roofing

  - Section 07 60 00: Flashing and Sheet Metal

  - Section 07 90 00: Joint Protection

  - Section 08 50 00: Windows

  - Section 09 28 16: Glass-Mat Faced Gypsum Backing Boards

1.3	DEFINITIONS

A.	Air Barrier Material:   A primary element that provides a continuous barrier to the movement of air.

- Air Barrier Accessory:  A transitional component of the air barrier that provides continuity.

C.	Air Barrier Auxiliary Material:  A transitional component that provides air barrier continuity furnished by a source other than the primary air barrier manufacturer.

D.	Air Barrier Assembly:   The collection of air barrier materials, accessory and auxiliary materials applied to an opaque wall, including joints and junctions to abutting construction, to control air movement through the wall

E.	Continous Insulation (CI):   insulation that is continuous across all structural members without thermal bridges other than fasteners and service openings.  For purposes of this guide specification it is installed on the exterior of the building envelope.

F.	Cavity Wall Component:   component material added to wall assembly to create a cavity beneath cladding for enhanced drainage and drying potential

1.4	PRE-INSTALLATION MEETINGS

- Pre-installation Conference

1.	Review air barrier, CI, and cavity wall component installation requirements and installation details, mock-ups, testing requirements, protection, and sequencing of work.

1.5       REFERENCES

A.         Building Code and Material Evaluation Service Standards

- ICC ES AC 212 – March 1, 2005, ICC Acceptance Criteria for Water-Resistive Coatings Used as Water-Resistive Barriers over Exterior Sheathing

- May, 1997, CCMC (Canadian Construction Materials Centre) Technical Guide for Air Barrier Material

- 2009 and 2012 IBC, International Building Code

- 2009 and 2012 IRC, International Residential Code

- 2009 and 2012 IECC, International Energy Conservation Code

- ASTM Standards

- C 297-94, Test Method for Tensile Strength of Flat Sandwich Constructions in

Flatwise Plane

2.	C 578-01, Specification for Pre-formed Cellular Polystyrene Insulation Board

- C 1177-08, Specification for Glass Mat Gypsum Substrate for Use as Sheathing

- D 226-09, Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing

and Waterproofing

- D 522-93a, Test Methods for Mandrel Bend Test of Attached Organic Coatings

- D 1970-00, Standard Specification for Self-Adhering Polymer Modified Bituminous

Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

- D 3273-00, Test Method for Resistance to Growth of Mold on the Surface of Interior

Coatings in an Environmental Chamber

- D 4541-09, Test Method for Pull-Off Strength of Coatings Using Portable Adhesion

Testers

- E 84-98, Test Method for Surface Burning Characteristics of Building Materials

- E 96-00, Test Method for Water Vapor Transmission of Materials

- E 119-98,	Standard Test Methods for Fire Tests of Building Construction and Materials

- E 779-10, Standard Test Method for Determining Air Leakage Rate by Fan Pressurization

- E 330-10, Test Method for Structural Performance of Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference

- E 331-09 Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference

- E 783-02, Standard Test Method for Field Measurement of Air Leakage Through Installed Exterior Windows and Doors

- E 1186-03 (2009), Standard Practices for Air Leakage Site Detection in Building Envelopes and Air Barrier Systems

- E 1827-96 (2007), Standard Test Methods for Determining Airtightness of Buildings Using an Orifice Blower Door

- E 2178-03, Test Method for Air Permeance of Building Materials

- E 2357-05, Standard Test Method for Determining Air Leakage of Air Barrier

Assemblies

- APA - The Engineered Wood Association

- PS 1	Voluntary Product Standard, Structural Plywood

- PS 2	Performance Standard for Wood-Based Structural-Use Panels

3.	E30U-2007	Engineered Wood Construction Guide

- American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc. (ASHRAE)

  - 2005 ASHRAE Handbook--Fundamentals

2.	ASHRAE 90.1 – 2010, Energy Standard for Buildings Except Low-Rise Residential Buildings

3.	ASHRAE 189.1 – 2009, Standard for the Design of High Performance Green Buildings Except Low-Rise Residential Buildings

E.	ICC ES (International Code Council Evaluation Service)

    - AC 212, Acceptance Criteria for Water-resistive Coatings used as Water-resistive Barriers over Exterior Sheathing

    - ICC ESR 1233: StoGuard with Gold Coat and StoGuard with EmeraldCoat Water-resistive Barriers

F.	National Fire Protection Association (NFPA)

1.	NFPA 285, Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components

G.	Proprietary

1.	Sto Corp. Tech Hotline No. 0211-BSc, Air Barrier Connections and StoGuard

H.	South Coast Air Quality Management District (SCAQMD)

1.	Rule 1113 (2007) – Architectural Coatings

1.6     	COORDINATION/SCHEDULING

(The work in this section requires close coordination with related sections and trades. Sequence work to provide protection of construction materials from weather deterioration)

- Coordinate installation of foundation waterproofing, roofing membrane, windows, doors and other wall penetrations to provide a continuous air barrier and continuous moisture protection.

  - Provide protection of rough openings before installing windows, doors, and other

penetrations through the wall.

C.	Provide sill flashing to direct water to the exterior before windows and doors are installed.

D.         Install window and door head flashing immediately after windows and doors are installed.

E.	Install diverter flashings wherever water can enter the assembly to direct water to the exterior.

F.	Install parapet cap flashing and similar flashing at copings and sill to prevent water entry into the wall assembly.

G.	Install CI or cladding within 180 days of waterproof air barrier installation.

H.	Install caviy wall component within 60 days of CI installation.

I.	Install cladding within 30 days of cavity wall component installation.

1.7	SUBMITTALS

- Manufacturer’s specifications, details and product data for air barrier, WRB, CI and cavity wall component.

- Manufacturer’s standard warranty.

- Manufacturer’s ICC evaluation report confirming code compliance with the IBC, IRC, and IECC of  air barrier and water-resistive barrier.

- Manufacturer’s ICC evaluation report confirming code compliance with IBC, IRC, and IECC of continuous insulation component

- Samples for approval as directed by architect or owner.

- Shop drawings: substrate joints, cracks, flashing transitions, penetrations, corners, terminations, and tie-ins with adjoining construction, interfaces with separate materials that form part of the air barrier assembly.

1.8      QUALITY ASSURANCE

A.	Manufacturer requirements

- Manufacturer of exterior wall waterproof air barrier materials for a minimum of 30 years in North America.

- ISO 9001:2000 Certified Quality System and ISO 14001:2004 Certified Environmental Management System

- CI component listed through independent third party listing agency

B.	Contractor requirements

- Knowledgeable in the proper use and handling of Sto materials.

- Employ skilled mechanics who are experienced and knowledgeable in waterproofing, air barrier, and CI application, and familiar with the requirements of the specified work.

- Provide the proper equipment, manpower and supervision on the job-site to install the air barrier and CI assembly in compliance with the project plans & specifications, shop drawings, and Sto’s published specifications and details.

- C.     	Regulatory Compliance

- 1.	Primary air barrier and joint treatment reinforcement materials:

- a.	Listed by ICC ES and recognized for use on all types of construction.

- b.	Listed by CCMC and recognized for use on all types of construction.

- c.	Comply with VOC requirements of SCAQMD Rule 1113.

- d.	Comply with ASHRAE 90.1 – 2010

- e.	Comply with ASHRAE 189.1 - 2009

- 2.	CI component listed by ICC ES and recognized for use on all types of construction.

- D.	Mock-ups

- 1.	Build stand-alone site mock up or sample wall area on as-built construction to incorporate back-up wall construction, air barrier, CI, and cavity wall component installation covering typical details - substrate joints, cracks, flashing transitions, penetrations, corners, terminations, tie-ins with adjoining construction, and interfaces with separate materials that form part of the air barrier and CI assembly.

  - PRE-CONSTRUCTION TESTING

- A.	Conduct testing by qualified test agency or building envelope consultant

- 1.	Conduct assembly air leakage testing in accordance with ASTM E 783.

- 2.	Conduct adhesion testing to substrates in accordance with ASTM D 4541.

- 3.	Conduct wet sealant compatibility testing in accordance with sealant manufacturer’s field quality control test procedure.

- 4.	Notify design professional minimum 7 days prior to testing.

1.10   	DELIVERY, STORAGE AND HANDLING

A	Deliver all materials in their original sealed containers bearing manufacturer’s name and identification of product.

B.	Protect coatings (pail products) from freezing temperatures and temperatures in excess of 90 degrees F (32 degrees C). Store away from direct sunlight.

C.	Protect spray foam adhesive from freezing and direct sunlight and avoid contact with water.  Store in a clean dry room at temperatures ranging from 50-75 degrees F (10-24 degrees C).  Keep away from sources of heat, sparks, flame, ignition and physical abuse.  Avoid temperatures above 110 degrees F (43 degrees C).  Use only with adequate ventilation.

  - Protect Portland cement based materials (bag products) from moisture and humidity. Store under cover off the ground in a dry location.

E.	Protect insulation materials from prolonged UV exposure, keep away from sources of heat, sparks, flame, flammable or volatile materials.  Store on a clean, flat surface, off the ground in a dry area.

F.	Store cavity wall component in a dry area and protect from direct sunlight.

G.	Protect and store accessory and auxiliary products in accordance with manufacturer’s written instructions.

H.	Handle all products as directed on labeling.

1.11	PROJECT/SITE CONDITIONS

- Maintain ambient and surface temperatures above 40 degrees F (4 degrees C) during application and drying period, minimum 24 hours after application of waterproof air barrier materials, CI adhesive, and spray foam material.

- Provide supplementary heat for installation in temperatures less than 40 degrees F (4 degrees C) or if surface temperature is likely to fall below 40 degrees F (4 degrees C).

C.	Do not use spray foam material when surface or ambient temperatures are at 110 degrees F (43 degrees C) or above during application or curing period.

D.	Provide protection of surrounding areas and adjacent surfaces from application of materials.

1.12	WARRANTY

- Provide manufacturer’s standard warranty.

PART 2   PRODUCTS

  - MANUFACTURERS

- Sto Corp.

B.	Obtain primary air barrier and accessory air barrier materials, CI, and cavity wall component from single source.

2.2	MATERIALS

A.	Primary Air Barrier Material: StoGuard with Sto EmeraldCoat - ready-mixed flexible spray or roller applied waterproof air barrier membrane material

B.	Accessory Air Barrier Materials

1. 	Joint Treatments

a.	Sto Gold Fill® with StoGuard Mesh: ready mixed flexible trowel or spray applied air barrier material.

b.	StoGuard® Rapid Seal™ with StoGuard Mesh: moisture cure elastomeric waterproof air barrier material.

c.	Sto EmeraldCoat with StoGuard Fabric: flexible waterproof air barrier membrane material

2.	Joint Reinforcements

- a.	StoGuard Mesh: nominal 4.2 oz/yd2 (142 g/m2) self-adhesive, flexible, symmetrical, interlaced glass fiber reinforcing mesh, with alkaline resistant coating for compatibility with Sto materials.

- b.	StoGuard Fabric: non-woven integrally reinforced cloth reinforcement.

- c.	StoGuard RediCornerTM: non-woven integrally reinforced pre-formed cloth.

3.    	Transition Membranes

a.	Sto Gold Fill with StoGuard Mesh: ready mixed flexible trowel or spray applied air barrier material with treated glass fiber reinforcing mesh.

b.	StoGuard RapidSeal or StoGuard RapidSeal with StoGuard Mesh: moisture cure elastomeric waterproof air barrier material with treated glass fiber reinforcing mesh (where applicable).

c.	Sto EmeraldCoat with StoGuard Fabric: flexible waterproof air barrier membrane material with non-woven integrally reinforced cloth.

d.	StoGuard Tape: self adhering rubberized asphalt tape with polyester fabric facing.

- Primers

- a.	StoGuard Primer: rubber resin emulsion primer for use with StoGuard Tape to enhance adhesion and allow installation down to 35 degrees F (1.7 degrees C).

C.	Auxiliary Materials (by others)

1.   	Wet sealant: Dow Corning 790, 791, and 795 sealants

2.   	Pre-cured sealant tape: Dow 123

3.   	Spray adhesive: 3M Super 77 Spray Adhesive

4.   	Spray foam: Dow Great Stuff for Gaps and Cracks

D.	Patching and Leveling Material for Concrete and Masonry

1.   Sto Leveler: polymer modified cementitious patch and  leveling material for prepared

concrete and masonry surfaces up to 3/8 inch (10 mm).

2.   Sto ExtraSeal: polymer modified cementitious patch and leveling material for prepared

concrete and masonry surfaces up to 1/8 inch (3 mm).

E.	CI Adhesive (select one)

1.   Sto TurboStick: single component polyurethane spray foam adhesive

2.   Sto ExtraSeal: single component polymer modified portland cement-based adhesive

F.	Continuous Insulation (CI)

1.   Sto Insul-X: Type IV extruded polystyrene (XPS) rigid insulation board scored longitudinally

at 16 and 24 inches (406 and 610 mm) on center.

2.2	PERFORMANCE REQUIREMENTS

A.	Air Barrier

1.   Durability, resistance to aging, water and water penetration resistance, structural loading:

joint treatment and primary air barrier material, comply with ICC ES AC 212

2.   Flexibility: ASTM D 522, primary air barrier material, no cracking or delamination before

and after aging using 1/8 inch (3 mm) mandrel at 14º F (10º C)

3.   Nail sealability: ASTM D 1970, 7.9.1, primary air barrier passes

4.   Material air leakage: ASTM D 2178, primary air barrier and joint treatment < 0.004 cfm/ft2

at 1.57 psf (0.02 L/s·m2 at 75 Pa)

5.   Resistance to mold: ASTM D 3273, no mold growth after 28 day exposure

6.   Adhesion: joint treatment and primary air barrier material, ASTM C 297 or D 4541,  > 30

psi (207 kPa), or exceeds strength of glass mat facing on glass mat gypsum substrates

7.  Surface burning: ASTM E 84, joint treatment and primary air barrier material flame spread <

25, smoke developed < 450, Class A building material

8.   Water vapor permeance: ASTM E 96 Method B, > 10 perms (575 ng/Pa∙s∙m2)

(Note: if a vapor impermeable air barrier is desired refer to information on Sto VaporSeal)

9.   Fire resistance: ASTM E 119, capable of maintaining an 1 hour fire-resistance rating with

Maximum 3 inch (76 mm) Sto Insul-X and minimum ¾ inch (22 mm) ASTM C 926

compliant stucco in a non-load bearing assembly (refer to Sto for assembly details).

10.  Fire propagation: NFPA 285, meets requirements for use on all Types of construction

without height restriction.  Meets requirements for use on all Types of construction with maximum 3 inch (76 mm) Sto Insul-X and multiple claddings without height restriction (refer to Sto for assembly details).

11.  Reistance to Radiant Heat Ignition: NFPA 268, meets requirements for use on all Types

of construction without height or set back limitations.

12.  Assembly air leakage: ASTM E 2357, < 0.04 cfm/ft2 (0.2 L/s·m2) air leakage after

conditioning protocol

13.  Field adhesion testing: ASTM D 4541, > 30 psi (207 kPA) or exceeds strength of glass

mat facing on glass mat gypsum substrates

14.  Building envelope air leakage: ASTM E 779 or 1827, < 0.4 cfm/ft2 (2 L/s·m2)

15.  Volatile Organic Compounds: SCAQMD Rule 1113, joint treatment and primary air barrier

material < 100 g/L

16.  Water-resistive barrier: ICC ES 212, joint treatment and primary air barrier comply and are

listed in a valid ICC ESR.

B.	Continuous Insulation

1.   Complies with ASTM C 578 for Type IV insulation.

2.   Surface burning: ASTM E 84, flame spread < 25, smoke developed < 450, Class A building

Material

3.   Listed in a valid ICC ESR with recognition for use on all construction Types without height

restriction when tested in accordance with IBC Sections 2603.5.1, 2603.5.5, and 2603.5.7.

  - DESIGN CRITERIA

- Structural (Wind and Axial Loads)

- Design for maximum allowable deflection normal to the plane of the wall of L/240.  Where cladding dictates stiffer deflection criteria use cladding design criteria for maximum allowable deflection.

- Design for wind load in conformance with code requirements.

- Moisture Control

    - Prevent the accumulation of water in the wall assembly and behind the exterior wall cladding:

      - Minimize condensation within the assembly.

      - Drain water directly to the exterior where it is likely to penetrate components in the wall assembly (windows and doors, for example).

      - Provide corrosion resistant flashing to direct water to the exterior in accordance with code requirements, including:  above window and door heads, beneath window and door sills, at roof/wall intersections, floor lines, decks, intersections of lower walls with higher walls, and at the base of the wall.

        - Air Barrier Continuity: provide continuous air barrier assembly of compatible air barrier components.

D.	Substrates

1.	Concrete Masonry Units: provide normal weight units with flush joints (struck flush with the surface) and allow for a minimum of 2 coats of the primary air barrier material, or a cementitious parge coat to fill and level irregular surfaces and 1 coat of the primary air barrier material, prior to the air barrier application, such that a void and pinhole free air barrier surface is achieved.

2.	Sheathing: comply with code requirements for attachment in relation to design wind

pressures and manufacturers requirements.

E.	Fire Protection

1.   	Provide 15 minute thermal barrier, typically minimum ½ inch thick interior gypsum wall board,  to separate foam plastic insulation from interior.

2.	For noncombustible Type construction: provide wall assembly that has been tested or evaluated for compliance with NFPA 285 and NFPA 268 acceptance criteria.  Limit foam plastic insulation thickness to that tested or evaluated per NFPA 285.  Provide minimum 4 pcf semi-rigid mineral wool fire stops at floor lines where metal framing runs continuously past floor line.

3.	For construction that requires an hourly fire resistance rating: provide wall assembly that has been tested or evaluated for required rating in conformance with ASTM E 119.

F.   	Mechanical Ventilation: maintain pressurization and indoor humidity levels in accordance with recommendations of ASHRAE (see 2005 ASHRAE Handbook—Fundamentals).

PART 3  EXECUTION

  - EXAMINATION

- Inspect concrete and concrete masonry surfaces for:

1.	Contamination — algae, dirt, dust, efflorescence, form oil, fungus, grease, mildew or other foreign substances.

2.	Surface deficiencies – weak, friable, chalkiness, laitance, bugholes, and spalls.

3.	Cracks — measure crack width and record location of cracks.

4.	Damage or deterioration.

- 5.	Moisture content and moisture damage — use a moisture meter to determine if the surface is dry enough to receive the waterproof air barrier and record any areas of moisture damage or excess moisture.

- 6.	Flush masonry mortar joints completely filled with mortar.

- B.	Inspect sheathing application for compliance with applicable requirement:

1.	Exterior Grade and Exposure I wood based sheathing: E30U-2007, Engineered Wood Construction Guide, and the requirements of the applicable building code.

2.	Glass mat faced gypsum sheathing in compliance with ASTM C 1177: consult manufacturer’s published recommendations and ICC ES Report.  Conform with

project requirements for wind load resistance.

3.	Cementitious sheathing — Consult manufacturer’s published recommendations and ICC ES Report.  Conform with project requirements for wind load resistance.

- C.	Report deviations from the requirements of project specifications or other conditions that might adversely affect the waterproof air barrier installation.  Do not start work until deviations are corrected.

  - SURFACE PREPARATION

- Concrete Masonry

1.	Remove surface contamination and weak surface conditions.  Use chemical cleaners such as TSP (trisodium phosphate) detergent to remove oil and grease and rinse with potable water.  Use chemical cleaners to remove efflorescence or other surface contamination in accordance with manufacturer’s written instructions.    Use mechanical methods such as waterblasting, sandblasting, and wire brushing to remove weak surface conditions.

2.	Repair cracks up to 1/8 inch (3 mm) wide by raking with a sharp tool to remove loose, friable material and blow clean with oil-free compressed air.  Apply joint treatment material over crack, embed reinforcement (where applicable), and smooth joint treatment material with a trowel, drywall or putty knife to cover the reinforcement.

3.	Remove projecting fins, ridges, and mortar by mechanical means.  Remove excess mortar from masonry ties, lintels and shelf angles.

4.	Fill honeycombs, aggregate pockets, holes and other voids with patching material.

- Sheathing

1.	Remove and replace damaged sheathing.

2.	Should gaps in sheathing exceed ⅛ inch (3 mm) up to ¼ inch (6 mm) wide, apply Sto TurboStick into joints and rasp or shave flush with sheathing surface in preparation for installation of StoGuard.

3.  	Spot surface defects such as over-driven fasteners, knot holes, or other voids in

sheathing with knife grade joint treatment material.

4.	Spot fasteners with knife grade or coating joint treatment material.

3.3    	AIR BARRIER INSTALLATION

- Coordinate work with other trades to ensure air barrier continuity with connections at foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, masonry anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line.

B.	Rough opening protection (select one):

1.	Install transition membrane into and around rough opening.  Refer to Sto details

20.03a-e and applicable Sto product bulletins.

C.	Sheathing joints

1.	Install joint treatment material with applicable reinforcement over sheathing joints.  Refer to Sto detail 20.00a and applicable Sto product bulletins.

D.	Transitions

1.	Install air barrier accessory materials (with reinforcement where applicable), or auxiliary material at transition areas: foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, masonry anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line.  Refer to Sto Tech Hotline No. 0211-BSc and applicable Sto product bulletins.

E.	Waterproof air barrier membrane

- 1.	Concrete – install one coat of Sto EmeraldCoat by spray or roller in a uniform, continuous film of 10 wet mils to the prepared concrete substrate.  Do not install over working or moving joint sealants.

- 2.	Concrete Masonry -  install one liberal coat of Sto EmeraldCoat by spray or roller in a uniform, continuous film to the prepared concrete masonry substrate.  Backroll spray applications.  Allow to dry.  Install a second liberal coat in a uniform, continuous film, and backroll spray applications, to achieve a void and pinhole free surface.  Depending on the condition of the surface a minimum of 10 wet mils up to a maximum of 30 wet mils per coat is required.  Apply additional coats if needed to achieve a void and pinhole free surface.  Do not install over working or moving joint sealants.

- Important Note: The number of coats and thickness is highly dependent on CMU composition, unit weight (lightweight or normal weight), porosity, joint profile, and other variables that may exist.  For “rough” CMU wall surfaces skim coat the entire wall surface with the leveling material to fill and level the surface prior to applying the waterproof air barrier membrane and transition materials.  When a skim coat of the leveling material is installed only one coat of the waterproof air barrier membrane is typically required.  Use the mock-up and site tests as the basis for the work.

- 3.	Sheathing

- a.	Spot fasteners with knife grade coating or joint treatment material.

- i.	Glass mat faced gypsum sheathing: install one coat of Sto EmeraldCoat by spray or roller in a uniform, continuous film of 10 wet mils to the prepared glass mat gypsum substrate to achieve a void and pinhole free surface.  Do not install over working or moving joint sealants.

- ii.	Plywood sheathing: install one coat of Sto EmeraldCoat by spray or roller in a uniform, continuous film of 10 wet mils to the prepared substrate to achieve a void and pinhole free surface.  Do not install over working or moving joint sealants.

- iii.	OSB sheathing: install one coat of Sto EmeraldCoat by spray or roller in a uniform, continuous film of 10 wet mils to the prepared substrate to achieve a void and pinhole free surface.  Inspect surface and touch-up with a second coat at raised wood strands.  Do not install over working or moving joint sealants.

- 3.4	CI INSTALLATION (select one method)

IMPORTANT: Adhesive or mechanical attachment of Sto Insul-X is temporary attachment intended to

hold the insulation board in place prior to permanent attachment with cladding fasteners or clips.

Maximum recommend board size for adhesive attachment is 2 x 8 ft (0.6 x 2.4 m).

A.	General rules for installation of CI

1.	Cut boards at 16 or 24 inch (406 or 610 mm) score lines as needed to accommodate spacing of clips, ties, or furring in wall assembly.

- 2.	Install boards in a running bond pattern with vertical joints offset.  Stagger joints minimum 6 inches (152 mm) from sheathing joints.  Cut insulation in an

- “L” shape around openings in the wall to avoid alignment of joints with corners.  Tightly abut insulation board joints and interlock boards at inside and outside corners.

- 3.	Trim or rasp boards for flush, square corners.

4.	Where brick ties or other elements penetrate the insulation pre-fit and cut the insulation, or install in a manner to avoid breakage and gaps in the insulation.

- Seal gaps and open joints in insulation with StoTurboStick spray foam.  After adhesive sets, rasp or shave expanded foam flush with the surface if necessary for cladding

attachment.  Do not install CI over working or moving joints or joint sealants.

B.	Adhesive attachment methods with Sto ExtraSeal

1.	Notched Trowel Method (where drainage behind the insulation board is required):

Apply a uniform coat of Sto ExtraSeal at approximately 3/8 inch (9 mm) thick by spray or trowel to the wall surface.  Form vertical ribbons of adhesive with a ½ x ½ x 2 inch (13 x 13 x 51 mm) “U”- notched trowel.  Alternatively, apply adhesive uniformly to the back of the insulation board and form vertical ribbons of adhesive with the notched trowel.

2.	Dab Method: apply dabs of adhesive to the back of insulation boards with a minimum 4 inch (102 mm) drywall knife or trowel in 2 rows of minimum 7 dabs per row.  Space adhesive dabs evenly across the length of the board at no more than 16 inches (406 mm) on center.  Space dabs in rows of no more than 16 inches (406 mm) on center and no more than 3 inches (76 mm) from board ends and edges.

3.	Immediately place insulation boards against the wall surface before adhesive “skins”.  If adhesive “skins” remove and apply fresh material.  Install insulation with firm, even pressure applied along the full dimension of the boards in courses starting from the base of the wall in a running bond pattern.

C.	Adhesive attachment method with Sto TurboStick (where drainage behind the insulation board is required)

1.	Apply uninformly spaced vertical ribbons of adhesive at no more than 7 inches (178 mm) on center and spaced approximately ¾ inch (19 mm) from board ends and ½ inch (13 mm) from board edges.

2.	Immediately install boards with LIGHT even pressure across the face of the boards.

3.	Several minutes after the boards are placed it may be necessary to re-apply light even pressure with a straight edge to maintain the plane of the insulation boards, as the adhesive expands slightly while curing.

D.	Mechanical attachment method

1.	Attach insulation boards to open framing with corrosion resistant metal screws and 1-1/4 inch metal lath locks or other corrosion resistant cap fastener.  Use only enough fasteners (typically 3 per board mid-span) to temporarily hold the board in place, as cladding attachment is intended to permanently hold it in place.  If cladding installation is delayed, use additional fasteners to attach CI.

- 3.5	CAVITY WALL COMPONENT INSTALLATION (add or delete depending on wall assembly design)

- Note: cavity wall component is intended for use with claddings that do NOT have a discrete cavity such as portland cement stucco, adhered masonry veneer, and siding.  For claddings or veneers that incorporate a cavity such as brick veneer, siding installed over furring, and some metal panels, the cavity wall component may not be applicable.

- A.	Install cavity wall component over continuous insulation

- 1.	Place drainage mat against the wall surface and unroll horizontally with the fabric facing out, starting from the bottom of the wall at base flashing or weep screed and working up.

- 2.	Use foam taks to temporarily hold the mat in place.  Do not fasten through flashing.

- 3.	Shingle lap fabric at horizontal courses.  Shingle lap drainage mat over flashing at floor lines, decks, roof lines, window heads, and other areas where flashing is required, to direct water to the exterior.

- 4.	Butt ends of rolls and vertical seams.  Trim around windows, doors, vents, or other penetrations through the wall.  Do not install behind window nail flanges.

- 5.	Immediately follow installation of drainage mat with cladding installation

- 3.6	FIELD QUALITY CONTROL

- A.	Owner’s qualified testing agency or building envelope consultant shall perform inspections and tests.

- B.	Inspections: air barrier and CI materials are subject to inspection to verify compliance with requirements.

- 1.	Condition of substrates and substrate preparation.

2.	Installation of primary air barrier material, accessory materials, and compatible auxiliary materials over structurally sound substrates and in conformance with architectural design details, contractor’s shop drawings, project mock-up, and manufacturer’s written installation instructions.

- 3.	Air barrier continuity and connections without gaps and holes at foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, masonry anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line.

- 4.	CI continuity and sealing without gaps or cracks at joints and penetrations.

- Tests: air barrier materials and assembly are subject to tests to verify compliance with

- performance requirements:

- 1.	Qualitative air leakage test: ASTM E 1186

- 2.	Quantitative air leakage test: ASTM E 779, E 783, and E 1827

- 3.	Adhesion test: ASTM D 4541

- 4.	Qualitative adhesion and compatibility testing: wet sealant manufacturer’s field quality control adhesion test

- Repair non-conforming substrates, air barrier and CI material installation to conform with project requirements.

- Take corrective action to repair and replace, reinstall, seal openings, gaps, or other

- sources of air leakage to conform with project performance requirements.

- 3.5	PROTECTION AND CLEANING

- A.	Protect air barrier materials, CI, CI adhesives, and drainage mat from damage during construction caused by wind, rain, freezing, continuous high humidity, or prolonged exposure to sun light.

- B.	Protect air barrier materials, CI, CI adhesives, and caivity wall component from damage from trades, vandals, and water infiltration during construction.

- C.	Repair damaged materials to meet project specification requirements.

- D.	Clean spills, stains, soiling from finishes or other construction materials that will be exposed

- in the completed work with compatible cleaners.

- E.	Remove all masking materials after work is completed.

END OF SECTION 07 27 26

Copyright 2012 Sto Corp.  All Rights Reserved.

A copyright license to reproduce this specification is granted to specifying architects and engineers.

ATTENTION

Sto products are intended for use by qualified professional contractors, not consumers, as a component of a larger construction assembly as specified by a qualified design professional, general contractor or builder.  They should be installed in accordance with those specifications and Sto’s instructions.  Sto Corp. disclaims all, and assumes no, liability for on-site inspections, for its products applied improperly, or by unqualified persons or entities, or as part of an improperly designed or constructed building, for the nonperformance of adjacent building components or assemblies, or for other construction activities beyond Sto’s control.  Improper use of Sto products or use as part of an improperly designed or constructed larger assembly or building may result in serious damage to Sto products, and to the structure of the building or its components.  STO CORP. DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED EXCEPT FOR EXPLICIT LIMITED WRITTEN WARRANTIES ISSUED TO AND ACCEPTED BY BUILDING OWNERS IN ACCORDANCE WITH STO’S WARRANTY PROGRAMS WHICH ARE SUBJECT TO CHANGE FROM TIME TO TIME.  For the fullest, most current information on proper application, clean-up, mixing and other specifications and warranties, cautions and disclaimers, please refer to the Sto Corp. website, www.stocorp.com.