Project Name:  

Project Number: 
Section 32 32 00
Specification for Geogrid Used as Soil Reinforcement in 

Mechanically Stabilized Earth Retaining Structures

1.
GENERAL

1.1
SECTION INCLUDES

A.
Geogrid to provide reinforcement for mechanically stabilized earth retaining structures.  The primary function of the geosynthetic is earth reinforcement.

1.2
RELATED SECTIONS

A.
Section 02 50 00 - Site Remediation

B.
Section 01 89 13 - Site Preparation Performance Requirements
C.
Section 31 00 00 - Earthwork

1.3
UNIT PRICES

A.
Method of Measurement: By the square yard (or square meter - as indicated in contract documents) including seams, overlaps, and wastage.

B.
Basis of Payment: By the square yard (or square meter - as indicated in contract documents) installed.

1.4
REFERENCES

A. AASHTO Standards:
1. T88 - Particle Size Analysis of Soils

2. T90 - Determining the Plastic Limit and Plasticity Index of Soils

3. T99 - The Moisture-Density Relations of Soils Using a 5.5lb (2.5 kg) Rammer and a 12in (305 mm) Drop

4. Standard Specifications for Highway Bridges
5. R69-15 – Determination of Long Term Strength for Geosynthetic Reinforcement
B. American Society for Testing and Materials (ASTM):

1. D123 - Standard Terminology Relating to Textiles

2. D276 - Test Method for Identification of Fibers in Textiles

3. D4354 - Practice for Sampling of Geosynthetics for Testing

4. D4355 - Test Method for Deterioration of Geotextiles from Exposure to Ultraviolet Light and Water (Xenon-Arc Type Apparatus)

5. D4439 - Terminology for Geotextiles

6. D4595 - Test Method for Tensile Properties of Geotextiles by the Wide-Width Strip Method

7. D4759 - Practice for Determining the Specification Conformance of Geosynthetics

8. D4873 - Guide for Identification, Storage, and Handling of Geotextiles

9. D5262 - Test Method for Evaluating the Unconfined Tension Creep Behavior of Geosynthetics

10. D5321 - Test Method for Determining the Coefficient of Soil and Geosynthetic or Geosynthetic and Geosynthetic Friction by the Direct Shear Method

11. D6637 - Standard Test Method for Determining the Tensile Properties of Geogrids by the Single Rib or Multi-Rib Tensile Method
12. D6706 – Standard Test Method for Measuring Geosynthetic Pullout in Soil 
C. National Concrete Masonry Association (NCMA) - Design Manual for Segmental Retaining Walls, Third Edition, 2012.

D. Geosynthetic Research Institute:
1. GRI-GT7 - Determination of the Long-Term Design Strength of Geotextiles

2. GRI-GG4 (b) - Determination of the Long-Term Design Strength of Flexible Geogrids

3. GRI-GG7 - Carboxyl End Group Content of PET Yarns

4. GRI-GG8 - Determination of the Number Average Molecular Weight of PET Yarns Based on a Relative Viscosity Value

E. Federal Highway Administration (FHWA):

1. FHWA NHI 10-024 & 10-025 - Mechanically Stabilized Earth Walls and Reinforced Soil Slopes (Volumes I & II)
2. FHWA NHI-09-087- Corrosion/Degradation of Soil Reinforcements for Mechanically Stabilized Earth Walls and Reinforced Soil Slopes

F. Geosynthetic Accreditation Institute (GAI) - Laboratory Accreditation Program (LAP).

G. National Transportation Product Evaluation Program (NTPEP)

H. International Standards Organization (ISO) – 9001:2015
1.5
DEFINITIONS

A. Minimum Average Roll Value (MARV): Property value calculated as typical minus two standard deviations. 

1.6
SUBMITTALS

A. Submit the following:
1. Certification:   The contractor shall provide to the Engineer a certificate stating the name of the manufacturer, product name, style number, chemical composition of the filaments or yarns and other pertinent information to fully describe the geosynthetic.  The Certification shall state that the furnished geosynthetic meets MARV requirements of the specification as evaluated under the Manufacturer's quality control program.  The Certification shall be attested to by a person having legal authority to bind the Manufacturer.
2. Quality Standards:  The contractor shall provide to the Engineer the manufacturer’s Quality Control Plan along with their current, GAI-LAP, and ISO 9001:2015 certificates.

1.7
QUALITY ASSURANCE

A. Manufacturer Qualifications: 
1. The geotextile manufacturer shall have all of the following credentials:
a. Geosynthetic Accreditation Institute (GAI) - Laboratory Accreditation Program (LAP)
b. ISO 9001:2015 Quality Management System

B.
The geotextile manufacturer shall have a GAI-LAP accredited laboratory at the location of production capable of performing the ASTM tests as outlined in the specification.

1.8
DELIVERY, STORAGE, AND HANDLING

A.
Geosynthetic labeling, shipment, and storage shall follow ASTM D4873.  Product labels shall clearly show the manufacturer or supplier name, style name, and roll number.  

B.
Each geosynthetic roll shall be wrapped with a material that will protect the geosynthetic from damage due to shipment, water, sunlight, and contaminants.

C.
During storage, geosynthetic rolls shall be elevated off the ground and adequately covered to protect them from the following: site construction damage, precipitation, extended ultraviolet radiation including sunlight, chemicals that are strong acids or strong bases, flames including welding sparks, excess temperatures, and any other environmental conditions that may damage the physical property values of the geosynthetic.

2.
PRODUCTS

2.1
MANUFACTURERS

A.
TenCate Geosynthetics Americas, a Solmax Company
365 South Holland Drive

Pendergrass, GA, USA 30567

1-800-685-9990
1-706-693-2226

1-706-693-2083, fax

www.mirafi.com

2.2
MATERIALS

A.
Reinforcement Geogrids:

1. All geogrid material shall have a valid NTPEP REGEO evaluation report. 

2. The geogrid shall be manufactured with fibers consisting of long-chain synthetic polymers composed of at least 95 percent by weight of polyolefins or polyesters.  They shall form a stable network such that the filaments or yarns retain their dimensional stability relative to each other, including selvages.  

3. The geogrid shall be sufficiently labeled for easy identification in the field, this includes labels on the rolls and in the core indicating original manufacturer, style name, roll size, and tracking roll number.  The material must also be labeled on the material itself for easy identification once the roll has been unwrapped and unrolled.  

4. The geogrid shall meet the requirements of Table 1.  All numeric values in Table 1 represent MARV in the principal reinforcement direction. 
TABLE 1 - REINFORCEMENT GEOGRIDS
	Property1
	Units
	S1
	P1
	P2
	P3
	P4
	P5
	P6
	P7
	P8

	Tult2
	lbs/ft
	2300
	3650
	4700
	6300
	7600
	10200
	16000
	21000
	28000

	LTDS3,4
(Sand)
	lbs/ft
	1323
	2099
	2703
	3623
	4371
	5866
	9202
	12077
	16103

	LTDS3,4
(Sandy Gravel)
	lbs/ft
	1263
	2004
	2580
	3458
	4172
	5599
	8783
	11528
	15371

	LTDS3,4
(Gravel)
	lbs/ft
	1111
	1763
	2271
	3043
	3671
	4928
	7729
	10145
	13527


1 Values listed for Type S1 is for machine and cross-machine directions.  Values listed for Types P1, P2, P3, P4, P5, P6, P7, P8 are machine direction only.


2 TULT shall be the minimum average roll value (MARV) ultimate tensile strength as tested per ASTM D6637, Method B.  Testing by ASTM D6637, Method A (single rib) is not allowed in the determination of wide width tensile strength or LTDS.
     3 Tal or LTDS, are determined per AASHTO, FHWA, GRI, and NCMA guidelines where LTDS = TULT/(RFCRxRFIDxRFD). RFCR = 1.44; RFD = 1.15; RFID = 1.05 (Sand); RFID = 1.10 (Sandy Gravel); RFID = 1.25 (Gravel).
     4  Reduction factor for installation damage based on 8-inch lift thickness with a 10,000 lb compactor. 
5. Approved geosynthetics are as follows:  

Type S1:
Miragrid 2XT

Type P1:
Miragrid 3XT



Type P2:
Miragrid 5XT



Type P3:
Miragrid 7XT



Type P4:
Miragrid 8XT



Type P5:
Miragrid 10XT


Type P6:
Miragrid 20XT

Type P7:
Miragrid 22XT
Type P8:
Miragrid 24XT
6. Long-Term Design Strength (LTDS) and Allowable Tensile Strength (Ta) are determined per AASHTO, FHWA, GRI, and NCMA guidelines where;

 


LTDS  =   [image: image1.wmf]
[image: image2.wmf](

)

(

)

(

)

D

ID

CR

ULT

RF

RF

RF

T

[image: image3.wmf]
a.
TULT, Ultimate Tensile Strength, shall be the minimum average roll value (MARV) ultimate tensile strength as tested per ASTM D6637.

b.
RFCR, Reduction Factor for Creep Deformation, is the ratio of TULT to creep limited strength determined in accordance with ASTM D5262 and D6992.  The results shall be extrapolated for a 75 year design life using elevated temperature and/or stress rupture testing per NTPEP REGEO.  A minimum RFCR shall be as follows:

          Polymer Type

             RFCR




Polyester


1.44


High Density Polyethylene
2.6



Polypropylene


4.0
c.
RFID, Reduction Factor for Installation Damage, shall be determined from construction damage tests for each product or product family proposed for use with project specific, representative or more severe backfill materials and construction techniques.  Testing shall be consistent with AASHTO R69 and use values from the geogrid manufacturers current NTPEP REGEO report.  A default RFID value is not allowed.  

d.
RFD, Reduction Factor for Durability, shall be based on polyester yarn testing per FHWA durability guidelines.  Polyester yarns shall have a Molecular Weight > 25,000 g/m per GRI-GG8 and a carboxyl end group number < 30 per GRI-GG7.  A default RFD value of 3.0 shall be used if polyester yarns do not meet these requirements.  A minimum RFD for any polyester yarn geosynthetics shall be 1.15.

5.
Soil Interaction Coefficient, Ci value shall be determined from short-term effective stress pullout tests per ASTM D6706 over the range of normal stresses encountered.  The maximum pullout force used to determine Ci shall be limited to the lessor of Ta or the force that yields 1.5 inches displacement.  The minimum Ci value shall not be less than 0.7, determined as follows:




Ci =              F                      


                              



                         
2LσN tanφ



where
F   =  Pullout Force (lb/ft), per ASTM D6706






L   =  Geosynthetic Embedment Length in Test (ft)





σN =   Effective Normal Stress (psf)





φ   =  Effective Soil Friction Angle, Degrees

6.
Direct Sliding Coefficient, Cds value shall be determined in accordance with ASTM D5321 over the range of normal stresses encountered. The minimum Cds value shall not be less than 0.7, determined as follows:


Cds =            Rds                      


                              .



                         
L σN tanφ



where
Rds  = Maximum Shear Resistance (lb/ft), per ASTM D5321





L   =   Stationary Length of Geosynthetic (ft)





σN =   Effective Normal Stress (psf)





φ   =  Effective Soil Friction Angle, Degrees

7.
UV Resistance shall be determined in accordance with ASTM D4355.  Geosynthetics shall retain a minimum of 70% of the Ultimate Tensile Strength per ASTM D4595 after UV exposure.


2.3
QUALITY CONTROL

A.
Manufacturing Quality Control: Testing shall be performed at a laboratory accredited by GAI-LAP for tests required for the geosynthetic, at frequency meeting or exceeding ASTM D4354.

B.
Ultraviolet Stability shall be verified by an independent laboratory on the geosynthetic or a geosynthetic of similar construction and yarn type.
3.
EXECUTION

3.1
PREPARATION

A.
Foundation soil shall be excavated to the line and grades as shown on the construction drawings or as directed by the Engineer.  Over-excavated areas shall be filled with compacted backfill material as per project specifications or as directed by the Engineer.  As a minimum, foundation soil shall be proof rolled prior to backfill and geosynthetic placement.

3.2
INSTALLATION

A.
Geogrid shall be laid at the proper elevation and orientation as shown on the construction drawings or as directed by the Engineer.  Correct orientation of the geosynthetic shall be verified by Contractor. 

B.
Geogrid may be temporarily secured in-place with staples, pins, sand bags or backfill as required by fill properties, fill placement procedure or weather condition, or as directed by the Engineer.

C.
Primary geogrid may not be overlapped or connected mechanically to form splices in the primary strength direction.  Single panel lengths are required in the primary strength direction.  No overlapping is required between adjacent rolls unless specified by the Engineer.

D.
Backfill material shall be placed in lifts and compacted as directed under project specifications.  Backfill shall be placed, spread and compacted in such a manner as to minimize the development of wrinkles in and/or movement of the geosynthetic.  A minimum fill thickness of 6 in (150 mm) is 

required prior to the operation of tracked vehicles over the geosynthetic.  Maximum fill thickness should be directed by the Engineer to obtain minimum project compaction requriements.  
E.
Turning of tracked vehicles should be kept to minimum to prevent tracks from displacing the fill and damaging the geosynthetic. Rubber tired equipment may pass over the geosynthetic reinforcement at low speeds, less than 10 mph (16 km/hr).  Sudden braking and sharp turns shall be avoided.  Any geosynthetic damaged during installation shall be replaced by the Contractor at no additional cost to the Owner.

END OF SECTION

© 2023 TenCate Geosynthetics Americas, a Solmax Company
_1400582500.unknown

