THE PRODUCT:  These are elastomeric sealant materials that are installed in joints between building components in a liquid form and cure to a durable, firm rubber achieved through polymer chemistry technology.  Single-component materials are ready-to-use without mixing and are available in many different cure profiles and colors to meet your specific needs.  Quicker curing is provided by single component sealant Dymonic FC, and multi-component sealant Dymeric 240FC  which must be mixed on the job site.  Dymeric 240/240FC multi-component sealants  and Spectrem 4-TS  are offered in 70 standard colors and virtually unlimited custom colors.

The accompanying guide specification has been prepared by Tremco Incorporated according to principles established in the Manual of Practice published by The Construction Specifications Institute.  It is provided to assist design professionals, building owners and others in the preparation of a specification section covering elastomeric joint sealants and related items.  It may be used in conjunction with most commercially available master specification sections with minor editing as the basis for developing a project specification or an office master specification.

This specification guide is provided in two parts as follows:

Cover Page (file 07920cvr.):  Conveys important requirements that should appear in other pertinent Sections of the project Specifications.

Section 07920 (file 07920spc.):  A guide specification that may be used as is or modified as you wish.

Please contact your nearest Tremco Services Representative or Tremco Incorporated at 1-800-852-8173 for additional copies, information on available electronic formats or design assistance.

1.	Provide outstanding adhesion to a wide variety of substrates including concrete, cement block masonry, brick, metals, wood, glass, porcelain, tile and some plastics;

2.	Are highly elastic and maintain an elastic joint seal over a broad service temperature range;

3.	Exhibit excellent abrasion resistance;

4.	Exhibit excellent chemical resistance;

5.	Tremco polyurethanes are paintable.

The many uses of these sealants for exterior and interior locations, in vertical and horizontal surfaces, are highlighted in Article 2.2 of the accompanying guide Section 07920.

COORDINATION:  Section 07920 defines requirements for the elastomeric joint sealants and accessories, but does not define requirements for substrate and adjacent trades.  It is important to define certain substrate requirements in pertinent other sections of your specification as follows:

1.	Section 02500 - Paving and surfacing:

a.	For joints subject to spillage of fuel or jet fuel, contact your nearest Tremco Architectural Services Representative or Tremco Incorporated at 1-800-852-8173 for design assistance in using Vulkem 202 multi-component polyurethane sealant designed for jet-fuel resistance.

2.	Section 03300 - Cast-in-place concrete:

a.	Preformed joint fillers in joints to be sealed should provide a reservoir to accept the sealant such as by a molded breakaway joint cap or a removable block out.

b.	Preformed joint fillers that may contact the sealant should not be impregnated with oil, bitumen, non-curing polymers or similar contaminants.

3.		Section 05580 - Sheet metal fabrications:

a.	Airtight, weathertight seals are effected between laps in sheet metal using Vulkem 116 one-part polyurethane sealants, conveniently packaged for such use.  Please check this Section for their inclusion as a lap sealant, if appropriate.

4.		Section 05800 - Expansion control:

a.	Tremco produces the THC-900/Vulkem 255 Factory Premolded and Vulkem 285 Joint Seals for covering and waterproofing wide expansion joints in parking decks, stadiums, plazas and similar large concrete structures.  These are fully compatible with Tremco polyurethane sealants in the accompanying Section 07920, and with Tremco waterproofing coating systems, to permit single-source manufacturer responsibility in a total system approach.

5.		Section 07240 - Exterior insulation and finish systems (EIFS):

a.	Joints in EIFS are normally designed to preclude carrying the system finish into the joint opening.  Check your project joint details and the specified EIFS manufacturer's joint specific details to coordinate.

b.	Check the EIFS specification section for provision to ensure that the EIFS has cured adequately prior to sealant application.

c.	EIFS manufacturer's normally prefer closed cell backer rods in sealed joints and disallow open cell backer rods.  The accompanying guide Section 07920 attempts to address such compatibility issues of joint incidentals in Paragraph 2.1, B.1.  The Architect should verify such joint incidentals during field review of the "Standard of Acceptance" in Paragraph 1.3, G.

6.		Section 07600 - Flashing and sheet metal:

a.	Vulkem 116 one-part polyurethane sealants are outstanding for use in sheet metal flashing work installed under them in a continuous waterproofing bedding bead and between metal laps in an S-bead.  Please check this Section for their inclusion, if appropriate.

7.		Roofing having pitch pockets:

a.	Vulkem 45 SSL one-part polyurethane sealant is an outstanding pitch pan sealant installed to a maximum 1/2" depth.

8.	Fire-Rated Joint Construction

a.	Dymeric 240/240 FC and are tested for up to a four hour fire rating.  Refer to Section 07840 for any and all firestopping needs.

END OF COVER PAGE(s)

PART 1	GENERAL

Before using this Guide Section, fully read the associated cover page(s) (as file 07920cvr.*) for information about its use and important requirements that must appear in other Sections of the Project Manual.  Carefully review this Guide and delete inapplicable text.

1.1	SUMMARY

A.	Section includes:  Provide elastomeric joint sealants, joint backer materials and accessories needed to ensure a complete and durable weather tight seal at all locations indicated.

B.	Related work:

1.	Documents affecting work of this Section include, but are not necessarily limited to, General Conditions, Supplementary Conditions, and Sections in Division 1 of these Specifications.

1.2	SUBMITTALS

A.	Comply with pertinent provisions of Section 01330.

B.	Product data:

1.	Materials list of items proposed to be provided under this Section;

2.	Manufacturer's specifications and other data needed to prove compliance with the specified requirements;

3.	Shop Drawings or catalog illustrations in sufficient detail to show installation and interface of the work of this Section with the work of adjacent trades;

4.	Manufacturer's current recommended installation procedures which, when reviewed by Architect, will become the basis for accepting or rejecting actual installation procedures used on the Work.

5.	Written documentation of applicator's qualifications, including reference projects of similar scope and complexity, with current phone contacts of architects and owners for verification.

6.	Certification from sealant manufacturers that their products are suitable for the use indicated and comply with specification requirements.

7.	Report from sealant applicator summarizing results of pre-construction field adhesion testing.

1.3	QUALITY ASSURANCE

A.	Use adequate numbers of skilled workmen thoroughly trained and experienced in the necessary crafts and completely familiar with the specified requirements and methods needed for proper performance of the work of this Section.

B.	Applicator qualifications:

1.	Applicator shall have at least three years experience in installing materials of types specified and shall have successfully completed at least three projects of similar scope and complexity.

2.	Applicator shall designate a single individual as project foreman who shall be on site at all times during installation.

C.	Single source responsibility for joint sealants:

1.	Obtain joint sealants from single manufacturer for each different product required to ensure compatibility.

2.	Manufacturer shall instruct applicator in procedures for intersecting sealants.

D.	Perform work in accord with ASTM C-1193 guidelines except where more stringent requirements are indicated or specified.

E.	Pre-construction compatibility and adhesion testing:

1.	Submit to joint sealant manufacturer samples of actual materials that will contact or affect their joint sealants in the Work for compatibility and adhesion testing.

2.	This testing will not be required where sealant manufacturer is able to furnish data acceptable to Architect based on previous testing for adhesion and compatibility to materials matching those of the Work.

F.	Pre-construction field adhesion testing:

1.	In jobsite field samples prior to general installation, conduct field-tests for adhesion of joint sealants to actual joint substrates using proposed joint preparation methods recommended by manufacturer.

2.	Conduct tests for each type of sealant and substrate.

3.	Locate field-test joints where inconspicuous or as approved by Architect.

a.	Include areas typical of those requiring removal of existing sealants and utilize methods proposed for sealant removal that have been pre-approved by Architect.

4.	Test method:  Use manufacturer's standard field adhesion test methods and methods proposed for joint preparation to verify proper priming and joint preparation techniques required to obtain optimum adhesion of joint sealants to joint substrate.

5.	Evaluate and report results of field adhesion testing.

6.	Do not use joint preparation methods or sealants that produce less than satisfactory adhesion to joint substrates during testing.

G.	Standard of acceptance:

1.	Joints installed during pre-construction field adhesion testing that are accepted by Architect shall be retained as standard of acceptability and incorporated into Work of that area during general installation.

2.	At least one such standard of minimum 5 feet in length shall be established for each type of sealant and substrate.

H.	Schedule applications of waterproofing, water repellents and preservative finishes after sealant installation unless sealant manufacturer approves otherwise in writing.  Ensure that installed sealant is allowed to cure sufficiently prior to subsequent applications.

1.4	DELIVERY, STORAGE AND HANDLING

A.	Deliver the materials to the job site in the manufacturer's unopened containers with all labels intact and legible at time of use.

B.	Store materials in accord with manufacturer's recommendations with proper precautions to ensure fitness of material when installed.

C.	Comply with pertinent provisions of Section 01660.

1.5	SUBSTRATE CONDITIONS

A.	General:

1.	Provide joints properly dimensioned to receive the approved sealant system.

2.	Provide joint surfaces that are clean, dry, sound and free of voids, deformations, protrusions and contaminants which may inhibit application or performance of the joint sealant.

3.	Where expansion joints having preformed joint fillers are scheduled to be sealed, provide a reservoir to accept the sealant such as by a molded breakaway joint cap or a removable block out.

1.6	WARRANTY

A.	Deliver to the Architect signed copies of the following written warranties against adhesive and cohesive failure of the sealant and against infiltration of water and air through the sealed joint for a period of 3 years from date of completion.

1.	Manufacturer's standard warranty covering sealant materials;

2.	Applicator's standard warranty covering workmanship.

PART 2	PRODUCTS

2.1	GENERAL

A.	Acceptable manufacturer:  Tremco Incorporated (800) 852-8173.

B.	Compatibility:

1.	Provide joint sealants, joint fillers and accessory joint materials that are compatible with one another and with joint substrates under project conditions.

2.	Install joint sealants, joint fillers and related joint materials that are non-staining to visible joint surfaces and surrounding substrate surfaces.

C.	Provide colors selected by Architect from manufacturer's standard color range.

2.2	ELASTOMERIC SEALANTS

A.	Sealant Type A:

1.	For exterior joints in vertical surfaces and non-traffic horizontal surfaces such as, but not limited to:

a.	Control and expansion joints in cast-in-place concrete.

b.	Joints between architectural precast concrete units.

c.	Control and expansion joints in unit masonry.

d.	Butt joints between metal panels.

e.	Joints between marble and/or granite.

f.	Joints between different materials listed above.

g.	Perimeter joints between materials listed above and frames of doors, windows, storefronts, louvers and similar openings.

h.	Control and expansion joints in ceiling and overhead surfaces.

2.	Provide single-component or multi-component, low-modulus, non-sag sealant; comply with ASTM C920, Type S or M, Grade NS, Class 25.(Class 50 ?), Class 100/50

3.	Acceptable sealants:

a.	Urethanes

1.	Single Component

i.	Vulkem 116

- Dymonic

iii.	Dymonic FC

2.	Multi Component

- Dymeric 240/240FC

- Vulkem 227

b.	Silicones

1.	Single Component

i.	Spectrem 1

ii.	Spectrem 2

- Spectrem 3

2.	Multi Component

i.	Spectrem 4-TS

B.	Sealant Type B:

1.	For interior joints in vertical surfaces and non-traffic horizontal surfaces such as, but not limited to:

a.	Control and expansion joints on exposed interior surfaces of exterior walls.

b.	Perimeter joints on exposed interior surfaces of exterior openings.

c.	Joints on precast beams and planks.

d.	Perimeter joints between interior wall surfaces and frames of interior doors, windows, storefronts, louvers, elevator entrances and similar openings.

e.	Trim or finish joints subject to movement.

3.	Acceptable sealants:

a.	Single Component Urethane

i.	Dymonic

ii.	Dymonic FC

iii.	Vulkem 116

b.	Multi Component Urethane

- Vulkem 227

- Dymeric 240/240FC

c.	Single Component Silicone

i.	Spectrem 1

ii.	Spectrem 2

iii.	Spectrem 3

iv.	Proglaze

v.	Tremsil 600

d.	Other

i.	Tremflex 834

C.	Sealant Type C:

1.	For exterior and interior joints in horizontal and sloped traffic surfaces such as, but not limited to:

a.	Control, expansion and isolation joints in cast-in-place concrete.

b.	Control, expansion and isolation joints in structural precast concrete units.

c.	Joints between architectural precast concrete paving units.

d.	Tile control and expansion joints.

e.	Joints between different materials listed above.

2.	Provide single-component or multi-component polyurethane or silicone sealant having a Shore A hardness of not less than 15 or more than 50 and plus-or-minus 25 percent joint movement capability; comply with ASTM C920, Type S or M, Grade P or NS, Class 25.

3.	Acceptable sealants:

a.	THC-900/901

d.	Vulkem 45/45 SSL

- Vulkem 227

- Spectrem 800

- Spectrem 900

F.	Sealant Type E:

1.	For exterior and interior joints in vertical and horizontal surfaces of potable water storage areas.

2.	Provide single-component or multi-component polyurethane sealant certified by National Sanitation Foundation as conforming to the requirements of NSF Standard 61-Drinking Water System Components-Health Effects; comply with ASTM C920, Type S or M, Grade P or NS, Class 25; select color from the NSF listing.

3.	Acceptable sealants:

a.	Single Component

i.	Vulkem  921

b.	Multi Component

i.	 Vulkem 245

G.	Sealant Type F:

1.	For interior joints in vertical and horizontal surfaces where incidental food contact may occur.

2.	Provide single component or multi-component sealant complying United States Department of Agriculture (USDA) guidelines for incidental food contact with the cured sealant; comply with ASTM C920, Type S or M, Grade P or NS, Class 25; select color from listing of those approved.

3.	Acceptable Sealants:

a.	Urethanes

1.	Vulkem 116

2.	Dymonic

3.	Dymonic FC

b.	Silicones

- Proglaze

- Tremsil 200

2.	Spectrem 1

3.	Tremsil 600

4.	Spectrem 2

5.	Spectrem 3

I.	Sealant Type G:

1.	For exterior joints in horizontal concrete surfaces such as airport runways, refueling aprons, highways and other areas subject to fuel spillage.

2.	Provide multi-component, self-leveling, jet-fuel resistant polyurethane sealant meeting Federal Specification SS-S-200E, Type H.

3.	Acceptable sealant:

a.	Vulkem 202

J.	Sealant Type H:

1.	For exterior vertical joints in Exterior Insulation and Finish Systems.

2.	Provide a single-component or multi-component sealant; comply with ASTM C920, Type S or M, Grade NS, Class 25, comply with EIMA 300.01.

3.	Acceptable products:

a.	Urethanes

1.	Dymeric 240/240FC

2.	Dymonic FC

b.	Silicones

1.	Spectrem 1

- Spectrem 3

- Spectrem 4-TS

K.	Sealant Type I:

1.	For interior or exterior joints in vertical surfaces between laps in fabrications of sheet metal.

2.	Acceptable products:

a.	Tremco Butyl Sealant

b.	Tremco Acoustical Sealant

L.	Sealant Type J:

1.	For exterior vertical joints under metal thresholds and saddles or as bedding sealant for sheet metal flashing and frames of metal or wood.

2.	Acceptable products:

a.	Urethanes

1.	Vulkem 116

2.	Dymonic

3.	Dymonic FC

b.	Silicones

1.	Spectrem 2

2.	Proglaze

3.	Spectrem 3

c.	Other

1.	Tremco Butyl Sealant

- Tremco Acoustical

- Sealant Type K:

1. For Preformed Foam Sealant: Tremco’s standard preformed, pre-compressed, open-cell

foam sealant that is manufactured from high-density urethane foam impregnated with a

nondrying, water-repellent agent; is factory produced in pre-compressed sizes in roll to fit joint widths indicated; is coated on one side with a pressure-sensitive adhesive and

covered with protective wrapping; develops a watertight and airtight seal when compressed to

degree specified by manufacturer; and complies with the following:

a.	Acceptable products:

1.	illmod 600

2.3	ACCESSORIES

A.	Joint cleaner:  Cleaner as recommended by sealant manufacturer for substrates indicated.

B.	Joint primer:  As recommended by sealant manufacturer for substrates, conditions and exposures indicated.

C.	Bond breaker:  Polyethylene tape or other adhesive faced tape as recommended by sealant manufacturer to prevent sealant contact where it would be detrimental to sealant performance.

D.	Joint backer:  Closed cell or soft rod Polyethylene foam rod or other compatible non-waxing, non-extruding, non-staining resilient material in dimension 25 percent to 50 percent wider than joint width as recommended by sealant manufacturer for conditions and exposures indicated.

E.	Masking tape:  Non-staining, non-absorbent tape product compatible with joint sealants and adjacent joint surfaces that is suitable for masking.

2.4	OTHER MATERIALS

A.	Provide other materials, not specifically described but required for a complete and proper installation, as selected by the Contractor and approved by the sealant manufacturer as compatible, subject to review of the Architect.

PART 3	EXECUTION

3.1	SURFACE CONDITIONS

A.	Coordinate as required with other trades to assure proper and adequate provision in the work of those trades for interface with the work of this Section.

B.	Applicator shall examine the areas and conditions under which work of this Section will be performed.

1.	Verify conformance with manufacturer's requirements;

2.	Report unsatisfactory conditions in writing to the Architect;

3.	Do not proceed until unsatisfactory conditions are corrected.

3.2	PREPARATION

A.	Prepare surfaces to receive sealants in accord with sealant manufacturer's instructions and recommendations except where more stringent requirements are indicated.

B.	Thoroughly clean joint surfaces using cleaners approved by sealant manufacturer whether primers are required or not.

1.	Remove all traces of previous sealant and joint backer by mechanical methods, such as by cutting, grinding and wire brushing, in manner not damaging to surrounding surfaces.

2.	Remove paints from joint surfaces except for permanent, protective coatings tested and approved for sealant adhesion and compatibility by sealant manufacturer.

3.	Remove wax, oil, grease, dirt film residues, temporary protective coatings and other residues by wiping with cleaner recommended for that purpose.  Use clean, white, lint-free cloths and change cloths frequently.

4.	Remove dust by blowing clean with oil-free, compressed air.

C.	Provide joint backer material uniformly to depth required by sealant manufacturer for proper joint design using a blunt instrument.

1.	Fit securely by compressing backer material 25 percent to 50 percent so no displacement occurs during tooling.

2.	Avoid stretching or twisting joint backer.

D.	Provide bond-breaker where indicated or recommended by sealant manufacturer, adhering strictly to the manufacturers installation requirements.

E.	Prime joint substrates where required.

1.	Use and apply primer according to sealant manufacturers recommendations.

2.	Confine primers to sealant bond surfaces; do not allow spillage or migration onto adjoining surfaces.

F.	Taping:

1.	Use masking tape where required to prevent sealant or primer contact with adjoining surfaces that would be permanently stained or otherwise damaged by such contact or the cleaning methods required for removal.

2.	Apply tape so as not to shift readily and remove tape immediately after tooling without disturbing joint seal.

3.3	INSTALLATION

A.	Provide the approved sealant system where shown on the Drawings, and in strict accord with the manufacturer's recommendations as approved by the Architect.

B.	Install sealants immediately after joint preparation.

C.	Mix and apply multi-component sealants in accord with manufacturer's printed instructions.

D.	Install sealants to fill joints completely from the back, without voids or entrapped air, using proven techniques, proper nozzles and sufficient force that result in sealants directly contacting and fully wetting joint surfaces.

E.	Install sealants to uniform cross-sectional shapes with depths relative to joint widths that allow optimum sealant movement capability as recommended by sealant manufacturer.

F.	Tool sealants in manner that forces sealant against back of joint, ensures firm, full contact at joint interfaces and leaves a finish that is smooth, uniform and free of ridges, wrinkles, sags, air pockets and embedded impurities.

1.	Dry tooling is preferred;  tooling liquids that are non-staining, non-damaging to adjacent surfaces and approved by sealant manufacturer may be used if necessary when care is taken to ensure that the liquid does not contact joint surfaces before the sealant.

2.	Provide concave tooled joints unless otherwise indicated to provide flush tooling or recessed tooling.

3.	Provide recessed tooled joints where the outer face of substrate is irregular.

G.	Remove sealant from adjacent surfaces in accord with sealant and substrate manufacturer recommendations as work progresses.

H.	Protect joint sealants from contact with contaminating substances and from damages.  Cut out, remove and replace contaminated or damaged  sealants, immediately, so that they are without contamination or damage at time of substantial completion.

END OF SECTION