SECTION 07930

PREFORMED JOINT SEALANTS

PART 1 – GENERAL

SUMMARY

Section Includes

A preformed, pre-compressed polyurethane foam sealant impregnated with an acrylic -based flame resistant and weatherproofing resin.  The product is non-drying, non-shrinking, and self-expanding. The seal material is typically open cell, and supplied in stick or roll form. Some Pre-compressed foam designs have a thin polyethylene film encapsulating the foam tape, and some are impregnated with resin. Provide where indicated on drawings and as specified in this section.

Related Sections and work specified elsewhere

1.   Section 03300—Cast in Place Concrete

2.   Section 03400--- Pre-cast Concrete

3.   Section 03470--- Tilt up Pre-cast Concrete

4.   Section 04200--- Masonry Units

5.   Section 04220--- Clay Masonry Units

6.   Section 04220--- Concrete Masonry Units

7.   Section 07240--- Exterior Insulation and Finishing System (EIFS)

8.   Section 07415---- Metal Wall Panels

9.   Section 08560---- Plastic Windows

10. Section 08550---Wood Windows

PERFORMANCE REQUIREMENTS

| Property | Test Method | Value |
| --- | --- | --- |
| Standard for Pre-compressed Tapes | DIN 18542 Classification | Passes all testing BG1 and BG2 |
| Density | ASTM D-3574 | 5.5 - 6.5 lb/ft 3 (90-110kg/m3) |
| Thermal Conductivity | ASTM C-518 | 0.28 - 0.30 Btu-in/hr-°F-ft2 |
| Thermal Resistance | ASTM C-518 | 3.3 - 3.6 hr-°F-ft2/Btu |
| Ideal Storage Temperature |  | 68 F |
| Tensile Strength | ASTM D-3574 | 21 psi min. |
| Water Resistance | ASTM E-331/547 | 12 psf |
| Elongation | ASTM D-3574 | 120% +/- 20% |
| Compression Set | ASTM D-3574 | 4.2% max |
| Staining | DIN 18542 | None |
| Bleeding | DIN 18542 | None |
| Shelf Life |  | 2 years |

SUBMITTALS

Product data in the form of manufacturer’s product specifications, installation instructions,

and general recommendations for each type of expansion joint sealant system indicated.

Submit under provisions in section 01300

QUALITY ASSURANCE

Manufacturer’s Qualifications: Firm with not less than 3 years experience in manufacturing of products similar in quality to those required for this project.

Installer’s Qualifications:  Firm with not less than 3 years experience in the installation of products

Similar in complexity to those required for this project

DELIVERY, STORAGE, HANDLING

Deliver joint seals to site in manufacturer’s original unopened containers.  Handle and

protect as necessary to prevent damage or deterioration during shipment, handling and storage.

B)   Store materials in dry, enclosed area protected from the elements (wind, water, snow, and extreme temperatures).

C)   Store materials at 68º F (20º C)

D)   Comply with Section 01600.

PROJECT CONDITIONS

Substrate Conditions: Proceed with work only when substrate construction and preparation work is

complete and in condition to receive contact from product from manufacturer. Weather Conditions:  Do not proceed with installation of foam joint sealant under the following conditions: When ambient substrate temperature conditions are outside the limits permitted by the joint sealant manufacturer.

WARRANTY

Provide manufacturer’s 10 year warranty on performance of physical properties mentioned in product data sheet.  For a valid warranty proper sizing must be followed under the manufacturer’s recommendations.

Contact Tremco Sealant Systems to obtain a copy of terms and conditions.  Warranty information is subject to review on a case-by-case basis pertaining to special applications.  Warranty is applied to material not applications. Special applications shall be reviewed with Tremco engineering and/or a registered design professional or architect/engineer prior to the project construction sequence begins as precautionary measures to ensure best practice. Contact Tremco customer service for specific warranty details at 1-800-321-7906.

PART 2- PRODUCTS

2.1 MANUFACTURERS

Tremco Global Sealants Division inc., 3735 Green Rd., Beechwood, OH 44122

Telephone 1-800-321-7906

1. Website www.Tremcosealants.com

B.  Substitutions: Will be considered in accordance with provisions in of Section 01600.

2.2 MATERIALS

Illmod 600 can be used in primary seal and secondary seal applications. Examples of these applications include:  vertical-plane façade (above grade) applications in window perimeters, other façade penetrations such as doors, store fronts, vents, curtain walls, metal panel joints, log homes, tilt up panels, masonry and brick and pre-cast applications, control joints and expansion joints.

Material to be supplied in roll format.  Rolls shall be used when joint designs are less than

5/8” in width (from substrate to substrate).  Stick form material shall be used when joint design exceeds

5/8”.  Both material designs have a pressure sensitive adhesive on one flank of the joint filling material.

NOTE** SPECIFIER: (Choose one of the following configurations to suit your preference allow the use of either.

Material to be installed recessed from the substrate faces to act as the secondary seal behind the installation of an exterior sealant bead of not more than 1/2” thick using appropriate backing material for support.  Material to be installed at depth sufficient to properly integrate into the building envelope as to form a  proper design and maintain envelope continuity and a proper water drainage plain. Manufacturer to provide a Certificate of Analysis if so desired that material has been tested and meets the values in the information in this 3-part specification.

Pre-compressed Joint Sealant Performance Requirements

Water resistance (driving rain): no penetration of water when compression is less than 35% of original foam thickness (Consult manufacturer for various joint sizes and recommended compression ratios. The maximum compression ratio of Illmod 600® is not more than 18% of the original foam thickness. The movement capability of the tape is 90%, (consult manufacturer for your application and joint size) based upon the manufacturers data and expected width of actual joints under most extreme conditions.

Ultraviolet light resistant DIN 74069 (3 months lab exposure time). Flammability ASTM E-84 (Smoke Development and Flame Spread Characteristics (Consult Tremco for details). Compatibility with conventional construction materials DIN 52423 (No sign of corrosion were observed when Illmod 600® is in contact with zinc, steel, galvanized steel, aluminum and copper; no adverse effects with concrete, aerated concrete, brick, some natural stone, PVC, Plexiglas and wood; for others consult Tremco.

ACCESSORIES

Cleaner for substrates approved by joint sealant manufacturer and substrate manufacturer and or provider of

material supplier who’s sealant is in contact with material provided from Tremco

PART 3- EXECUTION

EXAMINATION

Verification of Conditions: Examine areas and conditions under which work is to be performed and identify conditions detrimental to proper and or timely completion. Do not proceed until unsatisfactory conditions have been corrected.

Refer to manufacturer’s installation guide or contact manufacturer for more information.

PREPARATION

Verify that:  joints are clean, dry, smooth, straight and parallel, and otherwise ready to receive joint seals.

joints are clean and free of dust, dirt, and other residues that would inhibit a proper bond. joint seals are of the correct width to provide the specified compression. joint configurations and joint surfaces shall be as detailed in the drawings in accordance with the contract specifications and in compliance with requirements in the current technical data available from the manufacturer.  All known detrimental conditions shall be reported immediately in writing.  Field measurements of the depth and width of the joint shall be supplied to the manufacturer before the material is ordered.

INSTALLATION

Install joint seals in accordance with the manufacture’s instructions.  If manufacturer’s instructions do not apply to specific application consult a registered architect or a certified design professional.  Consideration of surrounding materials shall be taken into consideration in joint design as well as compatibility and system design.  These details remain the responsibility of the building owner/architect, design professional.  Do not proceed with the installation of material if the joint is other than designed, until written notification of these conditions is submitted to the manufacturer and design professional for the project.  A written acknowledgement with an order to proceed shall be provided from the manufacturer or design professional.  Design considerations on criteria such as joint movement shall be disclosed to manufacturer in order to select a proper size of material. Material shall be installed in strict accordance with the manufacturer’s instructions and advice of the their official representative.  See item A above if manufacturer cannot provide instructions for specialty applications.

Only use material in full pieces freshly unwound off the roll or in stick form.  Use immediately after un-packaging.

Press adhesive side firmly against one side of full length of the joint.  Foam joint sealant will expand to fill joint.

Rate of expansion will depend on temperature

CLEANING

Clean adjacent surfaces and remove unused product and debris from the project site.

Remove all waste materials from the site.  Leave work condition satisfactory to the architect/engineer.

PROTECTION

Protect sealant system during and after curing period from contact with contaminating

substances or from damage resulting from construction operations or other causes so that

they are without deterioration or damage at time of Substantial Completion If, despite

such protection, damage and deterioration occurs, at no additional cost to the Owner, cut

out and remove damaged and deteriorated sealant system immediately and replace with

new system materials and so that installations with repaired areas are indistinguishable

from original work.

END OF SECTION