SECTION 09 58 00

USG GRIDWARE OPEN CELL

PART 1  GENERAL

SECTION INCLUDES

RELATED REQUIREMENTS

The paragraph below is optional text

Section 016116 - Volatile Organic Compound (VOC) Content Restrictions.

The paragraph below is optional text

Section 031000 - Concrete Forming and Accessories:  Placement of special anchors or inserts for suspension system.

The paragraph below is optional text

Section 033000 - Cast-in-Place Concrete:  Placement of special anchors or inserts for suspension system.

The paragraph below is optional text

Section 053100 - Steel Decking:  Placement of special anchors or inserts for suspension system.

The paragraph below is optional text

Section 072100 - Thermal Insulation.

Section 095100 - Acoustical Ceilings - USG:  Metal suspension systems.

REFERENCE STANDARDS

ASCE 7 - Minimum Design Loads and Associated Criteria for Buildings and Other Structures; Most Recent Edition Cited by Referring Code or Reference Standard.

ASTM A580/A580M - Standard Specification for Stainless Steel Wire; 2023.

ASTM A492 - Standard Specification for Stainless Steel Rope Wire; 1995 (Reapproved 2019).

ASTM A641/A641M - Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire; 2019.

ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process; 2023.

ASTM A666 - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar; 2023.

ASTM B209/B209M - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate; 2021a.

ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes; 2021.

ASTM B221M - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes (Metric); 2021.

ASTM C635/C635M - Standard Specification for Manufacture, Performance, and Testing of Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings; 2022.

ASTM C636/C636M - Standard Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels; 2019.

ASTM C665 - Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing; 2023.

ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2023d.

ASTM E580/E580M - Standard Practice for Installation of Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels in Areas Subject to Earthquake Ground Motions; 2022.

ASTM E1264 - Standard Classification for Acoustical Ceiling Products; 2023.

ADMINISTRATIVE REQUIREMENTS

Coordination:  Coordinate work of this section with installation of mechanical and electrical components and with other construction activities affected by work of this section.

Preinstallation Meeting:  Convene one week before starting work of this section.

Sequence work to ensure ceilings are not installed until building is enclosed, dust generating activities have terminated, and overhead work is completed.

SUBMITTALS

See Section 013000 - Administrative Requirements for submittal procedures.

Shop Drawings:  Indicate grid layout and related dimensioning, attachment of specialty ceiling panels to grid, accessory attachments, junctions with other ceiling finishes, and mechanical and electrical items installed in the ceiling.

Product Data:  Provide data on specialty ceiling components and suspension system components.

Samples:  Two full size samples illustrating material and finish of specialty ceiling components.

Samples:  Two samples each, [____] inches ([____] mm) long, of suspension system main runner, cross runner, and perimeter molding.

Test Reports:  Certified test data from an independent test agency verifying that panels meet specified requirements for fire, acoustical, and seismic performance.

Manufacturer's Installation Instructions:  Indicate special procedures and perimeter conditions requiring special attention.

Designer's qualification statement.

Manufacturer's qualification statement.

Installer's qualification statement.

Maintenance Materials:  Furnish the following for Owner's use in maintenance of project.

See Section 016000 - Product Requirements for additional provisions.

Specialty Ceiling System Components:  Provide a quantity equal to 2 percent of total product installed.

QUALITY ASSURANCE

Designer Qualifications for Seismic Design:  Under direct supervision of a Professional Structural Engineer experienced in design of this Work and licensed at the State in which the Project is located.

Manufacturer Qualifications:  Company specializing in manufacturing the products specified in this section with minimum three years documented experience.

Installer Qualifications:  Company specializing in performing the work of this section.

Minimum __________ years documented experience.

Approved by ceiling manufacturer.

MOCK-UP

Provide [____] feet ([____] m) by [____] feet ([____] m) mock-up including ceiling panels, suspension members, trim, and installation accessories.

See Section 014000 - Quality Requirements for additional requirements.

Locate where directed.

Mock-up may remain as part of the work.

DELIVERY, STORAGE, AND HANDLING

Deliver specialty ceiling components to project site in original, unopened packages.

Store in fully enclosed space, flat, level and off the floor.

FIELD CONDITIONS

Do not install specialty ceiling system until wet construction work is complete and permanent heat and air conditioning is installed and operating.

PART 2  PRODUCTS

PERFORMANCE REQUIREMENTS

Design for maximum deflection of 1/360 of span.

Design to support imposed loads of indicated elements without eccentric loading of supports. Where supported elements may induce rotation of ceiling system components, provide stabilizing reinforcement.

The paragraph below is optional text

Seismic Performance:  Ceiling systems designed to withstand the effects of earthquake motions determined according to ASCE 7 for Seismic Design Category D, E, or F and complying with the following:

The paragraph below is optional text

Local authorities having jurisdiction.

The paragraph below is optional text

ICC-ES Evaluation Report No. __________.

Surface Burning Characteristics:  Flame spread index of 25 or less, smoke developed index of 450 or less, when tested in accordance with ASTM E84.

INTEGRATED DESIGN SOLUTIONS CEILING ASSEMBLY DESCRIPTION

Specialty Suspension Systems:

Open-Cell Grid-Only System:  Hot-dipped galvanized steel main and cross tee ceiling system, powder coat finish.

The paragraph below is optional text

Application(s):  Seismic.

Sizes:  2 foot by 2 foot (610 by 610 mm) module, with [24 by 24 inches (610 by 610 mm)] [24 by 48 inches (610 by 1219 mm)] [48 by 48 inches (1219 by 1219 mm)] cells.

Grid Profile: [1-1/2 inch GWDXW (38 mm GWDXW)] [15/16 inch GWDX (24 mm GWDX)] [9/16 inch GWDXT (14 mm GWDXT)] ceiling grid.

Finish:  100 percent, 360 degrees tee coverage.

Color:  [Custom] [Flat Black 205] [Flat White 050] [Silver Satin 002].

Accessories:  Provide manufacturer's standard perimeter trim.

Products:

USG Corporation;  Gridware Open Cell Decorative System: www.usg.com/ceilings/#sle.

Substitutions:  Not permitted.

Moldings and Trim:

Metal Perimeter Trim for "Cloud" Suspension Systems:  Steel; provide fascia splice plates and preformed corner clips for complete trim system.

The paragraph below is optional text

Trim Height:  2 inches (51 mm).

The paragraph below is optional text

Trim Width:  6 inches (152 mm).

The paragraph below is optional text

Finish:  Match panels.

The paragraph below is optional text

Color:  Match panels.

Products:

The paragraph below is optional text

USG Corporation; Compasso Suspension Trim - Standard:  www.usg.com/ceilings/#sle.

The paragraph below is optional text

Substitutions:  Not permitted.

ACCESSORIES

Suspension Wire:  Size and type as required for application, seismic requirements, and ceiling system flatness requirement specified.

Concealed Suspension:

The paragraph below is optional text

Suspension Wire:  Steel, annealed, galvanized finish, 12 gage, 0.0808 (2.05 mm) diameter.

Exposed (To View) Suspension:

The paragraph below is optional text

Suspension Wire:  Steel, annealed, galvanized finish, 12 gage, 0.0808 (2.05 mm) diameter.

The paragraph below is optional text

Suspension Wire:  Stainless steel, 18 gage, 0.0403 (1.02 mm) diameter, complying with ASTM A580/A580M.

The paragraph below is optional text

Suspension Rope:  1/32 inch (0.8 mm) stainless steel rope wire complying with ASTM A492, with [attachment plate] [loop and crimp-end] [turnbuckle] connection.

The paragraph below is optional text

Seismic Clips:  Manufacturer's standard clips designed to provide a rigid connection between suspension grid tees and wall moldings.

The paragraph below is optional text

Compasso Standard clip.

The paragraph below is optional text

GridWare Open-Cell GWM9 Wall Angle.

Touch-Up Paint for Exposed Surfaces:  Type and color to match acoustical units and suspension system grid and trim elements.

The paragraph below is optional text

Touch-Up Paint For Concealed Galvanized Items:  Zinc rich type, as recommended by ceiling system manufacturer.

FABRICATION

The paragraph below is optional text

Shop fabricate ceiling components to the greatest extent possible.

The paragraph below is optional text

Fabricate components to allow access to ceiling plenum as required.

The paragraph below is optional text

Cut integrated ceiling assembly bars to size at perimeter edges and to accommodate penetrating fire suppression, mechanical, and electrical items. Bars/Baffles with integrated lights shall not be field cut.

PART 3  EXECUTION

EXAMINATION

Verify existing conditions before starting work.

Verify that layout of hangers will not interfere with other work.

Verify that field measurements are as indicated on shop drawings.

Do not begin installation until after interior wet work is dry.

Start of installation constitutes acceptance of project conditions.

PREPARATION

Coordinate the location of hangers with other work.

The paragraph below is optional text

Provide hanger clips during steel deck erection.  Provide additional hangers and inserts as required.

Install after major above-ceiling work is complete.

Layout ceiling components in pattern according to reflected ceiling plan and as shown on shop drawings.

INSTALLATION - SUSPENSION SYSTEM

Install suspension system in accordance with ASTM C636/C636M and manufacturer's instructions and as supplemented in this section.

Install hangers and inserts coordinated with overhead work.  Provide additional hangers and supports as required.

Rigidly secure system, including integral mechanical and electrical components, for maximum deflection of 1:360.

Locate system on room axis according to reflected ceiling plan.

Suspension System, Non-Seismic:  Hang suspension system independent of walls, columns, ducts, pipes and conduit.  Where carrying members are spliced, avoid visible displacement of face plane of adjacent members.

The paragraph below is optional text

Seismic Suspension System, Seismic Design Category C:  Hang suspension system independent of walls, columns, ducts, pipes and conduit.  Maintain a 3/8 inch (9 mm) clearance between grid ends and wall.

The paragraph below is optional text

Seismic Suspension System, Seismic Design Categories D, E, F:  Hang suspension system with grid ends attached to the perimeter molding on two adjacent walls; on opposite walls, maintain a 3/4 inch (19 mm) clearance between grid ends and wall.

Where ducts. facility services, or equipment prevent the regular spacing of hangers, reinforce the nearest affected hangers and related carrying channels to span the extra distance.

Do not support components on main runners or cross runners if weight causes total dead load to exceed deflection capability.

Support fixture loads using supplementary hangers located within 6 inches (152 mm) of each corner, or support components independently.

Do not eccentrically load system or induce rotation of runners.

Edge Moldings:  Install at intersection of ceiling and vertical surfaces and penetrations, using components of maximum length, set level. Provide edge moldings at junction with other ceiling finishes. Miter corners. Provide preformed edge closures to match bullnosed cornered partitions.

Use longest practical lengths.

Assemble corners according to manufacturer's instructions corners to backer angles according to manufacturer's instructions.

INSTALLATION - SPECIALTY CEILING UNITS

Install in accordance with manufacturer's instructions.

Fit components in place, free from damaged edges or other defects detrimental to appearance and function.

Cut to fit irregular grid and perimeter moldings.

Shape and finish field-cut edges as recommended by manufacturer to match profile of factory edges and finish.

Fit edge trim neatly against abutting surfaces.

Install specialty units level, in uniform curvilinear plane, and free from twist, warp, and dents.

Hang specialty units from suspension grid by engaging torsion springs into main tees.

Where round obstructions occur, provide preformed closures to match perimeter molding.

Bend hold-down tabs onto each panel to retain panels tight to grid system; comply with fire rating requirements, and where required by manufacturer.

TOLERANCES

Maximum Variation from Indicated Planes:  1/8 inch in 10 feet (3 mm in 3 m).

Maximum Variation from Plumb of Grid Members Caused by Eccentric Loads:  2 degrees.

CLEANING

Clean and touch up minor finish damage.  Remove and replace components that cannot be successfully cleaned and repaired.

Disclaimer:  The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project.  These materials may be printed and/or transferred electronically solely as needed by the user. Because electronic files can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications is the sole responsibility of the Design Professional.