SECTION 03 54 13

USG LEVELROCK ® CEMENTITIOUS UNDERLAYMENT 2500™

PART 1  GENERAL

***Notes to Architect are highlighted in red****

SUMMARY

Description of Work: Work of this sections includes self leveling underlayment for interior finish flooring but is not limited to, the following:

LEVELROCK ® 2500™ Floor Underlayment covering normal project conditions and applications.

Division 3 Section “Concrete Toppings” applied over various substrates.

Division 9 Section sound control, patching, and leveling compounds applied with finish flooring.

REFERENCES

ASTM C472 Compressive Strength

ASTM C33 Sand Aggregate

ASTM D4263 Standard test method for indicating moisture in concrete

ASTM F2419 Standard test method for installation of thick poured Gypsum concrete and preparation of surface to receive resilient flooring

ASTM E492 Impact Insulation Class (IIC)

ASTM E90 Sound Transmission Class (STC)

RELATED WORK SPECIFIED ELSEWHERE

See Section 9 for acceptable flooring materials including vinyl, tile, wood, and laminates.

SUBMITTALS

Product Data: Submit manufacturer’s specifications and installation instructions with project conditions and materials clearly identified or detailed for each required product or system.

Acoustical Data: Submit sound tests according to IBC code criteria ASTM E492 (IIC) and ASTM E90 (STC)

Submit in writing that all sound tests or data provided has been tested according to UL (Underwriters Laboratory) fire resistance design number.

SYSTEM REQUIREMNETS

Performance Requirements:

LEVELROCK ® 2500™ Floor Underlayment

Minimum compressive strength 2,500 psi.

Minimum density 115 pounds per cubic foot.

****Note: The following may be eligible for USGBC LEED Credits (MR 4.1 & 4.2)****

LEVELROCK ® 2500™ Green Floor Underlayment

Minimum compressive strength 2,500 psi.

Minimum density 115 pounds per cubic foot.

Manufactured at Gypsum, OH with recaptured gypsum

Minimum Post Industrial content 85%

****************************************************************************************************

*****Note: The following is for 2003 IBC Acoustical requirements Section 1207******

1207.2 Air-borne sound. Walls, partitions, and floor/ceiling assemblies separating

dwelling units from each other or from public or service areas shall have a sound

transmission class (STC) of not less than 50 (45 if field tested) for air-borne noise when

tested in accordance with ASTM E90.

1207.3 Structure-borne sound. Floor/ceiling assemblies between dwelling units or

between a dwelling unit and a public or service area within the structure shall have an

impact insulation class (IIC) rating of not less than 50 (45 if field tested) when tested in

accordance with ASTM E492.

Sound Control

Minimum Impact Insulation Class, 50 IIC (45 if field tested)

Minimum Sound Transmission Class, 50 STC (45 if field tested).

*************************************************************************************************

QUALITY ASSURANCE

Performance Standards:

All materials, unless otherwise indicated, shall be manufactured by United States Gypsum Company and shall be installed in accordance with its current printed directions and by a USG LEVELROCK ® Authorized Applicator.

Product compatibility: Manufacturer’s of underlayment and finished flooring system certify in writing that products are compatible.

Underlayment mix shall be tested for a slump using a 2” (i.d.) x 4” cylinder resulting in a patty size of 8 (cid:1)”-9 1/2”.

At least one set of three molded cube samples shall be taken from each day’s pour or every 10,000 square feet which ever is less during the underlayment application. Cube shall be tested in accordance with ASTM C472.

DELIVERY, STORAGE AND HANDLING

All materials shall be delivered in their original unopened packages and stored in an enclosed shelter providing protection from damage and exposure from the elements. Damaged or deteriorated materials shall be removed from the premises.

PROJECT CONDITIONS

Before, during, and after installation of product, building interior shall be enclosed, with adequate ventilation and heat maintained at a temperature above 50(cid:31) F to allow for drying of product.

PART 2  GENERAL

PRODUCTS AND MANUFACTURERS

Manufacturer: USG Corporation

125 S. Franklin Street, Chicago, IL 60606; Telephone (800) 487-4431; www.levelrock.com

MATERIALS

Proprietary products/systems: Poured flooring underlayment and topping products, including the following:

LEVELROCK ® 2500™ Floor Underlayment:

Material: Gypsum Cement.

Minimum Compressive Strength (ASTM C472): 2,500psi. (Avg. 2,500 -3,200) psi (17.24 – 22.06) MPa.

Nominal Average Density: 115 pounds per cubic foot

******Note: The following is for 2003 IBC Acoustical requirements Section 1207*****

Proprietary products/systems: Optional- Sound Control that does not negate the fire rating and can be specified by a UL design. Acoustical performance is dependant on system design and construction. Values shown represent typical improvements. Systems tested in accordance with ASTM E90 (STC) and ASTM 492 (IIC)

LEVELROCK ® SRM-25™ Sound Mat

Additional 8-13 IIC points

Additional 4-7 STC points

LEVELROCK ® SRB™ Sound Board

Additional 5-8 IIC points

Additional 2-3 STC points

****************************************************************************************************

ACCESSORIES

LEVELROCKTM Brand Primer

Material Standard: Comply with specifications outlined in manufacturer’s Applicator Manual for wood and concrete.

LEVELROCKTM SE-100™ Surface Enhancer

Material Standard: Comply with specifications outlined in manufacturer’s applicator manual.

Mix Water:

Material Standard: Potable, free from impurities and from domestic source.

Sand Aggregate:

Sand shall meet ASTM C33 as well as specifications outlined in manufacturer’s applicator manual.

Fast Track Primer Sealer

Material Standard: Comply with specification outlined by the manufacturer Valspar Flooring Division.

REPAIR

ULTRAFLOW ™ Floor Patch

High polymer-modified blend of engineered cements

PART 3  EXECUTION

EXAMINATION

Site Verification of Conditions:

Wood or Concrete substrate shall be structurally sound, properly fastened, and dry. Contractor shall clean subfloor to remove mud, oil, grease, and other contaminating factors before arrival of the authorized applicator.

Wood substrate:

Limit design of subfloor and framing to a minimum L/360

Wood should be APA rated T&G or back blocked at joints.

Concrete substrate.

Verify concrete has been properly cured for at least 28 days and is dry. Perform moisture test outlined in, ASTM D4263. Proceed with installation only after substrates do not exceed a maximum moisture-vapor-emission rate of 3 lbs. of water/ per  1000 sq. ft. (1.36 kg of water/100 sq. m) in 24 hours prior to underlayment installation.

If concrete contains more than 3 lbs. of water / per 1000 sq. ft. the application of FastTrack Primer is required. Fast Track Primer is an approved concrete sealer manufactured by Valspar Flooring Division.

Do not proceed with installation until unsatisfactory conditions are corrected.

REQUIREMENTS

Leak Prevention:

Fill cracks and voids in subfloor where leakage of slurry could occur using compressed building insulation, a suitable quick-setting patch material or caulk.

Priming subfloor:

Prime substrate according to manufacturer’s recommendations. Instructions and the number of coats will vary depending on application.

Wood substrate: LEVELROCKTM Primer (concentrate, ready mix, or powdered).

Concrete substrate: LEVELROCKTM Concrete Primer

Application:

Installation shall not begin until the building is enclosed, including roof, windows, doors, and any other apertures.

Install in accordance with reference standards and manufacturer’s instructions and as required to comply with seismic requirements.

GENERAL INSTALLATION REQUIREMENTS

Mixing Proportions:

Mix design shall be proportioned to provide an average compressive strength of 2500 psi or greater with a density of 115 pounds per cubic foot.

Underlayment mix shall be tested for slump using a 2 inch (i.d.) x 4 inch cylinder resulting a patty size of 8 (cid:1)” -9 (cid:1)”.

Application:

Pour floor topping to recommended thickness. Immediately spread and screed product to a smooth surface. At substrate expansion, isolation, and other moving joints, allow joint of same width to continue through underlayment.

Wood: Minimum thickness (cid:2)”.

Concrete: Minimum thickness (cid:1)”

***Note: When using a sound mat or board to improve acoustical performance*****

When application requires a sound mat or board, the installation of a perimeter isolation strip is required prior to pouring floor topping. Refer to product literature or Applicator Manual for details.

SRM-25 Sound Mat: Minimum thickness 1”

SRB Sound Board: Minimum thickness (cid:2)”

****************************************************************************************************

Field Quality Control:

Underlayment mix shall be tested for a slump using a 2” (i.d.) x 4” cylinder resulting in a patty size of 8 (cid:1)”-9 (cid:1)”. Slump shall be taken at the beginning of each installation to verify required mix. Slump should be tested periodically there after at a minimum of every 2500 sq. ft. to verify it is being maintained during installation.

*****Note to architect: Additional quality control measures are outlined below******

At least one set of three (3) molded cube samples shall be taken for every 10,000 sq. ft. Cubes shall be tested in accordance with ASTM C472.

As an alternate to (item 2), a sample shall be taken in a Gladware container measuring 4” x 6” x 1(cid:1)”. The depth of the sample must be a minimum of 1”. Testing shall be conducted by USG Southard, OK laboratory using the prescribed test method with the Windsor Pin Gun.

If requested by the architect/owner, field control cubes samples may be tested by independent laboratory. Selection of independent laboratory shall be agreeable to the architect/owner and USG/authorized applicator. Copy of compressive test results shall be made available to USG/authorized applicator

****************************************************************************************************

Protection:

After installation protect floor with plywood for heavy traffic areas and non staining FIBEROCKTM floor protective paper for all other areas.

INSTALLATION OF FINISH FLOOR

General Requirements:

Damaged areas of the underlayment must be repaired prior to applying any sealer or treatment.

Heavily soiled floors need to be cleaned and free from paint, dirt, dust, or foreign matter. The use of oil based sweeping compounds is prohibited.

Apply only LEVELROCK® approved sealers or surface enhancer as recommended by application and by the manufacturer.

Fasteners to be installed in underlayment must be designed for use in concrete or masonry systems.

Follow manufacturer’s recommendations regarding moisture levels and vapor retarders before proceeding with installation of finish floor system.

Floor must be dry prior to installation of finished floor or application of floor coatings. Check dryness by taping an 18” x18” section of plastic and checking for condensation or discoloration after 16 – 24 hours. (ASTM D4263) or use a Protimeter® SM Survey Master following floor underlayment recommendations.

Preventative maintenance, cautions, and procedures.

Resilient Floor Applications:

Follow floor-covering and or adhesive manufacturer’s guidelines for:

Proper application and procedures (ASTM F2419).

Adequate curing or setting time prior to allowing traffic on finished floor.

Proper trowel selections regarding porous-non porous substrates.

Ceramic Tile Applications:

Install ceramic tile, marble, porcelain, granite, natural stone in accordance with TCNA (Tile Council of North America, Inc.) printed recommendations.

Wood Flooring Applications:

Install hardwood, laminated, and engineered wood flooring according to NOFMA (National Wood Flooring Association) or manufacturer’s printed recommendations.

Disclaimer:  The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project.  These materials may be printed and/or transferred electronically solely as needed by the user. Because electronic files can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications is the sole responsibility of the Design Professional.