| # General Specification Notes: | # References in blue are general indicators to the specifier. # References in red relate to fire-rated assemblies and/or code related issues, if not applicable, delete. References in purple are indicators of a discontinued product. |
| --- | --- |

| SECTION 09260 / 09 21 16 Gypsum Board Assemblies USG Drywall |  | Product Specification |
| --- | --- | --- |

GYPSUM BOARD ASSEMBLIES ON METAL FRAMING

PART 1 - 	GENERAL

1.1	SUMMARY

A.	Description of Work:  Work of this section includes, but is not limited to, the following:

1.	Gypsum board and accessories

2.	Veneer plaster

3.	Metal studs and furring

4.	Metal shaftwall systems

5.	Metal suspension systems

6.	Sound-rated construction and accessories

7.	Gypsum board finishing

8.	Trim and accessories

1.2	RELATED WORK SPECIFIED ELSEWHERE

A.	See Section 09310 CERAMIC TILE for tile facing on cement backer board.

B.	See Section 09510 ACOUSTICAL CEILINGS for suspended acoustical ceilings.

C.	See Section 09900 PAINTING AND FINISHING for gypsum board prime and finish coats.

1.3	SUBMITTALS

A.	Product Data:  Submit manufacturer's specifications and installation instructions with project conditions and materials clearly identified or detailed for each required system.

1.4	SYSTEM REQUIREMENTS

A.	Performance Requirements:  Fabricate and install systems as indicated but not less than that required to comply with ASTM C754 under the following conditions:

1.	Gypsum board partitions:

a.	Standard systems:  Maximum deflection of l/240 of partition height.

b.	Systems to receive water resistant gypsum board or backer board:  Maximum deflection of l/360 of partition height.

2.	Cavity shaftwall systems:  Withstand minimum positive and negative pressure of 5 psf.

3.	Interior suspended ceilings and soffits:  Maximum deflection of l/360 of distance between supports.

4.	Exterior soffits:  Withstand minimum positive and negative pressure of 20 psf with maximum deflection of l/360 of distance between supports.

**************** Seismic Compliance *************************

- Nonstructural components that are permanently attached to structures and their support attachments, shall be designed and constructed to resist the effects of earthquake motions in accordance to local jurisdiction.

*****************************************************************************

Tall Walls

Partitions exceeding 30 feet in height are considered tall.  When these taller than normal partition heights are required, consideration must be given to length restrictions for manufacturing and shipping steel studs, scaffolding, stud placement, and deflection.

Use double structural studs back-to-back 24 inches on center.  Attach studs back to back with screws approximately 4 feet on center.

For 5-psf wind load, 20 gauge runner track is recommended. The fasteners should have a capacity of 300 pounds in single shear and bearing.  For 10-psf wind load, 18 gauge runner track attached with fasteners with 400 pound single shear and bearing is recommended.  See USG Gypsum Construction Handbook for additional information.

******************************************************************************

B.	Fire Resistance Ratings:  Where fire resistance classifications are indicated, provide materials and application procedures identical to those listed by UL or tested according to ASTM E119 for type of construction shown.

C.	Acoustical Ratings:  Where sound ratings are indicated, provide materials and application procedures identical to those tested by manufacturer to achieve Sound Transmission Class (STC) scheduled or indicated in accordance with ASTM E90.

1.5	QUALITY ASSURANCE

A.	Reference Standards:

1.	Applicable requirements of ASTM C754 for installation of steel framing.

2.	Install gypsum board in accordance with applicable requirements and recommendations of Gypsum Association GA 216, "Recommended Specifications for the Application and Finishing of Gypsum Board" except for more stringent requirements of manufacturer.

3.	Apply acoustical sealant in accordance with applicable requirements of ASTM C919.

1.6	DELIVERY, STORAGE AND HANDLING

A.	Delivery:

1.	Deliver material to site promptly without undue exposure to weather.

2.	Deliver in manufacturer's unopened containers or bundles, fully identified with name, brand, type and grade.

B.	Storage:

1.	Store above ground in dry, ventilated space.

2.	Protect materials from soiling, rusting and damage.

3.	Store board to be directly applied to masonry walls at 70°F for 24 hours prior to installation.

1.7	PROJECT CONDITIONS

A.	Environmental Requirements:

1.	Do not install gypsum board when ambient temperature is below 40°F.

2.	For adhesive attachment of gypsum board, and for finishing of gypsum board, maintain ambient temperature above 55°F from one week prior to attachment or joint treatment, and until joint treatment is complete and dry.

******************************************************************************

For Retrofits & Healthcare Requirements with Low-Dust Emissions:

SHEETROCK® Brand Plus 3™ ready-mixed lightweight all purpose joint compound with dust control

******************************************************************************

  - Alternate Construction Waste Disposal

A.	Reuse:

1.	Separate clean waste drywall pieces from contaminants for landfilling or recycling. Do not include vinyl-faced, mold-resistant or asphalt impregnated gypsum boards. Pulverize and apply to site soil in accordance to landscape specifications. Protect scrapes and pulverized material from moisture and contamination. Alternate to on-site soil amendment, work to supply local farming granular material for their use.

B.	Recycle:

1.	Separate clean waste drywall pieces from contaminants for landfilling or reuse. Working with local waste hauler and local drywall manufacturer, provide proper storage of waste for pickup and return. Protect scrapes material from moisture and contamination.

PART 2 - 	PRODUCTS

2.1	PRODUCTS AND MANUFACTURERS

A.	Gypsum Board and Accessories:  Listed products establish standard of quality and are manufactured by United States Gypsum Company (USG), Chicago, IL.

B.	Steel Framing and Furring: Company acceptable to installer.

C.	Grid Suspension Assemblies:  Listed products establish standard of quality and are manufactured by United States Gypsum Company (USG), Chicago, IL.

2.2	BOARD MATERIALS

A.	Gypsum Board:

1.	ASTM C1396 (Section 5), regular type [except where Type X fire-resistant type is indicated or required to meet UL assembly types].

2.	Edges:  Tapered.

******************************************************************************

SHEETROCK® brand gypsum panels have long edges tapered on the face side to form a shallow channel for joint reinforcement.

SHEETROCK® brand gypsum panels, SW Edge have an exclusive tapered rounded edge designed to help minimize ridging or beading and other joint imperfections and help compensate for extremes of temperature and humidity during construction.  The SW system produces a stronger joint than with regular gypsum panels. Setting-type joint compound is recommended with this shape edge. Except for the rounded edge, SW Panels are tapered like, and otherwise identical to, regular tapered-edge gypsum panels.

SHEETROCK® brand MOLD TOUGH™ gypsum panels have a noncombustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers.  The panels feature tapered long edges for easy finishing. The 5/8” FIRECODE and 1/2" FIRECODE C Core panels are UL Classified for fire resistance (Type X).

SHEETROCK® brand MOLD TOUGH™ AR gypsum panels were designed and tested to offer greater resistance to surface indentation and impact damage than standard SHEETROCK gypsum panels. These abuse-resistant gypsum panels are a low-cost alternative to other systems for partitions that require greater impact resistance. SHEETROCK MOLD TOUGH AR gypsum panels have a noncombustible, moisture- and mold-resistant core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers. The face paper is folded around the long edges to reinforce and protect the core, and the ends are square cut and finished smooth. Long edges of panels are tapered, allowing joints to be reinforced and concealed with a USG joint treatment system.

FIBEROCK® brand AR and VHI panels are high-density paperless gypsum and cellulose wall panels with long edges tapered to form a shallow channel for joint reinforcement. Setting-type joint compound is required with these panels. 5/8” FIBEROCK Brand Panels can be used in lieu of Type-X panels in all USG fire rated listings.

* Please note that the Fiberock panels belong to ASTM C1278, C1629.

******************************************************************************

3.	Thickness: 1/4 [3/8] [½] [5/8] [3/4] inch, unless otherwise indicated ([½] [5/8] only for FIBEROCK panels).

******************************************************************************

Typical thickness for different applications include:

5/8 inch or 3/4 inch thick for commercial installations

½ inch thick for single-layer application in residential construction

3/8 inch thick applied principally in double wall system over wood framing and in remodeling work.

1/4 inch thick used as base layer for improving sound control in double layer partitions, for use over old wall and ceiling surfaces and for forming curved surfaces with short radii.

******************************************************************************

a.	Where curved gypsum board construction is indicated, use 1/4 inch thick flexible facing board.

4.	Acceptable products:

a.	Typical partitions and ceilings:  Equivalent to SHEETROCK® brand SW, FIRECODE® or FIRECODE® "C" Core gypsum panels by USG.

b.	OR [depends on edge condition option]:  Equivalent to SHEETROCK® brand Regular, FIRECODE® or FIRECODE® "C" Core gypsum panels by USG.

c.	Acceptable product for fire-rated walls:  Equivalent to ULTRACODE® Core, 3/4 inch thick, by USG.

******************************************************************************

SHEETROCK® brand FIRECODE® Core gypsum panels, meet the definition of a Type X gypsum board for fire-rated assemblies in the Gypsum Association Fire Resistance Design Manual. Edges: SW tapered or tapered.

SHEETROCK® brand FIRECODE® C Core gypsum panels, provide improved fire protection over standard FIRECODE panels due to additives that enhance the integrity of the core under fire exposure.  Comply with Type X requirements.

SHEETROCK® brand MOLD TOUGH™ FIRECODE® and FIRECODE® C Core gypsum panels have a noncombustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers.  The panels feature tapered long edges for easy finishing. The 5/8” FIRECODE and 1/2" FIRECODE C Core panels are UL Classified for fire resistance (Type X).

SHEETROCK® brand MOLD TOUGH™ AR FIRECODE® Core gypsum panels were designed and tested to offer greater resistance to surface indentation and impact damage than standard SHEETROCK gypsum panels. These abuse-resistant gypsum panels are a low-cost alternative to other systems for partitions that require greater impact resistance. SHEETROCK MOLD TOUGH AR gypsum panels have a noncombustible, moisture- and mold-resistant core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers. The face paper is folded around the long edges to reinforce and protect the core, and the ends are square cut and finished smooth. Long edges of panels are tapered, allowing joints to be reinforced and concealed with a USG joint treatment system. The 5/8” FIRECODE Core panels are UL Classified for fire resistance (Type X).

SHEETROCK® brand ULTRACODE Core gypsum panels, provide 1, 2, 3 and 4 hour fire ratings with fewer layers of gypsum panels than are usually required when used in approved designs.

SHEETROCK® brand MOLD TOUGH™ ULTRACODE® Core gypsum panels have a non-combustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers.  The panels feature tapered long edges for easy finishing. The 3/4" ULTRACODE Core panel is UL Classified as to fire resistance. One layer of 3/4" ULTRACODE Core panels may be substituted for two layers of 5/8” FIRECODE® Core panels in many UL Listed assemblies. Refer to the UL Fire Resistance Directory for details.

******************************************************************************

d.	Acceptable product for curved walls: 1/4" Flexible Gypsum Panels.

******************************************************************************

SHEETROCK® brand 1/4 inch flexible gypsum panels bend to fit tight curves without wetting.  These 1/4 inch panels are much more flexible than standard SHEETROCK® panels of the same thickness.

******************************************************************************

- Where foil-backed gypsum board is indicated: Equivalent to SHEETROCK® brand SW Foil-Back, FIRECODE® or FIRECODE® "C" gypsum panels by USG. OR SHEETROCK® brand Regular Foil-Back, FIRECODE® or FIRECODE® "C" CORE gypsum panels by USG.

- Use gypsum board and joint compound with little or no VOCs and formaldehyde emissions. Gypsum board shall have a minimum of 5% Post-consumer and 20% Post-industrial (nation-wide average for company) as defined by FTC (Federal Trade Commission) by USG.

******************************************************************************

SHEETROCK® brand foil-back gypsum panels, are made by laminating special kraft-backed aluminum foil to back surface of regular or SW tapered panels with FIRECODE and FIRECODE C cores as indicated.  Effective as a vapor retarder for walls and ceilings when applied with foil surface next to the framing in single-layer application or as the base layer in multi-layer systems.  In tests per ASTM E96 (desiccant method), ½ inch foil-back panels showed a vapor permeance of 0.06 perm.

Limitations:  Not recommended as a base for ceramic or other tile or other highly moisture-resistant wall coverings.  Also not to be used in hot, humid climates such as the Southern Atlantic and Gulf Coast areas.

******************************************************************************

B.	Ceiling Board:

1.	ASTM C1396 (Section 12), non-sag type.

2.	Thickness:  ½ inch.

3.	Acceptable product:  Equivalent to Interior Gypsum Ceiling Board by USG.

******************************************************************************

SHEETROCK® brand interior gypsum ceiling board is a ½ inch thick panel that supports water-based spray texture paints and insulation like 5/8 inch thick board but with less in-place construction costs.  Special gypsum core contains additives which increase sag-resistance.

******************************************************************************

******************************************************************************

C.	Water-Resistant Gypsum Board:

1.	ASTM C1396 (Section 7), regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

2.	Edges:  Tapered.

3.	Thickness:  5/8 [½] inch, unless otherwise indicated.

4.	Acceptable products:  Equivalent to Sheetrock Brand Water-resistant, Water-resistant Firecode "C" or Water-resistant Firecode Type X Gypsum Panels by USG.

The Water-Resistant Gypsum Board product is no longer available. Please see the Mold & Moisture category.

******************************************************************************

C.	Moisture & Mold Resistant [Formerly Water-Resistant gypsum panel]:

1.	ASTM C1396 (Section 5), regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

2.	Edges:  Tapered.

3.	Thickness: [1/2] [5/8] [3/4] inch.

4.	Acceptable products:  Sheetrock® brand Mold Tough™ Firecode (Type X), Firecode® C Core or ULTRACODE® Core gypsum panels by USG.

******************************************************************************

SHEETROCK® brand MOLD TOUGH™ gypsum panels have a noncombustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers.  The panels feature tapered long edges for easy finishing. The 5/8” FIRECODE® and 1/2" FIRECODE® C Core panels are UL Classified for fire resistance (Type X).

SHEETROCK® brand MOLD TOUGH™ AR gypsum panels were designed and tested to offer greater resistance to surface indentation and impact damage than standard SHEETROCK gypsum panels. These abuse-resistant gypsum panels are a low-cost alternative to other systems for partitions that require greater impact resistance. SHEETROCK MOLD TOUGH AR gypsum panels have a noncombustible, moisture- and mold-resistant core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers. The face paper is folded around the long edges to reinforce and protect the core, and the ends are square cut and finished smooth. Long edges of panels are tapered, allowing joints to be reinforced and concealed with a USG joint treatment system.

SHEETROCK® brand MOLD TOUGH™ ULTRACODE® Core gypsum panels have a non-combustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled green face and brown back papers.  The panels feature tapered long edges for easy finishing. The 3/4" ULTRACODE Core panel is UL Classified as to fire resistance. One layer of 3/4" ULTRACODE Core panels may be substituted for two layers of 5/8” FIRECODE Core panels in many UL Listed assemblies. Refer to the UL Fire Resistance Directory for details.

Limitations:	In remodeling applied directly to studs.  Panels should not be installed over a vapor retarder or on a wall acting as a vapor retarder unless it will not be tiled or finished with an impervious paint.   Panels are not intended for use in areas subject to constant moisture such as tub and shower enclosures, gang showers and commercial food processing; DUROCK® brand cement boards are recommended for these uses.

******************************************************************************

D.	Shaftwall:

1.	Liner boards:

a.	ASTM C442, Type SLX.

b.	Edges:  Beveled.

c.	Thickness:  1 inch.

d.	Acceptable product:  Equivalent to SHEETROCK® gypsum liner panels by USG.

2.	Face boards:

a.	ASTM C1396 (Section 5), Type X.

b.	Thickness:  5/8 [½] inch, unless otherwise indicated.

c.	Acceptable product:  :  Equivalent to Sheetrock® Firecode® C Core and Firecode® Core gypsum panels by USG.

******************************************************************************

USG Shaft Walls provide up to 4-hour fire resistance and sound ratings to 51 STC.  They resist intermittent lateral loads up to 15 psf; also resist fatigue failure under cyclic lateral loading.  USG Cavity Shaft Walls are non-loadbearing gypsum board partition assemblies designed for erection from outside the shaft at each floor.

SHEETROCK® brand gypsum liner panels are installed vertically between steel J-Runners attached to floor and ceiling.  Panel edges are inserted into specially formed C-H Studs spaced 24" on center. The 2-hour shaft wall is completed with double-layer ½ inch thick gypsum panels and a United States Gypsum Company joint system, or with gypsum base and veneer finish applied to one side.  Where both sides of the wall must be finished, single-layer panels are applied to each side of studs.  A 1-hour assembly is obtained with single-layer 5/8 inch thick face panels.

SHEETROCK® brand Mold Tough™ gypsum liner panels have a noncombustible, moisture- and mold-resistant gypsum core that is encased in moisture- and mold-resistant, 100 percent recycled blue face and back papers. The panels are UL Classified as to fire resistance (Type SLX) and feature double beveled edges for easy installation. Panel may be substituted for SHEETROCK gypsum liner panels in all SHEETROCK shaft wall and area separation wall systems.

USG Cavity Shaft Wall Systems have been designed and tested using accepted engineering practices with deflection criteria of L/120, L/240 and L/360 clear partition heights.  They are covered by three model building codes under NER 258.

USG Cavity Shaft Wall System is the only wall for which a UL smoke and fire damper test is available.

******************************************************************************

E.	Exterior Soffit Board:

1.	Manufacturer's special weather and sag-resistant gypsum board manufactured specifically for use in exterior soffit applications with indirect exposure to weather; complying with ASTM C1396(Section 8).

2.	Edges:  Eased and tapered.

3.	Thickness:  ½ [5/8] inch, except as otherwise indicated.

4.	Acceptable product:  Equivalent to Sheetrock® Firecode® Core exterior gypsum ceiling board by USG.

F.	Cement Backer Board:

1.	Aggregated Portland cement board with woven glass fiber mesh facing; complying with ANSI A118.9.

2.	Thickness: ½  [5/8] inch.

3.	Acceptable product and manufacturer: Durock Cement Board by USG.

******************************************************************************

DUROCK Cement Board is vapor permeable and does not deteriorate in the presence of water.  It is used as a substrate for tile or veneer plaster.  If a vapor retarder or waterproof construction is specified, a separate barrier must be applied over or behind DUROCK Cement Board.

For steam rooms and saunas where temperatures exceed 120°F for extended periods, set tile with dry-set or latex-Portland cement mortar; do not use organic adhesive.

IMPERIAL Finish Plaster applied over DIAMOND Veneer Basecoat Plaster can be applied over DUROCK Cement Board to provide a high-impact resistant wall. DUROCK Cement Board surface and joint treatment must receive USG Plaster Bonder before application of basecoat plaster.

******************************************************************************

G.	Veneer Plaster Partitions:

1.	Base:  Manufacturer's standard size gypsum base sheets in maximum available lengths to minimize end-to-end joints; manufacturer's standard edge profile.

a.	Comply with ASTM C588.

b.	 Regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

c.	Thickness:  5/8 [½] inch, unless otherwise indicated.

d.	Acceptable product: IMPERIAL Gypsum Base by USG.

2.	Bonding agent: USG Plaster Bonder.

3.	Plaster basecoat:  Ready-mixed material, mill-prepared, high-strength gypsum veneer plaster for two-coat application. Acceptable product: Equivalent to DIAMOND Basecoat by USG.

4.	Plaster finish coat:  Ready-mixed material.

a.	Smooth trowel finish:  Add water in accordance with manufacturer's instructions.  Acceptable product:  Equivalent to IMPERIAL Finish by USG.

***************************************OR************************************

b.	Float finish:  Add water and aggregate in accordance with manufacturer's instructions.  Acceptable product:  Equivalent to DIAMOND Interior Finish by USG.

2.3	METAL FRAMING AND FURRING MATERIALS

A.	Metal Studs and Runners:

1.	ASTM C645, "C" shaped, gauge:

a.	Provide gauge as indicated for studs; runner gauge as recommended by stud manufacturer.

**********************************OR******************************************

b.	Provide 25 gauge studs, except as otherwise indicated or specified.  Provide heavier gauge if required.

c.	At door [and borrowed light] frames, provide (2) 25 gage minimum studs at each jamb.  Where wall is indicated or specified to be typically framed with 20 gauge studs, provide (2) 20 gauge studs at each jamb.

d.	Provide 20 gauge studs at walls to receive cement backer board [,] [and] water resistant gypsum board with ceramic tile facing.

e.	Provide runner gauge as recommended by stud manufacturer.

2.	Depth of sections:  As indicated.

3.	Corrosion protection:  G40 hot-dipped galvanized coating per ASTM A525.

B.	Shaft Wall Supports:

1.	Conform to ASTM A446, Grade A, with G40 hot-dipped galvanized coating per ASTM A525.

2.	Studs:

a.	Shape:  "CH", “J” or “E” or as standard with manufacturer.

b.	Gauge:  As required to fulfill performance criteria, minimum 25 gauge.  Provide 20 gauge for jamb and lintel components.

c.	Size:  As indicated.

d.	J runners:  24 gauge, size as required for coordination with studs.

e.	Jamb struts: 20 gauge with 3 inch back leg for use at elevator frames.

C.	Metal Furring Channels:

1.	Hat-shaped:

a.	ASTM C645, 7/8 inch high, 25 gauge, with G40 hot-dipped galvanized coating per ASTM A525.

b.	Provide 20 gauge at furring to receive tile backer board.

c.	Acceptable products:  DWC-25 for ½" and 5/8" gypsum board and DWC-20 by USG.

2.	Z-shaped:  ASTM C645, depths as indicated, 24 gauge minimum, with G40 hot-dipped galvanized coating per ASTM A525.

3.	Resilient:  Manufacturer's standard type designed to reduce sound transmission; ½ inch deep, 25 gauge steel with G40 hot-dipped galvanized coating per ASTM A525.

2.4	CEILING AND SOFFIT SUPPORT MATERIALS

A.	Hanger Anchorage Devices:  Screws, clips, bolts or other devices compatible with indicated structural anchorage for ceiling hangers and whose suitability has been proven through standard construction practices or by certified test data.

B.	Powder-Actuated Fasteners in Concrete: Fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching hangers [and with capability to sustain, without failure, a load equal to 10x calculated loads].

C.	[Post-tensioned Concrete Slabs:

1.	For inserts placed in post-tensioned concrete work, maintain 3 inch clearance between inserts and prestressing strands.

2.	If insert is in conflict with strand, insert must be moved to avoid strand.  Do not move strands to avoid inserts.]

D.	Hangers:

1.	Steel wire or rods, sizes to comply with requirements of ASTM C754 for ceiling or soffit area and loads to be supported.

2.	Wire:  ASTM A 641, soft, Class 1 galvanized.

3.	Rods and flats:

1.	Mild steel components.

2.	Finish:  Galvanized or painted with rust-inhibitive paint for interior work; galvanized for exterior work.

E.	Framing System:

1.	Main runners:

1.	Cold-rolled, "C" shaped steel channels, 16 gauge minimum.

2.	Finish:  Galvanized with G40 hot-dip galvanized coating per ASTM A525 [for exterior work]; galvanized or painted with rust-inhibitive paint for other interior work.

3.	Form to required radius at curved ceilings.

2.	Cross furring:  Hat-shaped steel furring channels, ASTM C645, 7/8 inch high, 25 gauge, galvanized.

3.	Furring anchorages: 16 gauge galvanized wire ties, manufacturer's standard wire-type clips, bolts, nails or screws recommended by furring manufacturer and complying with ASTM C754.

4.	[Provide compression posts and other accessories as required to comply with seismic requirements.]

F.	Proprietary Framing System:

1.	Framing system for gypsum board panels consisting of cold-rolled steel members conforming to ASTM C635, with exposed surfaces finished in manufacturer’s standard enamel paint finish.

2.	Fire rating: 1 [1-1/2] [2] [3] hour rating in accordance with UL assembly indicated.

3.	Components: Main tees, furring cross channels, furring cross tees, and cross tees.

4.	Accessories:

a.	U-shaped channel molding.

b.	Galvanized carbon steel (12 ga.) hanger wire.

- Acceptable product: Equivalent to Drywall Suspension System by USG.

******************************************************************************

USG Drywall Suspension Systems – Commercial quality, cold-rolled steel, hot-dipped galvanized finish:

Main Tees: Fire-Rated Heavy Duty classification 1-1/2” high x 144” long, integral reversible splice with knurled face. (DGLW-26 1-1/2” Face)

Cross Members: Fire-Rated members with knurled face. Cross Tees: DGLW-424 cross tee 1-1/2” high x 48” long with 1-1/2” wide face; quick release cross tee ends for positive locking and removability without tools.

Accessory Cross Tees: Cross tees must have knurled faces and quick release cross tee ends for positive locking and removability without tools.

DGL-224 Fire-Rated	1-1/2” high x 24” long with 15/16” face

DGL-324 Fire-Rated	1-1/2” high x 36” long with 15/16” face

DGL-424 Fire-Rated	1-1/2” high x 48” long with 15/16” face

DGL-824 Non Fire-Rated	1-1/2” high x 96” long with 15/16” face

DGLW-224 Fire-Rated	1-1/2” high x 24” long with 1-1/2” face

DGLW-424 Fire-Rated	1-1/2” high x 48” long with 1-1/2” face

Wall Moldings: Single web with knurled face

(DGWM-24	1-1/2” x 1” x 144” long wall molding)

(DGCM-25	1-9/16” x 1” x 144” channel molding)

Accessories:  Splice Clip DGSC-180

Compression Posts

(VSA18/30	18” to 30”)

(VSA30/48	30” to 48”)

(VSA48/84	48” to 84”)

(VSA84/102	84” to 102”)

******************************************************************************

2.5	ACCESSORIES

A.	Metal Trim for Gypsum Board:

1.	Conform to profile and dimensions indicated.

2.	Material for interior work:  Galvanized steel, 26 gauge minimum.

3.	Corner beads:  Equivalent to Dur-A-Bead No. 103 [104] [800] [900] by USG.

4.	Casing beads (edge beads): Equivalent to 200A [200B] [401] [402] [P-1] [701-B] [801-A] [801-B] by USG.

5.	Control joints:

a.	Roll-formed zinc with perforated flanges.

b.	Size:  1-3/4 inch wide, with ¼ inch wide center channel.

c.	Provide with removable tape strip over channel.

d.	Acceptable product:  Equivalent to No. 093 by USG.

B.  Paper-Faced Metal Trim for Gypsum Board:

1.	Conform to profile and dimensions indicated.

- Material for interior work:  Comply with ASTM C1047.

- Outside corners: Paper Faced Metal Bead and Trim B1W series by USG.

- Outside Bullnose corners: Paper Faced Metal Bead and Trim [SLOC] [Danish] by USG.

- Inside corners: Paper Faced Metal Bead and Trim [B2] [SLIC] by USG.

- Trims: L shape – [B4 SERIES] [Premasked L series] [B8 series] by USG; J shape: B9 SERIES by USG.

C.	Metal Trim for Veneer Plaster:

1.	Conform to profile and dimensions indicated.

2.	Material:  Galvanized steel, 26 gauge minimum.

3.	Corner beads:    Equivalent to No. 900 by USG.

4.	Casing beads:  Equivalent to No. 701-A (channel-type edge) or No. 701-B (angle edge) by USG.

5.	Control joints:  Roll-formed zinc with perforated flanges.  Acceptable product:  Equivalent to No. 093 by USG.

******************************************************************************

Control joint locations and spacing should be designated by Architect.

******************************************************************************

D.	Trim for Exterior Soffits:  Rolled zinc complying with ASTM C1047.

E.	Special Trim and Reveals:  Extruded aluminum alloy 6063-T5, profiles as indicated.

F.	Molding and Trim for Vinyl-Faced Panels:

1.	Manufacturer’s standard rigid plastic molding.

2.	Include inside corners, end caps, battens and ceiling drive-in trim, as indicated.

3.	Color: Almond [Ash Blue] [Factory-laminated with matching vinyl].

G.	Backer Plates:

1.	Steel, galvanized; 6 inches wide x 20 [16] gauge minimum x lengths to suit size of items to be attached; fastened to studs for attachment of surface mounted fittings and accessories.

2.	Elimination of backer plates or direct attachment of accessories or equipment to studs will not be allowed.

H.	Hanger Wire Sound Isolators: Provide where indicated for sound-rated suspended ceilings.

I.	Adhesives and Joint Treatment Materials:

1.	Conform to requirements of ASTM C475.

2.	Joint compounds:

a.	Drying-type (ready-mixed):  Equivalent to SHEETROCK® brand taping joint compound and topping joint compound, or SHEETROCK® all purpose joint compound [or ready-mixed lightweight all purpose joint compound by USG.

******************************************************************************

SHEETROCK® brand ready-mixed taping joint compound is a high-performance product for embedding tape and is also used for laminating.

SHEETROCK® brand ready-mixed topping joint compound is a low-shrinkage, easily applied and sanded product recommended for second and third coats over ready-mixed taping and all purpose compounds.  Also used for simple hand-applied texturing or skim coating in some markets; check suitability of formula in your area with local sales office.  Not suitable for embedding tape or as first coat over metal corners, trim and fasteners.

SHEETROCK® brand ready-mixed all purpose joint compound used for embedding, finishing, simple hand-applied texturing, laminating and skim coating.

SHEETROCK® brand Plus 3® ready-mixed lightweight all purpose joint compound requires only two coats over metal bead and fasteners, gives exceptional ease of sanding.  This all purpose, single package product provides tight bond, superior slip and workability, good crack resistance and low shrinkage.  Also used for simple hand-applied texturing.

For Retrofit & Health Care Requiring Low-Dust Emissions

SHEETROCK® brand Plus 3™ ready-mixed lightweight all purpose joint compound with dust control requires only two coats over metal bead and fasteners, gives exceptional ease of sanding.  This all purpose, single package product provides tight bond, superior slip and workability, good crack resistance and low shrinkage.  Also used for simple hand-applied texturing.  Dust-control formulation substantially reduces airborne dust (independently verified with Worker Industrial Hygiene Testing)

SHEETROCK® brand ready-mixed lightweight all purpose joint compound (Midweight)

******************************************************************************

b.	Setting (chemically-hardening) type:  Equivalent to SHEETROCK® brand setting-type joint compound by USG.  Note: this is default for veneer plaster and FIBEROCK® brand panels.

******************************************************************************

SHEETROCK® brand setting-type joint compounds feature exceptional bond and are virtually unaffected by humidity extremes. Used with cement backer board or veneer plaster, to treat joints in exterior gypsum soffits and to embed Sheetrock joint tape and fill beads in veneer finish systems when any of the following conditions exist:  rapid drying conditions due to low humidity, high temperature and excessive evaporation.  Recommended for filling joints of SHEETROCK® gypsum panels, Water-Resistant, and treating fastener heads in areas to receive ceramic or plastic tile.  May be used for skim coating and surface texturing.   Required as prefill material for SHEETROCK® gypsum panels, SW Edge.

Limitations: SHEETROCK® Durabond® setting-type joint compounds are difficult to sand after drying and must be smoothed before complete setting.  Not to be applied over moist surfaces or surfaces likely to become moist, on below-grade surfaces, or on surfaces subject to moisture exposure, pitting or popping.

SHEETROCK® brand EASY SAND™ lightweight setting-type joint compound weighs 25% less than conventional setting-type compounds.  Provides sanding ease similar to a ready-mixed, all purpose joint compound.

******************************************************************************

c.	SHEETROCK® brand TUFF-HIDEprimer-surfacer: Finish Level 4 (GA-214/ASTM C-840) drywall surface with vinyl acrylic latex-based coating to achieve Level 5 gypsum board finish.

******************************************************************************

SHEETROCK® brand TUFF-HIDE™ primer-surfacer is a dual-purpose vinyl acrylic latex-based coating designed especially for interior application over new drywall. In a single spray application it provides the same results achieved using a typical two-step process of skim coating surfaces with joint compound followed by a coat of primer. In a GA-214/ASTM C-840 Level 5 gypsum board finish, TUFF-HIDE primer-surfacer is used in lieu of a skim coat of joint compound and paint primer coat to provide the highest quality drywall finish.

******************************************************************************

d.	Laminating adhesive for multiple layers:  Special adhesive or joint compound specifically recommended for laminating gypsum boards.

e.	Laminating adhesive for direct application:  Special adhesive or joint compound specifically recommended for laminating gypsum boards and for adhering gypsum boards to solid substrates.

f.	Reinforcing joint tape:

1.	ASTM C475, 2 inch nominal width.

2.	For backer board, provide fiberglass tape as recommended by board manufacturer [and acceptable to manufacturer of ceramic tile setting materials].

******************************************************************************

SHEETROCK® brand joint tape is a strong, cross-fibered paper tape with minimal longitudinal stretch and superior tensile strength.

SHEETROCK® brand fiberglass drywall tape is made with a unique cross-fiberglass construction.  Self-adhesive tape goes on quickly-eliminates bedding coat and provides smooth finished joints in only two coats.  For first coat over tape, setting-type joint compound is used, for second coat, setting-type or drying-type (ready-mixed or powder) joint compounds may be used.  Tape may also be used for patching small holes and cracks.

******************************************************************************

J.	Gypsum Board Screws:  Self-drilling, self-tapping steel screws.

1.	For steel framing less than 0.03 inch thick: Comply with ASTM C1002.

2.	For steel framing from 0.033 inch thick to 0.112 inch thick:  Comply with ASTM C954.

3.	Provide Type S or Type S-12 screws.

K.	Backer Board Accessories:  Provide accessories and corrosion-resistant-coated steel screws as recommended by backer board manufacturer and required for complete installation.

L.	Acoustical Sealant: Equivalent to to Sheetrock® acoustical sealant by USG.

******************************************************************************

SHEETROCK® brand acoustical sealant is a highly elastic, water-based caulking for sound-rated partition and ceiling systems and sealing exterior walls to reduce infiltration.  Non-bleeding and non-staining, pumpable and easily applied in beads.  Provides excellent adherence to most surfaces, permanent flexibility and lasting seal.   Meets ASTM C919 and ASTM C834.

******************************************************************************

M.	Sound Attenuation Blankets:

1.	Mineral fiber, conforming to ASTM C665, Type I.

2.	Surface burning characteristics per ASTM E84:

a.	Flame spread:  15 or less.

b.	Smoke developed:  0.

3.	Thicknesses:  As indicated.

4.	Acceptable product and manufacturer:  Equivalent to Thermafiber LLC Sound Attenuation Fire Blankets SAFB (Fire Safety FS-15 Blankets).

******************************************************************************

Sound Attenuation Fire Blankets (SAFB) are paperless, semi-rigid mineral fiber mats designed to improve STC ratings when installed in partitions.

******************************************************************************

N.	Z-Furring Insulation:  See Section 07210 BUILDING INSULATION.

O.	Miscellaneous Accessories:  Provide as required for complete installations.

PART 3 - 	EXECUTION

3.1	EXAMINATION

A.	Examine substrates and adjoining construction and conditions under which work is to be installed.  Do not proceed with work until unsatisfactory conditions are corrected.

3.2	GENERAL INSTALLATION REQUIREMENTS

A.	Install in accordance with reference standards and manufacturer's instructions [and as required to comply with seismic requirements].

B.	Tolerances:

1.	Do not exceed 1/8 inch in 8'-0" variation from plumb or level in exposed lines of surface, except at joints between gypsum board units.

2.	Do not exceed 1/16 inch variation between planes of abutting edges or ends.

3.	Shim as required to comply with specified tolerances.

C.	Install framing to comply with ASTM C754 and with ASTM C840 requirements that apply to framing installation.

D.	Install supplementary framing, blocking and bracing at terminations in gypsum board assemblies to support fixtures, equipment, heavy trim, grab bars, toilet accessories, furnishings or similar construction.

3.3	METAL SUPPORT INSTALLATION

A.	Metal Runners:

1.	Align and secure runner tracks accurately to partition layout at both floor and ceiling.

2.	Provide fasteners appropriate to substrate construction as recommended by manufacturer.

B.	Metal Studs:

1.	Position metal studs vertically in the runners, spaced as indicated.

******************************************************************************

INCLUDE STUD GAUGE AND FRAMING MATRIX HERE AT FUTURE DATE

******************************************************************************

2.	Place studs so that flanges face in same direction.

3.	Cut studs ½ inch short of full height to provide perimeter relief.

4.	Align and plumb partition framing accurately.

5.	Where partitions abut ceiling or deck construction or vertical structural elements, provide slip or cushion type joint between partition and structure as recommended by stud manufacturer to prevent transfer of structural loads or movements to partitions, and to provide lateral support.

6.	Provide horizontal bracing where necessary for lateral support.

******************************************************************************

NOTE: WHERE STUDS ARE INSTALLED DIRECTLY AGAINST EXTERIOR WALLS, INSTALL ASPHALT FELT STRIPS OR GLASS FIBER STRIPS BETWEEN STUDS AND WALL

******************************************************************************

7.	[Chase walls:

a.	Position steel studs on opposite sides of chase directly across from each other.

b.	Cut cross-bracing from gypsum board 12 inches high by chase wall width.]

8.	[Backer plates and blocking:

a.	Where handrails, grab bars, cabinets, wall-mounted door stops, or other wall-hung items are attached to partitions, install backer plates or wood blocking accurately positioned and firmly secured to metal studs, whether or not such backer plates or blocking are indicated on Drawings.

b.	Do not use wood blocking in fire-rated construction.]

9.	[Curved partitions:

a.	Cut top and bottom runners through leg and web at 2-inch intervals for arc length.

b.	Bend runners to uniform curve of radius indicated and locate straight lengths tangent to arcs.

c.	Support outside (cut) leg of runners by clinching a 1-inch high x 25 gauge thick sheet steel strip to inside of cut legs using metal lock fasteners.

d.	Attach studs to runners with 3/8 inch long pan head framing screws.

e.	On straight lengths at ends of arcs, place studs 6 inches on center with last stud left free standing.]

C.	[Hat Channel Furring:

1.	Attach hat-shaped furring channels either vertically or horizontally with fasteners through alternate wing flanges (staggered).

2.	Space furring channels at 24 inches on center, unless otherwise indicated.  Where furring is indicated to receive backer board, water resistant gypsum board with ceramic tile, or veneer plaster, space at 16 inches on center.

3.	Install furring channels within 4 inches of floor line and ceiling line.]

D.	[Z-Furring:

1.	Securely attach narrow flanges of members to wall with concrete stub nails or power-driven fasteners, except as otherwise indicated.

2.	Sequence furring installation with installation of insulation.]

E.	[Ceiling and Soffit Support Systems:

1.	Secure hangers or rods to structural support by connecting directly to structure where possible; otherwise connect to inserts, clips or other anchorage devices or fasteners indicated.

2.	Space main runners, hangers and furring according to requirements of ASTM C754, except as otherwise indicated.

3.	Where spacing of structural members, or width of ducts or other equipment, prevents regular spacing of hangers, provide supplemental hangers and suspension members and reinforce nearest affected hangers to span extra distance.

******************************************************************************

Limitations

1.  Steel studs are not designed to carry live loads, mechanical equipment or material storage.

2. Maximum spacing: 1 ½ inches cold-rolled channels and hangers 48 inches on center. For single-layer panels, maximum steel stud and furring channel spacing is 24 inches on center for perpendicular application and 16 inches on center for parallel application.  For panels used as base for spray-applied ceiling texture finish, maximum frame spacing is 16 inches on center for ½ inch thick panels perpendicularly applied (parallel panel application not recommended); 24 inches on center for 5/8 inch thick panels perpendicularly applied, 16 inches on center for parallel application.

******************************************************************************

***************RETAIN BELOW FOR STEEL DECK CONSTRUCTION***************

4.	Attach directly to structural elements only; do not attach to metal deck.  Loop hangers and wire-tie directly or provide anchors or inserts.

*******************RETAIN BELOW ONLY FOR SEISMIC LOADING*******************

5.	Install compression posts, splay wires and other accessories as required to comply with seismic requirements.

6.	Extend runners to within 6 inches of walls.

7.	Wire-tie or clip furring members to main runners and to other structural supports indicated.  In fire resistance rated assemblies, wire-tie furring members; do not clip.

8.	Do not permit furring or runners to contact masonry or concrete walls.

9.	Provide 1 inch clearance between furring or runners and abutting walls and partitions.

****************RETAIN FOLLOWING FOR PROPRIETARY SYSTEM******************

10.	For proprietary framing system, comply with manufacturer's instructions.

****************RETAIN FOLLOWING FOR CURVED APPLICATIONS*****************

11.	Curved (vaulted) applications:

a.	Install furring channels to provide indicated radius for finished ceiling.

b.	Space furring channels maximum 16 inches on center.  Provide closer spacing if recommended by manufacturer for veneer base thickness and application method.]

F.	[Shaftwall:

1.	Provide slip or cushioned joints to isolate shaftwall system.  Comply with manufacturer's instructions.

2.	Seal joints and penetrations on both sides of shaftwall system.

3.	Elevator shaft requirements:

a.	Support elevator hoistway door frames independently of shaftwall framing system, or reinforce system in accordance with system manufacturer's instructions.

b.	Where shaftwall system cannot be positioned within 2 inches of shaft face of structural beams, floor edges and similar projections into elevator shaft, provide continuous 5/8 inch gypsum board cants to cover tops of projections.]

3.4	BOARD INSTALLATION

A.	[Single Layer Gypsum Board on Metal Studs:

1.	Loosely butt gypsum board joints together and neatly fit.

2.	[Do not place butt ends against tapered edges.]

3.	Maximum allowable gap at end joints:  1/8 inch.

4.	Stagger joints on opposite sides of partitions.

5.	Apply ceiling boards first where gypsum board ceilings and wall occur.

6.	Cut openings in gypsum board to fit electrical outlets, plumbing, light fixtures and piping snugly and small enough to be covered by plates and escutcheons.  Cut both face and back paper.

7.	Screw board in place securely with screws spaced according to manufacturer's recommendations.]

B.	[Single Layer Gypsum Board on Furring:

1.	Apply gypsum board with long dimension at right angles to furring channel.

2.	Center end joints over channel web; stagger end joints from those in adjacent rows of board.

3.	Fasten boards to furring channels with screws spaced according to manufacturer's recommendations.]

C.	[Double Layer Gypsum Board:

1.	Fasten base layer to studs or furring with screws, and attach face layer using laminating adhesive and screws, applied according to manufacturer's instructions.

2.	Offset face-layer joints at least 10 inches from parallel base-layer joints.

3.	Screw both layers to metal supports at double layer ceiling applications and where required for fire-rated construction.]

D.	[Direct Gypsum Board Adhesive Application:

1.	Apply adhesive with manufacturer's recommended spreader to backs of gypsum boards in band of four beads each to center of each board and along edges.

2.	Position boards vertically and press firmly in place to insure good bond.

3.	Fasten top and bottom of board if required.]

E.	[Water-Resistant Gypsum Board:

1.	Complete plumbing rough-in before gypsum board panels are erected.

2.	Separate gypsum panels from rough-in and fixtures by 1/4 inch space.

3.	Make necessary cut-outs and seal cut or exposed panel edges with thinned-down ceramic tile adhesive or with waterproof flexible sealant, as recommended by gypsum board manufacturer.

4.	Install water-resistant board horizontally.

5.	Do not place water-resistant board directly over vapor retarder.

6.	[Prior to tile application, fill openings around pipes, fittings, fixtures, interior angles and other penetrations with waterproof flexible sealant, as recommended by gypsum board manufacturer.  Do not fill 1/4 inch gap at bottom of panels.]]

F.	[Cementitious Backer Board Installation:

1.	Install as indicated to comply with ANSI A108.11 and in accordance with manufacturer's instructions.

2.	Complete plumbing rough-in before boards are erected.

3.	Separate board from rough-in and fixtures and fill space as recommended by manufacturer.

4.	Securely fasten boards to substrate as required.

5.	Follow manufacturer's instructions for treatment of edge terminations.

6.	At joints and corners, embed fiberglass tape in skim coat of mortar.]

G.	[Exterior Soffits:

1.	Apply soffit board with long dimension across supports.

2.	Position end joints over supports.

3.	Allow at least 1/4 inch between edge of soffit board and adjacent construction, unless otherwise indicated.

4.	Fasten with corrosion-resistant screws.]

H.	[Gypsum Shaftwall:

1.	Erect gypsum board shaft liner for use as temporary shaft enclosure.

2.	Screw attach base and face layers according to manufacturer's instructions, for both vertical (shaft enclosure) and horizontal (duct enclosure) applications.

3.	Seal perimeters and openings to provide airtight installation.

4.	[Install sloped gypsum board cants on hoistway side of shaftwall where slabs or beams project beyond shaftwall.]]

I.	[Curved Gypsum Board:

1.	Provide board length such that one single board covers curved surface.  Provide board thickness as recommended by manufacturer for minimum bending radius.

2.	Install boards perpendicular to framing.

3.	On concave installations, start fastening board at center of curve and work outward to ends of boards.

4.	On convex installations, begin board installation at one end of curved surface and fasten board to framing as it is wrapped around curve.

5.	Do not cut openings for penetrations until boards are installed and thoroughly dry.]

******************************************************************************

Curved Partitions

Curved partitions are an attractive way to soften the hard lines of flat wall dimensions.  They create a flowing dimension that offsets the rigidity of flat wall lines, add appealing depth, and enhance overall decor.  Versatile SHEETROCK brand Gypsum Panels can be formed to almost any cylindrically curved surface.

To prevent flat areas between framing, shorter bend radii require closer than normal stud spacing.

Panels are horizontally applied, gently bent around framing and securely fastened to achieve the desired radius.  The minimum radius of curvature meets many applications (see table for dry gypsum panels).

Cutouts for electrical boxes are not recommended in curved surfaces unless they can be made after boards are installed and thoroughly dry.

******************************************************************************

3.5	[VENEER PLASTER INSTALLATION

A.	Base:

1.	Install gypsum base in accordance with ASTM C844.  Apply gypsum base with face side out.

2.	Butt and fit abutting edges and ends together for light contact; do not force into place.

3.	Do not locate fasteners closer than 3/8 inch from ends or edges of sheets.  Set heads slightly below surface of gypsum base, but do not break paper face.

4.	Drive screws with power screwdriver.

B.	Single Layer Applications:

1.	Position edges over support flanges.

2.	To maintain true surface plane for installation on studs, arrange direction of application so that leading edge of base is attached first to open edge of stud flange.

*************************************OR********************************

B.	Double Layer Applications:

3.	Apply gypsum base layer and face layer with long dimension parallel to supports.  Offset joints of face layer at least 16 inches from base layer joints.

4.	Fasten both base and face layers separately to supports.

5.	Stagger and space fasteners in accordance with gypsum base manufacturer's instructions.

C.	Curved Applications:

1.	Provide sheet length such that one single sheet covers curved surface.  Provide sheet thickness as recommended by manufacturer for minimum bending radius.

2.	Install sheets perpendicular to framing.

3.	On concave installations, start fastening sheet at center of curve and work outwards to ends of sheets.

4.	On convex installations, begin sheet installation at one end of curved surface and fasten sheet to framing as it is wrapped around curve.  Do not cut openings for penetrations until sheets are installed and thoroughly dry.

D.	Ceilings:

1.	Install gypsum base sheets with long direction at right angles to furring channels with end joints occurring over channels.

2.	Stagger end joints.

3.	Install ceiling boards prior to adjoining partition boards where feasible.

4.	Fasten at not less than 12 inches on center at furring channels.

5.	Double layer applications:

a.	Apply base layer prior to base layer application on adjoining partitions; apply face layers in same sequence.

b.	Apply gypsum base layer and face layer with long dimension parallel to supports.  Offset joints of face layer at least 16 inches from base layer joints.

c.	Fasten both base and face layers separately to supports.

d.	Stagger and space fasteners in accordance with gypsum base manufacturer's instructions.

6.	Vaulted (curved) applications:

a.	Provide sheet length such that one single sheet covers curved surface.  Provide sheet thickness as recommended by manufacturer for minimum bending radius.

b.	Install sheets perpendicular to furring channels.

c.	Start fastening sheets at center of curve and work outwards to ends of sheets.

d.	Do not cut openings for ceiling penetrations until sheets are installed and thoroughly dry.

3.6	[SOUND-RATED CONSTRUCTION

******************************************************************************

The fire resistance ratings and sound ratings are predicated upon use of identical components and installation procedures as used in tested assemblies.  This includes proper application of SHEETROCK® brand Acoustical Sealant and installation of THERMAFIBER SAFB. Maximum stud spacing: 24 inches.  Ceramic tile is not recommended for application to single layer panels.

Variable wind pressure can cause a high-rise building to drift or sway.  This can result in movement of the non-loadbearing partitions, thus causing noise, which is not dampened by sound attenuating partitions.

******************************************************************************

A.	Insulation:

1.	Install sound attenuation blankets in sound-rated partitions and ceilings where indicated.

2.	Completely fill space between studs and framing to full height of partition wall or full area of ceiling.

3.	Fit carefully behind electrical outlets and other work penetrating sound-rated construction.

********DELETE BELOW IF NO STEEL DECK CONSTRUCTION************************

4.	Install sound attenuation blankets in gaps between steel deck flutes and tops of sound-rated partitions, which are not fire-rated. Attach blankets in accordance with manufacturer's instructions.

B.	Gypsum Board:

1.	Install gypsum board same as for interior partitions and ceilings.

2.	Coordinate with installation of perimeter sealants.

C.	Acoustical Sealant:

1.	At partition walls, provide continuous beads of acoustic sealant at juncture of both faces of runners with floor and ceiling construction, and wherever gypsum board abuts dissimilar materials, prior to installation of gypsum board.

2.	At ceilings, provide continuous beads of sealant wherever gypsum board abuts dissimilar materials.

3.	Provide continuous bead of sealant behind faces of control joints prior to installation of control joint accessories.

4.	After installation of gypsum board base layers, cut face layer sheets ½ inch less than floor-to-ceiling height and position with 1/4 inch open space between gypsum board and floor, ceiling and dissimilar vertical construction.  Fill 1/4 inch open space with continuous sealant beads after installation of face layer.

5.	At openings and cutouts, fill open spaces between gypsum board and fixtures, cabinets, ducts and other flush or penetrating items, with continuous bead of sealant.

6.	Seal sides and backs of electrical boxes to completely close off openings and joints.

D.	Sound Flanking Paths:

1.	Where sound-rated partition walls intersect non-rated gypsum board partition walls, extend sound-rated construction to completely close sound flanking paths through non-rated construction.

2.	Seal joints between face layers at vertical interior angles of intersecting partitions.]

3.7	ACCESSORY INSTALLATION

A.	Trim:

1.	Use same fasteners to anchor trim accessory flanges as required to fasten gypsum board to supports, unless otherwise recommended by trim manufacturer.

2.	Install metal corner beads at external corners.

3.	Install metal casing bead trim whenever edge of gypsum board would otherwise be exposed or semi-exposed.

B.	Control Joints:

1.	Install control joints at junction of gypsum board partitions with walls or partitions of other finish material.

2.	Install control joints within long runs of partitions, ceilings or soffits at approximately 30'-0" on center or as indicated.

3.	Where gypsum board is vertically continuous, as at stairwells, provide horizontal control joints at each floor level.

C.	Special Trim:  Install as indicated on drawings and in accordance with manufacturer's instructions.

3.8	FINISHING

A.	Provide levels of gypsum board finish for locations as follows, in accordance with Gypsum Association GA 214, "Recommended Specification: Levels of Gypsum Board Finish".

1.	Level 1:  Ceiling plenum areas and concealed areas, except provide higher level of finish as required to comply with fire resistance ratings and acoustical ratings.

- Level 2:  Gypsum board substrate at tile [stone], except remove tool marks and ridges.

- Level 3:   Gypsum board surfaces, where textured finishes or heavy vinyl wall papering will be used [High-build Primer required as specified in Section 09911 or USG First Coat primer].

4.	Level 4:  Gypsum board surfaces, except where another finish level is indicated [High-build Primer required as specified in Section 09911 or USG First Coat primer].

5.	Level 5:  Gypsum board surfaces requiring extra smooth surface for critical light, where indicated using spray-applied Primer-Surfacer, TUFF-HIDE [or watered-down joint compound skim coat over whole surface and High-build Primer required as specified in Section 09911 or SHEETROCK® First Coat primer].

  - Surface Preparation: Complete gypsum board surface to Level 4 before applying SHEETROCK® TUFF-HIDE™ primer-surfacer.

  - TUFF-HIDE primer-surfacer, Application: Machine apply with airless sprayer in conformance with USG application instructions to a wet film thickness of 15 to 20 mils [9-12 mils dry film thickness]. Surface may be painted after overnight drying.

******************************************************************************

Airless spray application only. Use professional equipment that meets or exceeds the following rating when spraying through 50 ft. of ¼” i.d. high-pressure hose: output at least 1 gallon per minute; pump pressure rated at 2700-3000 psi; and accommodates a 0.031” spray tip at 2000 psi. Graco MARK V, and GMax 5900 HD are examples of approved airless pumping equipment. Use a 30-mesh filter located in the high-pressure manifold. Use a spray tip orifice between 0.023” to 0.031”. It is recommended to use a Graco heavy-duty texture spray gun or equivalent that accommodates a Graco RAC V 527 (0.027”), RAC V 529 (0.029”), or RAC V 531 (0.031”) tip.

Test the spray pattern prior to application. To apply, hold spray gun perpendicular to the surface approximately 12 to 18 inches away. Move the gun parallel to the surface at a steady rate. Lap each stroke approximately 50% over the previous stroke for uniform paint thickness. Spray from left to right to scratch in the initial coat at approximately half of the desired thickness. Then crosshatch spray up and down as the double-up coat to the desired thickness. When painting corners, aim the gun toward the center of the corner to ensure both sides are sprayed evenly. When used in lieu of a skim coat of joint compound and paint primer coat in a Level 5 gypsum board finish, apply to a minimum Wet Film Thickness (WFT) of 15 mils. In all applications a wet film thickness in excess of 20 mils is not recommended. Use a wet film thickness gauge to ensure proper application thickness and maximum performance. During and after application, avoid drafts and maintain 55 °F (13 °C) minimum product, air and surface temperatures until surface is dry.

******************************************************************************

B.	Interior Gypsum Board:

***PREFILL ONLY EASED & TAPERED EDGE GYP BD; DELETE "PREFILL" SUB-PARAGRAPH IF EASED & TAPERED EDGE GYP BD IS NOT SELECTED****

1.	[Prefill:

a.	Use setting-type joint compound.  Mix joint compound according to manufacturer's directions.

b.	Fill joints between boards flush to top of eased or beveled edge.

c.	Fill joints of gypsum board above suspended ceilings in fire-rated partitions.

d.	Wipe off excess compound and allow compound to harden.]

- Taping (Level 1):

a.	Use taping or all purpose [conventional weight, lightweight or midweight] compound.

b.	Butter taping compound into inside corners and joints.

c.	Center tape over joints and press down into fresh compound.

d.	Remove excess compound.

e.	Tape joints of gypsum board above suspended ceilings.

3.	First coat (Level 2):

a.	Use taping or all-purpose [conventional weight, lightweight or midweight] drying-type compound, or setting-type joint compound.

b.	Immediately after bedding tape, apply skim coat of compound over body of tape and allow to dry completely in accordance with manufacturer's instructions.

c.	Apply first coat of compound over flanges of trim and accessories, and over exposed fastener heads and finish level with board surface.

4.	Second coat (Level 3):  Use all purpose or topping (conventional weight, lightweight or midweight) drying type joint compound.  After first coat treatment is dried, apply second coat of compound over tape and trim, feathering compound 2 inches beyond edge of first coat.

5.	Third coat (Level 4):

a.	Use all purpose or topping [conventional weight, lightweight or midweight] drying type joint compound.

b.	After second coat has dried, sand surface lightly and apply thin finish coat to joints, fasteners and trim, feathering compound 2 inches beyond edge of second coat.

c.	Allow third coat to dry.  Apply additional compound, and touch-up and sand, to provide surface free of visual defects, tool marks, and ridges, and ready for application of finish.

6.	[Skim coat (Level 5):

a.	Apply skim coat of all-purpose (conventional weight) drying-type compound or spray-applied Primer-Surfacer, TUFF-HIDE over exposed surfaces of gypsum board.

b.	After skim coat has dried, touch-up and sand to provide surface free of visual defects, tool marks, and ridges, and ready for application of finish.]

C.	Water-Resistant Gypsum Board:  Treat fastener heads and joints with setting-type joint compound.

1.	[For joints to be covered with tile, apply tape and joint compound bedding coat and skim coat only; do not apply finish coats.

a.	Do not crown joints or leave excess compound on panels.

b.	Remove tool marks and ridges.

c.	For fastener heads to be covered with tile, apply one coat of joint compound.]

D.	Cementitious Backer Board:  Prepare and finish joints in accordance with manufacturer's instructions.

E.	[Exterior Gypsum Board Soffits:

1.	Use setting-type joint compound.

2.	Prefill:

a.	Fill joints between boards with joint compound.

b.	Wipe off excess compound and allow to harden.

3.	Taping:

a.	Cover joint with thin layer of joint compound.

b.	Center tape over joints and press down into fresh compound.

c.	Remove excess compound.

4.	First coat:

a.	Immediately after bedding tape, apply skim coat of joint compound over body of tape and allow to dry completely in accordance with manufacturer's instructions.

b.	Apply first coat of compound over flanges of trim and accessories.

c.	Smooth tool lap marks and other imperfections prior to hardening action of compound.

5.	Second coat:

a.	After first coat treatment has dried, apply second coat of joint compound over tape and trim, feathering compound 2 inches beyond edge of first coat.

b.	Spot fasteners with second coat of compound.

c.	Smooth tool lap marks and other imperfections prior to hardening action of compound.

6.	Third coat:

a.	After second coat has dried, apply thin finish coat to joints and fasteners, feathering compound 2 inches beyond edge of second coat.

b.	Smooth tool lap marks and other imperfections prior to hardening action of compound.]

F.	[Veneer Plaster Finishing:  Reinforcing Tape:

1.	Install full length over all gypsum base and cement board joints, including internal corners.  Do not overlap at intersections.

2.	Butter joints with setting-type joint compound, press Sheetrock Joint Tape into compound; apply skim coat of compound over tape.]

G.	Joint Compound:

1.	After skim coat sets, apply finish coat of compound feathering 3 to 4 inches beyond tape edges.

2.	Feather coats onto adjoining surfaces so that camber is maximum 1/32 inch.

3.	Allow joint compound to completely set before applying veneer plaster finish.

H.	Trim:

1.	Use same fasteners to anchor trim accessory flanges as required to fasten gypsum board to supports, unless otherwise recommended by trim manufacturer.

2.	Install metal corner beads at external corners.

3.	Install metal casing bead trim whenever edge of gypsum base would otherwise be exposed or semi-exposed, and where gypsum base terminates against dissimilar material.

I.	Control Joints:  Install where indicated and specified.

J.	Special Trim and Reveal Joints:  Install as indicated on drawings and in accordance with manufacturer's instructions.

3.9	[VENEER PLASTER APPLICATION

A.	Apply veneer plaster in accordance with ASTM C843, except for more stringent requirements of manufacturer or these specifications.  Apply 1 or 2-coat system of uniform thickness as indicated.

B.	Mixing:

1.	Use mechanical mixers for mixing plaster in accordance with USG recommendations.

2.	Clean mechanical mixers, mixing containers and tools after mixing each batch; keep free of plaster from previous mixes.

3.	Thoroughly mix plaster with proper amount of water until uniform in color and consistency.

4.	Retempering not permitted; discard plaster that has begun to stiffen.

C.	Base Coat:

1.	Trowel apply base coat plaster over gypsum base to 1/16 to 3/32 inch thickness.

2.	Where plaster is flush with metal frames, groove at junction to reduce possibility of chipping.  Cut plaster free from these metal sections before plaster sets.

D.	Finish Coat:

1.	Trowel apply finish coat plaster to a maximum 1/16 inch thickness over basecoat plaster.

2.	Scratch finish coat in thoroughly over dry base coat and immediately double back to true even surface.

3.	Finish surface to flat, smooth, hard trowel finish.

************************************OR****************************************

3.	Finish surface to uniform float texture

E.	Perform cutting, patching, repairing and pointing-up operations neatly and thoroughly.  Repair cracks and indented surfaces by moistening plaster and filling with new material, troweled flush with adjoining surfaces.]

3.10	ADJUSTING

A.	Correct damage and defects which may telegraph through finish work.

B.	Leave work smooth and uniform.

END OF SECTION