# SECTION 036000

# GROUTING

PART 1 GENERAL

  - SUMMARY

- This section specifies pumping applications of cementitous, non-shrink, non-metallic tendon or cable grout and elsewhere as indicated.

  - RELATED SECTIONS

- Section 033000 – Cast in Place Concrete

- Section 033800 – Post-Tensioned Concrete

  - REFERENCES

- American Society for Testing and Materials:

  - ASTM C-78 – Test Method for Flexural Strength of Concrete.

  - ASTM C-109 – Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2 in. or 50 mm. Cube Specimens).

  - ASTM C-496 – Test Method for Splitting Tensile Strength of Cylindrical Concrete Specimens.

  - ASTM C-882 – Test Method for Bond Strength of Epoxy-Resin Systems Used With Concrete by Slant Shear.

  - ASTM C-939 – Test method for Flow of Grout for Pre-placed Aggregate Concrete (Flow Cone Method).

  - ASTM C-940 – Test Method for Expansion and Bleeding of Freshly Mixed Grouts for Preplace-Aggregate Concrete in the Laboratory.

  - ASTM C-953 – Test Method for Time of Setting of Grouts for Preplaced-Aggregate Concrete in the Laboratory.

  - ASTM C-1090 – Test Method for Measuring Change in Height of Cylindrical Specifications for Hydraulic-Cement Grout.

  - ASTM C-1107-02 – Standard Specification for Packaged Dry, Hydraulic-Cement Grout (Nonshrink).

  - ASTM C-1152 – Test Method for Acid-Soluble Chloride in Mortar and Concrete.

  - ASTM C-1202 – Test Method for Electrical Indication of Concrete’s Ability to Resist Chloride Ion Penetration.

- US Army Corp of Engineers:

  - CRD-C 300 – Specification for Membrane Forming Compounds for Curing Concrete.

  - CRD-C 621 – Specification for Non-Shrink Grout.

1.4	SUBMITTALS

- Submit under provisions of Section 013300 – Submittal Procedures

  - Product Data:  Manufacturer’s literature to include surface preparation, application instructions, recommendations and storage and handling requirements.

  - Test Data:  Confirm compliance and performance with specified requirements.

1.5	QUALITY ASSURANCE

- Applicator Qualifications:  Applicator must have prior experience applying specified product or similar products, or have manufacturer’s representative on site ensuring that preparation and application are performed correctly.

- Mockup:

1.	Architect will select area for mockup.

2.	Prior notice will be given to architect four days before mockups will be applied.

3.	Architect must approve mockup before final product is applied.

4.	At the architect’s discretion, approved mockups may become incorporated into the final work.

  - DELIVERY, STORAGE & HANDLING

- Materials must be delivered in original, unopened containers with the manufacturer’s labels including product name and batch numbers.

- Store material in a dry area, above ground.  Protect cement from moisture and humidity.

  - ENVIRONMENTAL REQUIREMENTS

- Environmental Conditions:  Do not apply material when temperature is below 45°F (7oC) or when temperature is expected to fall below 45°F within 48 hours.

- Protection:  Precautions should be taken to avoid damage to any surface near the work zone.

PART 2 PRODUCTS

  - MANUFACTURER

- Acceptable Manufacturer:  US MIX Co., 112 South Santa Fe Drive, Denver, CO 80223, 800-397-9903, http://www.usspec.com.

  - MATERIALS

  - Non-Shrink Grout:

  - US SPEC NA Grout

  - Description:  Cement based, non-shrink, non-corrosive, non-metallic, non-aggregate tendon grout.

  - Compliance:  ASTM C-1107, Grade C and CRD C-621.

B.	Membrane Forming Curing Compound:

  - US SPEC Maxcure Resin Clear HS

  - Description:  High solids content, dissipating hydrocarbon resin curing compound.

  - Compliance:  ASTM C-309 Type I, Class B and CRD C-300.

  - MATERIAL PROPERTIES

- ASTM C-78 – Flexural Strength (tested at fluid water ratio):

  - 3 Days – 700 psi (4.8 MPa) minimum

  - 28 Days – 1,100 psi (7.6 MPa) minimum

- ASTM C-109 – Compressive Strength (tested at fluid water ratio):

  - 3 Days – 5,000 psi (34.4 MPa) minimum

  - 7 Days – 7,000 psi (48.3 MPa) minimum

  - 28 Days – 8,000 psi (55.2 MPa) minimum

- ASTM C-496 – Split Tensile Strength (tested at fluid water ratio):

  - 28 Days – 600 psi (4.1 MPa) minimum

- ASTM C-882 – Bond Strength (tested at fluid water ratio):

  - 7 Days – 1,800 psi (12.4 MPa) minimum

E.	ASTM C-939 – Flow Cone (tested at fluid water ratio):

1.	Initial Efflux Time – 20 to 30 seconds

2.	After 30 Minutes – 30 seconds maximum

F.	ASTM C-939 Modified – Flow Cone (tested at fluid water ratio):

1.	Initial Efflux Time – 9 to 20 seconds

2.	After 30 Minutes – 30 seconds maximum

G.	ASTM C-940 – Plastic Expansion (tested at fluid water ratio):

1.	Up to 3 Hours – 0.0% to 2.0%

H.	ASTM C-940 Modified – Wick Test (tested at fluid water ratio):

1.	Bleeding at 3 Hours – 0.0%

2.	Schupack Bleed –	< 4.0% at 20 psi

< 2.0% at 30 psi

I.	ASTM C-953 –Rate of Set (tested at fluid water ratio):

1.	Initial Set – 3 hours minimum, 12 hours maximum

J.	ASTM C-1090 – Hardened Height Change (tested at fluid water ratio):

1.	1 Day – 0.0%

2.	28 Days – 0.2%

K.	ASTM C-1152 – Chloride Ion Content (tested at fluid water ratio):

1.	Total – 0.08% by weight maximum

L.	ASTM C-1202 – Chloride Permeability (tested at fluid water ratio):

1.	28 Days – maximum 2500 Coulombs at 30 V for 6 hours

M.	Accelerated Corrosion Test

1.	Time to Corrosion – greater than 1000 hours

PART 3 EXECUTION

  - EXAMINATION

A.	Examine areas to receive grout.  Notify Engineer if surfaces are unacceptable.  Do not begin surface preparation or application until unacceptable conditions are corrected.

  - SURFACE PREPARATION

- Remove all grease, oil, dirt, laitance and unsound concrete to ensure surfaces are clean.  Maintain a temperature between 45F and 90F (7oC and 32oC) prior to application and during initial 24 hours.

3.3	APPLICATION

- Mix and place grout according to manufacturer’s instructions.

- Add mix water in recommended amount by the manufacturer to achieve desired consistency.  Do not use mixing water in an amount or at a temperature that will cause mixed grout to bleed or segregate.

- Do not add aggregate, cement, admixtures or fluidifiers to grout.

D.	Place mixed grout immediately and continuously.  Observe proper cold and hot weather grouting procedures as temperature dictates according to manufacturer recommendations.

3.4	CURING

- Wet cure exposed grout surfaces for a minimum of 24 hours.

- After 24 hours, cure grout with high solids content membrane forming curing compounds.

# END OF SECTION